COLORADO DEPARTMENT OF REGULATORY AGENCIES

Public Utilities Commission

4 Code of Colorado Regulations (CCR) 723-4

PART 4

# RULES REGULATING GAS UTILITIES

## BASIS, PURPOSE, AND STATUTORY AUTHORITY.

The basis and purpose of these rules is to set forth the manner of regulation over jurisdictional gas utilities, the services they provide, and their actions to maintain just and reasonable rates, ensure system safety, reliability, and resiliency, protect disproportionately impacted communities, and reduce greenhouse gas emissions from the use of gas by their customers and from leaks in their facilities.  These rules also set forth the manner of regulation over master meter operators.  These rules address a wide variety of subject areas including, but not limited to, planning, expenditure and demand forecasting, cost and rate impacts, system safety and integrity planning, service interruption, meter testing and accuracy, safety, customer information, customer deposits, rate schedules and tariffs, discontinuance of service, master meter operations, transportation service, flexible regulation, procedures for administering the Low-Income Energy Assistance Act, gas service low-income programs, cost allocation between regulated and unregulated operations, recovery of gas costs, appeals regarding local government land use decisions, demand side management programs, the reduction of greenhouse gas emissions from the distribution and end-use consumption of gas, and authority of the Commission to impose civil penalties on public utilities.  The statutory authority for these rules can be found at §§ 29-20-108, 40-1-103.5, 40-2-108, 40-2-138, 40-3-102, 40-3-102.5, 40-3-103, 40-3-104.3, 40-3-106, 40-3-111, 40-3-114, 40-3-101, 40-3.2-103, 40-3.2-106, 40-3.2-107, 40-3.2-108, 40-4-101, 40-4-106, 40-4-108, 40-4-109, 40-5-103, 40-7-117, 40-7-113.5, 40-7-116.5; and 40-8.7-105(5), C.R.S.

*           *           *           *

[indicates omission of unaffected rules]

## GREENHOUSE GAS ACCOUNTING FOR CLEAN HYDROGEN

4977.	Applicability.

(a)	Rules 4977 through 4983 shall apply to all investor-owned gas utilities in the state of Colorado that are subject to the Commission’s regulatory authority.

4978.	Overview and Purpose

(a)	The purpose of these rules is to establish lifecycle greenhouse gas (GHG) emission accounting requirements for use by investor-owned utilities in the production of clean hydrogen pursuant to § 40-2-138(3)(a)(II), C.R.S.  These rules largely reflect the federal regulations codified at 26 C.F.R. § 1.45V, as adopted on January 10, 2025, by the Internal Revenue Service.  These rules will help to determine if hydrogen produced by an investor-owned utility qualifies as clean hydrogen pursuant to § 40-2-138(1)(a), C.R.S.

4979.	Definitions.

The following definitions apply only to rules 4979 through 4983.  In the event of a conflict between these definitions and a Colorado statutory definition, the statutory definition shall apply.

(a)	“45VH2-GREET Model” means a version of 45VH2-GREET developed by Argonne National Laboratory, published by the U.S. Department of Energy, and approved by the Commission in the utility’s application under rule 4980.

(b)	“Alternative fate” means a set of informed assumptions (for example, production processes, material outcomes, and market-mediated effects) used to estimate the emissions from the use or disposal of each feedstock were it not for the feedstock’s new use due to the implementation of policy (that is, to produce hydrogen).

(c)	“Biogas” means gas containing methane that results from the decomposition of organic matter under anaerobic conditions.

(d)	“Carbon capture” means a process that captures carbon dioxide emissions before they are released into the atmosphere and diverts those emissions for use or storage.

(e)	“Carbon sequestration or storage” means verifiably storing carbon dioxide in non-atmospheric locations in such a manner that the carbon dioxide will not enter the atmosphere for at least one hundred years.

(f)	“Clean hydrogen” means:

(I)	green hydrogen, as defined in § 40-3.2-108(2)(j), C.R.S.; or

(II)	hydrogen that is produced through a process that results in lifecycle GHG emissions rates that are within the lifecycle GHG emissions rate ranges set forth in 26 U.S.C. Secs. 45V (b)(2)(C) and 45V (b)(2)(D), as amended.

(g)	“Clean hydrogen project” means a project that results in the production of clean hydrogen by an investor-owned utility and may include pipelines, electrolyzers, environmental controls, monitoring equipment, dedicated renewable energy sources for electrolysis, the purchase of clean hydrogen from third parties, and an upgrade to a turbine at an electric generating station if that upgrade is part of a state or federal application for a Regional Clean Hydrogen Hub under 42 U.S.C. Sec. 16161a, pursuant to § 40-2-138, C.R.S.

(h)	“Coal mine methane” means methane that is stored within coal seams and is liberated as a result of current or past mining activities.  Liberated coal mine methane can be released intentionally by the mine for safety purposes, such as through mine degasification boreholes or underground mine ventilation systems, or it may leak out of the mine through vents, fissures, or boreholes.  The term coal mine methane does not include methane removed from virgin coal seams (for example, coal bed methane).

(i)	“Commercial operations date” means the date on which a facility that generates electricity began commercial operations.

(j)	“Eligible energy attribute certificate” means an energy attribute certificate (EAC) that represents electricity that is produced by an electricity generating facility that is registered on only one qualified EAC registry or accounting system and that, with respect to the electricity to which the EAC relates, provides, at a minimum, the following information:

(I)	a description of the facility, including the technology and feedstock used to generate the electricity;

(II)	the amount and units of electricity;

(III)	the commercial operations date of the facility that generated the electricity;

(IV)	for electricity that is generated before January 1, 2030, the calendar year in which such electricity was generated;

(V)	for electricity that is generated after December 31, 2029, the date and hour (including time zone, or in UTC) in which such electricity was generated;

(VI)	other attributes required by 45VH2-GREET or in the determination of a provisional emissions rate accepted by the U.S. Internal Revenue Service to accurately determine the emissions associated with such electricity;

(VII)	for electricity generating sources that use carbon capture equipment, the placed in service date of such equipment; and

(VIII)	the project identification number or assigned identifier.

(k)	“Eligible gas EAC” means a gas EAC that represents the quantity of RNG or coal mine methane that is produced by a producing facility that is registered on only one qualified gas EAC registry or accounting system and that, with respect to the RNG or coal mine methane to which the gas EAC relates, provides, at a minimum, the following information:

(I)	a description of the production facility, including the technology or practice and feedstock used to produce RNG or coal mine methane;

(II)	the amount (and units) of RNG or coal mine methane;

(III)	the month and year in which the RNG or coal mine methane is produced;

(IV)	the location at which the RNG or coal mine methane is injected into a natural gas pipeline (or the location of the production facility if directly used without injection into a natural gas pipeline);

(V)	the source or sources of the gas that comprises the RNG or coal mine methane associated with each certificate as well as other attributes required by 45VH2-GREET, or in the determination of a provisional emissions rate, to determine the emissions associated with such RNG or coal mine methane; and

(VI)	a project identification number or assigned identifier.

(l)	“Energy attribute certificate” (EAC) means a tradeable contractual instrument, issued through a qualified EAC registry or accounting system, that represents the energy attributes of a specific unit of energy produced.  An EAC may be traded with or separately from the underlying energy it represents.  An EAC can be retired by or on behalf of its owner, which is the party that has the right to claim the underlying attributes represented by an EAC.  Renewable energy certificates (RECs) and other similar energy certificates issued through a registry or accounting system are forms of EACs.

(m)	“Fugitive methane” means methane released from equipment leaks or venting during the extraction, processing, transformation, or delivery of fossil fuels and other gaseous fuels to the point of final use.

(n)	“Gas energy attribute certificate” (gas EAC) means a tradeable contractual instrument, issued through and retired within a qualified gas EAC registry or accounting system that represents the attributes of a specific unit of RNG or coal mine methane.  A gas EAC may be traded with or separately from the underlying gas it represents.  A gas EAC can be retired by or on behalf of its owner, which is the party that has the right to claim the underlying attributes represented by a gas EAC.

(o)	“Incremental generation capacity” means the increase in an electricity generating facility’s rated nameplate capacity or specified capacity from the pre-uprate capacity to the post-uprate capacity.

(p)	“Integrated operations with one or more other qualifying nuclear reactors” means the reactors are:

(I)	owned by the same or related federal taxpayers, as defined by 26 C.F.R. § 1.52-1(b); and

(II)	transmit electricity generated by the reactors through the same point of interconnection or, if the reactors are not grid-connected, or are delivering electricity directly to an end user behind a utility meter, are able to support the same end user, or, if the reactors have multiple points of interconnection, are co-located with each other.

(q)	“Lifecycle greenhouse gas emissions rate” means lifecycle GHG emissions, as defined in 26 U.S.C. Sec. 45V(c)(1)(A), as amended, measured in accordance with any applicable federal Internal Revenue Service regulations or guidance.

(r)	“Merchant nuclear reactor” means a nuclear reactor that competes in a competitive electricity market through the sale of energy and, in some cases, other services and for which over 50 percent of the reactor and its electricity production does not receive cost recovery through rate regulation or public ownership with related retail rate recovery.

(s)	“Mountain Region” means the term defined by the Internal Revenue Service in 26 C.F.R. § 1.45V-4(d)(2)(ix).

(t)	“Pre-uprate capacity” means the nameplate capacity or specified capacity of an electricity generating facility before an uprate.

(u)	“Process” means the operations conducted by a facility to produce hydrogen (for example, electrolysis or steam methane reforming) during a taxable year using a primary feedstock.  The term primary feedstock means a hydrogen-containing chemical that is transformed to produce hydrogen at a hydrogen production facility and has uniform or similar attributes distinguished by the source from which it is derived, if such source materially affects the lifecycle GHG emissions associated with use of the chemical to produce hydrogen.

(v)	“Post-uprate capacity” means the nameplate capacity or specified capacity of an electricity generating facility after an uprate.

(w)	“Qualified EAC registry or accounting system” means a tracking system that:

(I)	assigns a unique identification number to each EAC tracked by such system;

(II)	enables verification that only one EAC is associated with each unit of electricity;

(III)	verifies that each EAC is claimed and retired only once;

(IV)	identifies the owner of each EAC; and

(V)	provides a publicly accessible view (for example, through an application programming interface) of all currently registered generators in the tracking system to prevent the duplicative registration of generators.

(x)	“Qualified gas EAC registry or accounting system” means an electronic tracking system that:

(I)	assigns a unique identification number to each certificate associated with RNG and coal mine methane tracked by such system;

(II)	requires independent verification of the source or sources of the gas that comprises the RNG or coal mine methane and any other factual considerations relevant to the lifecycle GHG emissions assessment for purposes of section 45V for tracking and verification purposes (self-reported data without independent verification are not allowed);

(III)	requires use of a revenue grade meter, with production volumes reported to the registry via an application programming interface or with independent reporting to ensure accurate accounting for production volumes (self-reported data are not allowed);

(IV)	enables verification that only one certificate is associated with each unit of RNG or coal mine methane;

(V)	verifies that each certificate is claimed and retired only once;

(VI)	identifies the owner of each certificate and provides for documentation of the chain-of-custody of any transfers of certificates;

(VII)	requires an attestation that a producer has not registered the RNG or coal mine methane with other registries;

(VIII)	provides a publicly accessible view (for example, through an application programming interface) of all currently registered RNG or coal mine methane production facilities in the tracking system to prevent the duplicative registration of such production facilities; and

(IX)	requires verification of pipeline interconnection, if applicable.

(y)	“Qualifying EAC” means an eligible EAC that meets the requirements of rule 4982 of this section and for which the satisfaction of those requirements is verified by the Commission through the annual report described in paragraph 4980(b).

(z)	“Qualifying gas EAC” means an eligible gas EAC that meets the requirements of rule 4983 of this section and for which the satisfaction of those requirements is verified by the Commission through the annual report described in paragraph 4980(b).

(aa)	“Qualifying nuclear reactor” means, with respect to an EAC, a nuclear reactor that meets the following requirements:

(I)	is a merchant nuclear reactor, or is a nuclear reactor that is not co-located with any other operating nuclear reactor;

(II)	the average annual gross receipts of the nuclear reactor within the meaning of section 26 C.F.R. § 1.45U(b)(2)(A)(ii)(I) are less than 4.375 cents per kilowatt hour, for any two of the calendar years 2017 through 2021, as determined with respect to any one owner of the reactor; and

(III)	that either:

(A)	has a physical electrical connection with the hydrogen production facility which acquires and retires the EAC, which is on the reactor’s side of a utility service meter before the reactor or the hydrogen production facility connect to a distribution or transmission system; or

(B)	is the subject of a written binding contract for a fixed term of at least ten years beginning on the first date on which qualified EACs are acquired, under which the owner of the hydrogen production facility agrees to acquire and retire EACs from the nuclear reactor, and which manages the qualifying nuclear reactor’s revenue risk.

(bb)	“Renewable natural gas” (RNG) means biogas that has been upgraded to remove water, CO2, and other impurities such that it is interchangeable with fossil natural gas.

(cc)	“Uprate” means an increase in an electricity generating facility’s rated nameplate capacity (in nameplate megawatts) or capacity measured by a standard other than nameplate capacity (specified capacity) meeting the requirements of one of the following measurement standards, except that a utility cannot use the measurement standard described in subparagraph 4979(cc)(II) if the utility is able to use the measurement standard described in subparagraph 4979(cc)(I):

(I)	modified or amended facility operating licenses from the Federal Energy Regulatory Commission (FERC) or Nuclear Regulatory Commission (NRC), or related reports prepared by FERC or NRC as part of the licensing process;

(II)	the International Standard Organization (ISO) conditions to measure the nameplate capacity of the facility consistent with the definition of nameplate capacity provided in 40 CFR 96.202; or

(III)	a measurement standard prescribed by the Secretary of the U.S. Treasury in guidance published in the Internal Revenue Bulletin (see 26 CFR Part 1 601.601).

(dd)	“Uprated production” means the uprated production rate of an electricity generating facility multiplied by its total generation output (in megawatt hours).

(ee)	“Uprated production rate” means the incremental generation capacity (in nameplate megawatts) divided by the post-uprate capacity (in nameplate megawatts).

(ff)	“Written binding contract” means a contract that is enforceable under state law against the taxpayer or a predecessor and does not limit damages to a specified amount (for example, by use of a liquidated damages provision).  For this purpose, a contractual provision that limits damages to an amount equal to at least five percent of the total contract price will not be treated as limiting damages to a specified amount.  For additional guidance regarding the definition of a written binding contract, see 26 C.F.R. § 1.168(k) – 2(b)(5)(iii).

4980.	Application and Annual Report Requirements for Clean Hydrogen Lifecycle GHG Emissions.

(a)	The utility shall file the following information on lifecycle GHG emissions in its application for approval of a clean hydrogen project:

(I)	the name and location of the clean hydrogen project;

(II)	how the utility plans to show that the hydrogen produced qualifies as clean hydrogen as defined in paragraph 4979(f);

(III)	an estimate of the minimum and maximum lifecycle GHG emissions rate of the clean hydrogen project’s production process in kilograms of carbon dioxide equivalent per kilogram of hydrogen;

(IV)	a description of how the utility’s calculation of lifecycle GHG emissions rate to be reported annually in accordance with paragraph 4980(b) will comply with rules 4981, 4982, and 4983, as applicable;

(V)	an estimate of the amount of clean hydrogen in kilograms the project will produce each year;

(VI)	if the utility plans to use 45VH2-GREET to meet the lifecycle GHG emissions rate annual reporting requirements in paragraph 4980(b), a description of the version of 45VH2-GREET the utility will use and the expected data inputs the utility will enter into 45VH2-GREET;

(VII)	information on how the utility plans to use EACs pursuant to rule 4982 or 4983, as applicable;

(VIII)	information on whether the utility plans to pursue approval of a provisional emissions rate from the Internal Revenue Service; and

(IX)	any other information the Commission may need to evaluate the lifecycle GHG emissions of the proposed clean hydrogen project.

(b)	The utility shall file the following information for each of its clean hydrogen projects no later than April 30 of each year following Commission approval of a clean hydrogen project application.  The filing should contain the information in the following order and specifically identify:

(I)	the name and location of the clean hydrogen project;

(II)	a statement of the facts relied upon by the utility to show that the hydrogen produced qualifies as clean hydrogen as defined in paragraph 4979(f);

(III)	the lifecycle GHG emissions rate of the clean hydrogen project’s production process in kilograms of carbon dioxide equivalent per kilogram of hydrogen determined in accordance with rules 3981, 3982, and 3983, as applicable;

(IV)	the amount of clean hydrogen in kilograms produced in the previous year;

(V)	if 45VH2-GREET is used to calculate the lifecycle GHG emissions rate:

(A)	an executable version of 45VH2-GREET with the clean hydrogen project’s data inputs entered; and

(B)	a written description of each of the data inputs entered into 45VH2-GREET;

(VI)	if the utility is seeking the federal hydrogen 45V tax credit, all documentation associated with the qualified verifier pursuant to 26 C.F.R. § 1.45V-5;

(VII)	if the utility uses EACs pursuant to rule 4982 or 4983, information from the qualifying EAC registry proving that the utility has acquired and retired the EAC and that the EAC is issued by only one qualified EAC registry, as well as any additional information the Commission may need to verify the EAC;

(VIII)	if the utility uses EACs represented by electricity imported from Canada or Mexico pursuant to subparagraph 4982(d)(II), an attestation from the electricity generator that the use or attributes of the electricity represented by each EAC from Canada or Mexico are not being claimed for any other purpose;

(IX)	if the utility is seeking the federal hydrogen 45V tax credit using a provisional emissions rate, proof that U.S. Internal Revenue Service has accepted the utility’s provisional emissions rate petition pursuant to 26 C.F.R. § 1.45V-4(c);

(X)	if the utility seeks to use EACs that meet the incrementality requirement through curtailment pursuant to subparagraph 4982(b)(VI), a statement of the facts and any data relied upon by the utility to show that the electricity would otherwise be curtailed; and

(XI)	if the utility seeks to use gas EACs pursuant to rule 4983 but the Secretary of the U.S. Treasury has not yet determined that one or more electronic tracking systems meet the definition of a qualified gas EAC registry or accounting system, the utility shall provide:

(A)	information proving a direct pipeline connection to a supplier of RNG or coal mine methane or other physical methods of exclusive delivery of such gas; and

(B)	attestations from the RNG or coal mine methane producers that there has been and will be no double counting of attributes that would otherwise be verified by gas EACs.

4981.	Use of the 45VH2-GREET Model and Provisional Emissions Rate.

(a)	A utility shall determine the lifecycle GHG emissions rate of each hydrogen production process conducted at a hydrogen production facility using the 45VH2-GREET Model separately for each process and pursuant to rule 4982 or 4983.  This determination is made following the close of each calendar year and must include all the hydrogen production from a clean hydrogen project during the calendar year.

(b)	In using the 45VH2-GREET Model to calculate the lifecycle GHG emissions rate, the utility must accurately enter all information about its facility requested within the interface of 45VH2-GREET.

(c)	If the utility is seeking the federal hydrogen 45V tax credit, the utility may use the version of 45VH2-GREET reported to the IRS for federal tax purposes.

(d)	A utility shall use the lifecycle GHG emissions rate calculated by 45VH2-GREET unless a utility is seeking the federal hydrogen 45V tax credit and the Internal Revenue Service accepts the utility’s provisional emissions rate petition pursuant to 26 C.F.R. § 1.45V-4(c).

4982.	Lifecycle GHG Emissions Rate Accounting for Clean Hydrogen Projects that Use Water as the Source for Hydrogen.

(a)	Use of EACs.

(I)	If a utility determines a lifecycle GHG emissions rate for hydrogen produced from a clean hydrogen project pursuant to rule 4981, then the utility may treat such clean hydrogen project’s use of electricity as being from a specific electricity generating facility rather than as electricity with the annual average lifecycle GHG emissions of the Mountain Region electricity grid (as represented in 45VH2-GREET) only if the utility acquires and retires qualifying EACs for each unit of electricity that the utility claims from such source.  For example, one megawatt-hour of electricity used to produce hydrogen would need to be matched with one megawatt-hour of qualifying EACs.

(II)	To satisfy this requirement, a utility’s acquisition and retirement of qualifying EACs must also be recorded in a qualified EAC registry or accounting system so that the acquisition and retirement of such EACs may be verified by the Commission through the annual report described in paragraph 4980(b).  The requirements of this paragraph apply regardless of whether the electricity generating facility is grid connected, directly connected, or co-located with the clean hydrogen project.

(b)	An EAC meets the requirements for incrementality if it meets any of the following conditions:

(I)	the electricity generating facility that produced the unit of electricity to which the EAC relates has a commercial operations date that is no more than 36 months before the hydrogen production facility for which the EAC is retired is placed in service, or, if the electricity represented by the EAC is produced by an electricity generating facility that uses carbon capture and carbon sequestration or storage technology, such technology has a placed in service date that is no more than 36 months before the clean hydrogen project for which the EAC is retired was placed in service;

(II)	the electricity represented by the EAC is produced by an electricity generating facility that had an uprate no more than 36 months before the clean hydrogen project with respect to which the EAC is retired was placed in service and such electricity is part of such electricity generating facility’s uprated production.  An electricity generating facility’s uprated production must be prorated to each hour of such facility’s generation by multiplying the production for each hour or each year, consistent with the EACs requirements for temporality provided in paragraph 4982(c), by the uprated production rate to determine the electricity to which the uprate relates;

(III)	For the purposes of subparagraph 4982(b)(II), a facility that is decommissioned or in the process of decommissioning and restarts can be considered to have increased nameplate or specified capacity from a base of zero if the following conditions are met:

(A)	the existing facility must have ceased operations;

(B)	the existing facility must have a shutdown period of at least one calendar year during which it was not authorized to operate by its respective Federal regulatory authority (that is, FERC or NRC);

(C)	the increased capacity of the restarted facility must be eligible to restart based on an operating license issued by either FERC or NRC; and

(D)	the existing facility must not have ceased operations for the purpose of qualifying for the special rule for restarted facilities;

(IV)	Colorado becomes a qualifying state as defined in 26 C.F.R. § 1.45V-4(d)(2)(xii), the electricity represented by the EAC is produced by an electricity generating facility that is located in Colorado, and the utility acquiring and retiring such EAC for its clean hydrogen project is also located in Colorado;

(V)	the electricity represented by the EAC is produced by an electricity generating facility that is a qualifying nuclear reactor.  Only 200 megawatt hours of electricity per operating hour per qualifying nuclear reactor may be considered incremental, except that, if a qualifying nuclear reactor has integrated operations with one or more other qualifying nuclear reactors, the amount of electricity from those integrated reactors deemed incremental shall instead be subject to an aggregate limit of 200 megawatt hours per operating hour multiplied by the number of integrated nuclear reactors that have not permanently ceased operations; or

(VI)	the electricity represented by the EAC would otherwise be curtailed as required by § 40-2-138(3)(b)(I)(B), C.R.S.

(c)	EACs requirements for temporality.

(I)	An EAC meets the requirements of this paragraph if the electricity represented by the EAC is generated in the same hour that the utility’s hydrogen production facility uses electricity to produce hydrogen.

(II)	Transition rule.  For EACs that represent electricity generated before January 1, 2030, the EAC will be considered generated in the same hour that the utility’s hydrogen production facility uses electricity to produce hydrogen as required in subparagraph 4982(c)(I) if the electricity represented by the EAC is generated in the same calendar year that the utility’s hydrogen production facility uses electricity to produce hydrogen.

(III)	Use of energy storage.  For purposes of meeting the requirements of paragraph 4982(c)(I), an EAC meets such requirements if the electricity represented by the EAC is discharged from a storage system in the same hour that the utility’s hydrogen production facility uses electricity to produce hydrogen.  The storage system must be located in the same region as both the hydrogen production facility and the facility generating the stored electricity.  To use the rule described in this paragraph, the volume of electricity use substantiated by each EAC representing stored electricity must account for storage-related efficiency losses.  In addition, to use the rule described in this paragraph, EACs representing stored electricity must comprehensively address the storage of electricity by reflecting the energy attributes of the electricity generating facility that provided electricity to the storage facility, reflecting the temporal attributes regarding when the electricity is discharged from energy storage, and ensuring that subparagraph 4979(w)(III) relating to verification that each EAC is claimed and retired only once applies to EACs representing stored electricity.

(d)	An EAC meets the requirements for deliverability if it meets any of the following conditions:

(I)	if the electricity represented by the EAC is generated by a facility located in the Mountain Region and the hydrogen production facility is located in the Mountain Region.  The locations of the electricity generating source and the hydrogen production facility are determined by the balancing authority to which each is electrically interconnected; or

(II)	if the electricity generation represented by the EAC has transmission rights from the generator location to the Mountain Region in which the hydrogen production facility is located and that generation is delivered to (i.e., scheduled and dispatched or settled in) the Mountain Region.  Such delivery must be demonstrated on at least an hour-to-hour basis, with no direct counterbalancing reverse transactions, and must be verified with NERC E-tags or the equivalent.  In addition, to use the rule described in this paragraph, the qualified EAC registry or accounting system for each eligible EAC representing delivered electricity must track such delivery.  Finally, to use the rule described in this paragraph, in the case of electricity imported from Canada or Mexico, the electricity generator must provide an attestation to the hydrogen production facility for purposes of the reporting process described in subparagraph 4980(b)(VIII) that the use or attributes of the electricity represented by each EAC are not being claimed for any other purpose.

4983.	Lifecycle GHG Emissions Rate Accounting for Clean Hydrogen Projects that Use Methane as the Source for Hydrogen.

(a)	For purposes of determining the lifecycle GHG emissions rate of a process that uses methane derived from biogas, RNG, or fugitive methane to produce hydrogen, estimates of lifecycle GHG emissions must consider all the direct and significant indirect emissions from the hydrogen production process.  Such determinations must consider the alternative fates of that methane in the following manner depending on methane source:

(I)	Methane from landfill sources.  For purposes of determining the lifecycle GHG emissions rate of a process that uses methane derived from landfill sources, the alternative fate of such gas must be flaring using an efficiency determined by 45VH2-GREET.

(II)	Methane from wastewater sources.  For purposes of determining the lifecycle GHG emissions rate of a process that uses methane derived from wastewater sources, the alternative fate of such gas must assume flaring and use the flaring efficiency and other factors as determined by 45VH2-GREET, including accounting for the proportion of the gas typically used to heat the anaerobic digester.

(III)	Coal mine methane.  For purposes of determining the lifecycle GHG emissions rate of a process that uses coal mine methane, flaring of such gas must be used as the alternative fate.

(IV)	Methane from animal waste.  For purposes of determining the lifecycle GHG emissions rate of a process that uses methane derived from biogas sourced from animal waste, the emissions associated with producing and transporting such biogas to the point where it is fed into an upgrader must use an alternative fate derived from the national average of all animal waste management practices, which results in a carbon intensity score of –51 grams of CO2e per megajoule (MJ), where the MJ basis refers to the lower heating value of the methane contained in the biogas prior to upgrading.

(V)	Fugitive methane other than coal mine methane.  For purposes of determining the lifecycle GHG emissions rate of a process that uses fugitive methane other than coal mine methane, such as fugitive methane from oil and gas operations, productive use of such gas must be used as the alternative fate, which would result in emissions equivalent to the carbon intensity of using fossil natural gas.

(b)	Use of gas EACs.

(I)	Subject to subparagraph 4983(c)(II), if a utility determines a lifecycle GHG emissions rate for hydrogen produced at a hydrogen production facility using the 45VH2-GREET Model or the Secretary of the U.S. Treasury determines a provisional emissions rate for hydrogen produced at a hydrogen production facility subject to a provisional emissions rate petition, then the utility may treat such hydrogen production facility’s use of RNG or coal mine methane as being from a specific source of such gas rather than fossil natural gas only if the utility acquires and retires qualifying gas EACs for each unit of such gas that the utility claims from such source.  To satisfy this requirement, a utility’s acquisition and retirement of qualifying gas EACs must also be recorded in a qualified gas EAC registry or accounting system so that the acquisition and retirement of such gas EACs may be verified by the Commission through the annual report described in paragraph 4980(b).  The requirements of this paragraph apply regardless of whether the source of the RNG or coal mine methane is connected to a pipeline network, directly connected to a hydrogen production facility, or co-located with the hydrogen production facility.

(II)	System readiness.  Subparagraph 4983(c)(I) applies only if the Secretary of the U.S. Treasury determines that one or more electronic tracking systems meet the definition of a qualified gas EAC registry or accounting system.  The Secretary of the U.S. Treasury may make this determination no earlier than January 1, 2027.  Prior to the Secretary of the U.S. Treasury making a determination described in this paragraph, a utility using RNG or coal mine methane in a hydrogen production process must substantiate the use of such gas by maintaining a direct pipeline connection to a supplier of such gas or documentation of other physical methods of exclusive delivery of such gas.  Prior to the Secretary of the U.S. Treasury making a determination described in this paragraph, a utility must ensure that attributes of the RNG or coal mine methane used in a hydrogen production process are not double counted by obtaining attestations from the RNG or coal mine methane producers that there has been and will be no double counting of such attributes.  The utility must provide such attestations to the Commission through the application and annual report described in rule 4980.

(III)	Qualifying gas EAC requirements.  An eligible gas EAC meets the requirements of this paragraph if it meets the following requirements.

(A)	Temporal matching.  An eligible gas EAC meets the requirements of this paragraph if the RNG or coal mine methane represented by the eligible gas EAC was injected into a pipeline described in subparagraph 4983(c)(III)(B) in the same calendar month that the hydrogen production facility uses the RNG or coal mine methane in the production of hydrogen or, if the RNG or coal mine methane represented by the eligible gas EAC was delivered to the hydrogen production facility from the RNG or coal mine methane producer, through a direct pipeline connection or other physical method of exclusive delivery.

(B)	Deliverability.  An eligible gas EAC meets the requirements of this paragraph if the RNG or coal mine methane represented by the eligible gas EAC is injected into a natural gas pipeline in the contiguous United States and the hydrogen production facility is also located in and connected to a natural gas pipeline in the contiguous United States.  Alaska, Hawaii, and each U.S. territory are separate regions, such that an eligible gas EAC meets the requirements of this paragraph if the RNG or coal mine methane represented by the eligible gas EAC is injected into a natural gas pipeline in one of these regions and the hydrogen production facility is located in and connected to a natural gas pipeline in the same region.  An eligible gas EAC also meets the requirements of this paragraph if the RNG or coal mine methane represented by the eligible gas EAC was delivered to the hydrogen production facility from the RNG or coal mine methane producer through a direct pipeline connection or other physical method of exclusive delivery.

4984. – 4999.	[Reserved].