# DEPARTMENT OF PUBLIC HEALTH AND ENVIRONMENT

# Water Quality Control Commission

# REGULATION NO. 38 - CLASSIFICATIONS AND NUMERIC STANDARDS FOR SOUTH PLATTE RIVER BASIN, LARAMIE RIVER BASIN, REPUBLICAN RIVER BASIN, SMOKY HILL RIVER BASIN

# 5 CCR 1002-38

[Editor’s Notes follow the text of the rules at the end of this CCR Document.]

_________________________________________________________________________

[Not shown: no changes to sections 38.1 through 38.4.]

38.5	BASIC STANDARDS

[Not shown: no changes to sections 38.5(1) through 38.5(3).]

(4)	Nutrients

See Basic Standards and Methodologies for Surface Water at 31.17 for a listing of chlorophyll a, total nitrogen, and total phosphorus standards for lakes and reservoirs (Table V) and rivers and streams (Table VI). As described in 31.17(2), total nitrogen and total phosphorus standards will be considered for adoption in phases.

Prior to December 31, 2027, total nitrogen and total phosphorus values will be considered for adoption only in the limited circumstances defined at 31.17(2)(a)(i), (ii), and (iii). For lakes and reservoirs, for both total nitrogen and total phosphorus, these circumstances include waterbodies upstream of certain domestic and non-domestic wastewater treatment facilities (31.17(2)(a)(i)(A)); in addition, for total phosphorus, other special circumstances as determined by the Commission (31.17(2)(a)(i)(B)). For rivers and streams, for total phosphorus only, these circumstances include waterbodies upstream of certain domestic and non-domestic wastewater treatment facilities (31.17(2)(a)(ii)(A)) and other special circumstances as determined by the Commission (31.17(2)(a)(ii)(B)). For lakes, reservoirs, rivers, and streams where total nitrogen and total phosphorus standards have not yet been adopted, 31.17(2)(a)(iii) allows the commission to adopt standards as needed in additional circumstances.

Pursuant to 31.17(2)(a)(i)(A) and 31.17(2)(a)(ii)(A), the following is a list of all permitted domestic wastewater treatment facilities discharging prior to May 31, 2012 or with preliminary effluent limits requested prior to May 31, 2012, cooling tower discharges, and any non-domestic facilities subject to Regulation 85 effluent limits and discharging prior to May 31, 2012 in the South Platte River Basin:

| Segment | Permittee | Facility name | Permit No. |
| --- | --- | --- | --- |
| COSPUS01a | Alma Town of | Alma, Town of | CO0035769 |
| COSPUS01a | Fairplay Sanitation District | Fairplay Sanitation District WWTF | CO0040088 |
| COSPUS01a | Boy Scouts of America Pikes Peak Council | Camp Alexander | COG588036 |
| COSPUS02a | Florissant Water and San Dist | Florissant Water and San Dist | CO0041416 |
| COSPUS02a | Teller County | Teller County WW Utility Board | CO0044211 |
| COSPUS03 | Woodland Park City of | Woodland Park, City of | CO0043214 |
| COSPUS03 | YMCA Camp Shady Brook | Camp Shady Brook | CO0045993 |
| COSPUS03 | Lost Valley Ranch Corporation | Lost Valley Ranch | COG588122 |
| COSPUS04 | Will-O-Wisp Metro District | Will-O-Wisp Metro District | CO0041521 |
| COSPUS04 | Bailey WSD | Bailey WSD WWTF | COG588056 |
| COSPUS04 | Platte Canyon School Dist 1 | Platte Canyon School Dist 1 | COG588114 |
| COSPUS05c | Mountain Water and Sanitation District | Mountain Water&Sanitation District | CO0022730 |
| COSPUS06a | Roxborough Water and Sanitation District | Roxborough Park Water&San WWTF | CO0041645 |
| COSPUS10 | Plum Creek Water Reclamation Authority | Plum Creek WW Authority WWTF | CO0038547 |
| COSPUS10 | Perry Park Water and Sanitation District | Sageport WWTF | CO0043044 |
| COSPUS11b | Perry Park Water and Sanitation District | Waucondah WWTP | CO0022551 |
| COSPUS14 | Littleton/Englewood Cities of | Littleton/Englewood, Cities of | CO0032999 |
| COSPUS15 | Metro Waste Water Reclamation District | Metro Wastewater Reclamation District | CO0026638 |
| COSPUS15 | Brighton City of | Brighton WWTF | CO0021547 |
| COSPUS15 | South Adams County WSD | Williams Monoco WWTF | CO0026662 |
| COSPUS15 | Metro Waste Water Reclamation District | Northern Treatment Plant | CO0048959 |
| COSPUS16c | Ascentia Real Estate Holding Company LLC | Foxridge Farms MH Community | CO0028908 |
| COSPUS16c | SouthWest Water Company | Hi-Land Acres W&SD WWTF | COG589072 |
| COSPUS16c | Mile High Racing and Enter dba Arapahoe Park | Arapahoe Park Racetrack | COG589073 |
| COSPUS16c | Rangeview Metro District | Coal Creek WW Reclamation Fac | COG589108 |
| COSPUS16g | Centennial Water and San Dist | Marcy Gulch WWTF | CO0037966 |
| COSPUS16i | Aurora City of - Aurora Water | Sand Creek Water Reuse Facility | CO0026611 |
| COSPCH01 | Stonegate Village Metropolitan District | Stonegate Village WWTF | CO0040291 |
| COSPCH01 | Pinery Water and Wastewater District | Pinery WWTF | CO0041092 |
| COSPCH01 | Parker Water and Sanitation District | Parker North WRF | CO0046507 |
| COSPCH04b | Arapahoe County W and WW Authority | Lone Tree Creek WWTP | CO0040681 |
| COSPBE01a | Amen Real Estate LLC | Singin’ River Ranch WWTF | CO0035971 |
| COSPBE01b | Morrison Town of | Morrison Town of | CO0041432 |
| COSPBE01e | Kittredge Sanitation and Water District | Kittredge San & Water District | CO0023841 |
| COSPBE01e | Bruce & Jayne Hungate DBA Bear Creek Cabins | Bear Creek Cabins | CO0030856 |
| COSPBE01e | Evergreen Metropolitan District | Evergreen Metropolitan Dist WWTF | CO0031429 |
| COSPBE04 | Genesee WSD | Genesee Water & San District | CO0022951 |
| COSPBE04 | Forest Hills Metro District | Forest Hills Metropolitan Dist | CO0037044 |
| COSPBE05 | West Jefferson County MD | W. Jefferson County Metro Dist | CO0020915 |
| COSPBE05 | Historic Brook Forest Inn LLC | Brook Forest Inn | CO0030261 |
| COSPBE06a | Tiny Town Foundation Inc | Tiny Town | CO0036129 |
| COSPBE06a | Aspen Park Metropolitan District | Aspen Park Metropolitan District | CO0000001 |
| COSPBE06b | Jefferson County Public Schools R-1 | Conifer High School WW Rec Plt | CO0047988 |
| COSPCL01 | Colorado Dept of Transportation | Eisenhower/Johnson Memorial Tunnels | CO0026069 |
| COSPCL01 | Clear Creek Skiing Corp | Loveland Ski Area WWTF | CO0040835 |
| COSPCL02a | Georgetown Town of | Georgetown WWTF | CO0027961 |
| COSPCL02c | Central Clear Creek SD | Central Clear Creek SD WWTF | COG588055 |
| COSPCL05 | Empire Town of | Empire Town of | COG588065 |
| COSPCL09a | St Marys Glacier WSD | St Mary’s Glacier WSD | CO0023094 |
| COSPCL10 | Shwayder Camp Wastewater | Shwayder Camp WWTF | CO0047473 |
| COSPCL11 | Idaho Springs City of | Idaho Springs WWTF | CO0041068 |
| COSPCL12b | Clear Creek WWTP | Clear Creek WWTP | CO0046574 |
| COSPCL13b | Black Hawk/Central City Sanitation District | Black Hawk/Central City SD WWTF | CO0046761 |
| COSPCL14a | MillerCoors LLC | MillerCoors Golden Facility | CO0001163 |
| COSPBD01 | Westminster City of | Big Dry Creek WWTF | CO0024171 |
| COSPBD01 | Broomfield City and County | Broomfield WWTF | CO0026409 |
| COSPBD01 | Northglenn City of | Northglenn WWTF | CO0036757 |
| COSPBO02b | San Lazaro Park Properties LLP c/o | San Lazaro MHP WWTF | CO0020184 |
| COSPBO02b | BaseCamp Ventures LLC | Boulder Mountain Lodge WWTF | CO0040819 |
| COSPBO02b | Mueller Red Lion Inn | Red Lion Inn WWTF | COG588118 |
| COSPBO03 | Nederland Town of | Nederland Town of WWTF | CO0020222 |
| COSPBO04b | Eldorado Springs Wastewater | Eldorado Springs WWTF | CO0047651 |
| COSPBO04b | San Souci MHP | San Souci MHP | COG588101 |
| COSPBO07b | Louisville City of | Louisville WWTF | CO0023078 |
| COSPBO07b | Lafayette City of | Lafayette WWTF | CO0023124 |
| COSPBO07b | Erie Town of | Erie WWTF | CO0045926 |
| COSPBO08 | Superior Metropolitan District No 1 | Superior Metropolitan Dist No1 | CO0043010 |
| COSPBO09 | Boulder City of | 75TH ST WWTP | CO0024147 |
| COSPBO10 | Erie Town of | Erie North Water Reclamation Facility | CO0048445 |
| COSPBO10 | B & B Mobile Home and RV Park | B & B Mobile Home & RV Park | COG588107 |
| COSPBO14 | Lake Eldora WSD | Lake Eldora WSD WWTF | CO0020010 |
| COSPSV02a | Peaceful Valley Ranch LLC | Peaceful Valley Ranch WWTF | CO0048828 |
| COSPSV02a | Seventh-Day Adventist Assoc of Colorado | Glacier View Ranch | CO0030112 |
| COSPSV02a | Aspen Lodge at Estes Park Corp | Aspen Lodge at Estes Park Corp | CO0042820 |
| COSPSV02b | Lyons Town of | Lyons Town of | CO0020877 |
| COSPSV03b | Longmont City of | Longmont WWTF | CO0026671 |
| COSPSV03c | St Vrain Sanitation District | St Vrain Sanitation District | CO0041700 |
| COSPSV06a | Fairways Metro Dist | Fairways WWTF | CO0048411 |
| COSPSV06b | Niwot Sanitation District | Niwot Sanitation District | CO0021695 |
| COSPSV06b | Mead Town of | Lake Thomas Subdivision WWTF | CO0046868 |
| COSPSV06b | Mead Town of | Mead, Town of | CO0046876 |
| COSPMS01a | Fort Lupton City of | Fort Lupton WWTF | CO0021440 |
| COSPMS01a | Platteville Town of | Platteville WWTF | CO0040355 |
| COSPMS01b | Evans City of | Evans City of WWTF | CO0020508 |
| COSPMS01b | Kersey Town of | Kersey WWTF | CO0021954 |
| COSPMS01b | Evans City of | Hill-N-Park Sanitation Dist. | CO0047287 |
| COSPMS01b | La Salle Town of | La Salle Town of | COG588058 |
| COSPMS01b | Gilcrest Town of | Gilcrest WWTF | COG588121 |
| COSPMS03a | Elizabeth Town of | Gold Creek | COG589037 |
| COSPMS03a | Galeton Water and Sanitation District | Galeton Water & San District | CO0043320 |
| COSPMS03a | Orica USA Inc | Orica USA, Inc. | CO0046221 |
| COSPMS03a | Spring Valley Ranch | Spring Valley Ranch WWTF | CO0046965 |
| COSPMS03a | Front Range Airport WWTF | Front Range Airport WWTF | CO0047741 |
| COSPMS04 | Lochbuie Town of | Lochbuie Town of | CO0047198 |
| COSPMS05a | Swift Beef Company | Swift Beef – Lone Tree | CO0027707 |
| COSPMS05c | Hudson WWTF | Hudson Mechanical WWTF | COG589104 |
| COSPMS06 | Keenesburg Town of | Keenesburg Town of | CO0041254 |
| COSPMS06 | Bennett Town of | Bennett Town of | COG589069 |
| COSPBT02 | Estes Park Sanitation District | Estes Park Sanitation District | CO0020290 |
| COSPBT02 | Upper Thompson Sanitation District | UTSD WWTF | CO0031844 |
| COSPBT04 | Loveland City of | Loveland WWTP | CO0026701 |
| COSPBT05 | Milliken Town of | Milliken Sanitation District | CO0042528 |
| COSPBT05 | Johnstown Town of | Low Point WWTP | CO0047058 |
| COSPBT07 | Hidden View Estates HOA | Hidden View Estates HOA WWTF | CO0048861 |
| COSPBT09 | Johnstown Town of | Johnstown Central WWTF | CO0021156 |
| COSPBT09 | Riverglen Homeowners Assoc | Riverglen HOA WWTF | CO0029742 |
| COSPBT09 | Berthoud Town of | Berthoud Town of | CO0046663 |
| COSPBT10 | Berthoud Town of | Serenity Ridge WWTF | CO0047007 |
| COSPBT10 | Western Mini-Ranch/Vaquero Estates Sewer Assoc. | Western Mini-Ranch/Vaquero Est | COG589095 |
| COSPBT10 | Berthoud Estates Community Assoc | Berthoud Estates WWTF | COG589097 |
| COSPCP08 | Fox Acres Community Services Corp | Fox Acres WWTF | COG589112 |
| COSPCP08 | Girl Scouts of Colorado | Magic Sky Ranch G.S. Camp | CO0047317 |
| COSPCP11a | Fort Collins City of | Mulberry WWTP | CO0026425 |
| COSPCP12a | Fort Collins City of | Drake WWTP | CO0047627 |
| COSPCP12a | Windsor, Town of | Windsor Town of WWTF | CO0020320 |
| COSPCP12b | Greeley City of | Greeley City of | CO0040258 |
| COSPCP12b | Leprino Foods Company | Leprino Greeley Facility WWTF | CO0048860 |
| COSPCP13a | Anheuser Busch Inc | Nutri-Turf, Inc. | CO0039977 |
| COSPCP13a | Eaton Town of | Eaton, Town of | CO0047414 |
| COSPCP13a | Saddler Ridge Metro Dist Water Reclamation Facility | Saddler Ridge Metro Dist Water Reclamation Facility | COG589107 |
| COSPCP13c | Boxelder Sanitation District | Boxelder Sanitation District WWTF | CO0020478 |
| COSPCP13c | Wellington Town of | Wellington WWTF | CO0046451 |
| COSPCP22 | South Fort Collins Sanitation District | South Fort Collins San Dist | CO0020737 |
| COSPLS01a | Western Sugar Cooperative | Fort Morgan Facility | CO0041351 |
| COSPLS01a | Cargill Meat Solutions | Fort Morgan Beef Plant | CO0044270 |
| COSPLS01a | Brush City of | Brush City of | CO0021245 |
| COSPLS01a | Fort Morgan City of | Fort Morgan City of | CO0044849 |
| COSPLS01a | Snyder Sanitation District | Snyder Sanitation District | COG588016 |
| COSPLS01a | Morgan Heights WSD | Morgan Heights Water & Sewer Inc. | COG588040 |
| COSPLS01b | Julesburg Town of | Julesburg Town of | CO0021113 |
| COSPLS01b | Sterling City of | Sterling City of | CO0026247 |
| COSPLS01b | Ovid Town of | Ovid Town of | COG588106 |
| COSPLS02 | Leprino Foods Company | Fort Morgan Cheese Facility | CO0043958 |
| COSPLS02 | Deer Trail Town of | Deer Trail WWTF | COG589002 |
| COSPLS02 | Hillrose Town of | Hillrose WWTF | COG589030 |
| COSPLS02 | Byers Water and Sanitation District | Byers Water and Sanitation District | COG589033 |
| COSPLS02 | Eastern Adams County Metro District | Eastern Adams CO Metro Dist WWTF | COG589035 |
| COSPLS02 | Kiowa Town of | Kiowa WWTF | CO0033405 |
| COSPLS02 | Elbert Water Sanitation District | Elbert Water Sanitation District WWTF | COG589065 |
| COSPRE03 | Wray City of | Wray City of | CO0023833 |
| COSPRE06 | Flagler Town of | Flagler WWTF | COG589036 |
| COSPRE06 | Arriba Town of | Arriba WWTF | COG589055 |
| COSPRE06 | Holyoke City of | Holyoke, City of | COG589059 |
| COSPRE06 | Akron Town of | Akron WWTF | COG589061 |
| COSPRE06 | Haxtun Town of | Haxtun. Town of | COG589062 |
| COSPRE06 | Stratton Town of | Stratton WWTF | COG589100 |
| COSPRE06 | Burlington City of | Burlington City of WWTF | COG589114 |
| COSPRE06 | Seibert Town of | Seibert WWTF | COG589120 |
| COSPRE07 | Cheyenne Wells Sanitation District No 1 | Cheyenne Wells Sanitation District | COG589039 |
| Unclassified | Silco Oil Co | Tomahawk Truck Stop | COG589003 |

Prior to December 31, 2027:

•	For segments located entirely above these facilities, total nitrogen and total phosphorus standards apply to the entire segment.

•	For segments with portions downstream of these facilities, total nitrogen and total phosphorus standards only apply above these facilities. A note was added to the total phosphorus and total nitrogen standards in these segments. The note references the table of qualified facilities at 38.5(4).

•	For segments located entirely below these facilities, total nitrogen and total phosphorus standards do not apply.

•	Additionally, for segments with portions downstream of these facilities or for segments located entirely below these facilities, total phosphorus standards may apply where special circumstances have been identified by the Commission (31.17(2)(a)(i)(B) and 31.17(2)(a)(ii)(B)).

38.6	TABLES

[Not shown: no changes to sections 38.6(1) through 38.6(3).]

(4)	Site-specific Standards, Assessment Locations, and Assessment Criteria

[Not shown: no changes to sections 38.6(4)(a) through 38.6(4)(n).]

(o)	Cherry Creek Segment 7 (COSPCH07; Rueter-Hess Reservoir): DUWS Chlorophyll a standard (µg/L) and assessment

Chlorophyll a Standard:

Chlorophyll a = 13.3 µg/L, March 1 - November 30 average, 1-in-5-year allowable exceedance frequency

Chlorophyll a Assessment Location:

- Rueter-Hess Reservoir Site E (39.48894, -104.82281), mixed layer, 1 m grab

[Not shown: no changes to section 38.6(5).]

(6)	Discharger-specific Variances

(a)	Lower South Platte River Segment 2 (COSPLS02):

Discharger-specific Variance, Town of Crook (COG591015), Adopted 6/9/2025.

Ammonia (acute/chronic): Initial AEL=4 lbs/day, Final AEL=3.4 lbs/day.

Includes a Pollutant Minimization Program. (see 38.110(B))
Expiration date: 12/31/2031.

[Not shown: no changes to sections 38.7.]

38.8 – 38.9	RESERVED

[Not shown: no changes to sections 38.10 through 38.110.]

38.111	STATEMENT OF BASIS, SPECIFIC STATUTORY AUTHORITY AND PURPOSE; JUNE 8, 2026 RULEMAKING; FINAL ACTION AUGUST 10, 2026; EFFECTIVE DATE DECEMBER 31, 2026

The provisions of C.R.S. 25-8-202(1)(a), (b) and (2); 25-8-203; 25-8-204; 25-8-402; and 25-8-207 provide the specific statutory authority for adoption of these regulatory amendments. The commission also adopted in compliance with 24-4-103(4) C.R.S. the following statement of basis and purpose.

BASIS AND PURPOSE

- Temporary Modifications

Pursuant to the requirements in the Basic Standards (at 31.7(3)), the commission conducted its biennial review of the status of all temporary modifications to determine whether the temporary modifications should be modified, eliminated, or extended.

- Temporary Modifications for Standards Other than Arsenic

There are currently no temporary modifications for standards other than arsenic.

The commission deleted the following temporary modifications, which had been allowed to expire:

Upper South Platte River: 16g (temperature, expired 12/31/2025)

Clear Creek: 7a (temperature, expired 12/31/2023) and 7b (temperature, expired 12/31/2023)

St. Vrain Creek: 6a (iron, expired 12/31/2023)

2.	Temporary Modifications for Arsenic

There are currently 131 segments with a temporary modification for arsenic in Regulation No. 38. The commission took no action on the arsenic temporary modification.

The Water Quality Control Division (division) provided an update to the commission on progress being made in implementing its plan to resolve uncertainty for the chronic arsenic temporary modification. This temporary modification applies to segments with an arsenic standard of 0.02 μg/L (to protect the Water + Fish use) and dischargers with demonstrated or predicted water quality-based effluent limit (WQBEL) compliance problems. The temporary modification was first adopted in 2011 (38.79), adopted more broadly throughout the state in 2013 (38.85), extended in 2019 (38.99(B)), and extended in 2024 (38.109(A)(2)) to expire 12/31/2029.

The commission retained the temporary modifications without revision. The division demonstrated continued widespread instream nonattainment, demonstrated or predicted WQBEL compliance issues, the need for time to continue working to resolve the remaining uncertainty regarding the water quality standard necessary to protect uses and the extent to which existing quality is the result of natural or irreversible human-induced conditions, and maintenance of status quo. The division continues to make progress on resolving the uncertainty underlying the temporary modifications, including the extent to which water quality improvements are feasible. The division will continue to provide annual progress updates and participate in the next biennial temporary modifications rulemaking hearing (currently planned for 2028).

- Waterbody Segmentation

Some segments were renumbered, combined, or new segments were created to facilitate appropriate organization of water bodies in this regulation. Renumbering and/or creation of new segments was made based on information that showed: a) the original reason for segmentation no longer applied; b) significant differences in uses, water quality and/or physical characteristics warrant a change in standards on only a portion of the existing segment; and/or c) certain segments could be merged into one segment because they had similar water quality and uses. The following changes were made:

St. Vrain Creek segments 3a, 3b, and 3c (COSPSV03a, COSPSV03b, and COSPSV03c): Segment 3 was split into segments 3a, 3b, and 3c to facilitate removing the Water Supply use from the portion of St. Vrain Creek from Airport Road to Boulder Creek (COSPSV03b). Segment 3a was defined as “Mainstem of St. Vrain Creek from Hygiene Road to Airport Road.” Segment 3b was defined as “Mainstem of St. Vrain Creek from Airport Road to a point immediately above the confluence with Boulder Creek.” Segment 3c was defined as “Mainstem of St. Vrain Creek from a point immediately above the confluence with Boulder Creek to the confluence with the South Platte River.”

Cache la Poudre River Segment 21 (COSPCP21): Douglas Reservoir was moved from Segment 21 to a new Segment 23. This new segment was created to facilitate the upgrade of the Aquatic Life use on Douglas Reservoir from Warm 2 to Warm 1. The segment description for Segment 21 was changed to add an exception for Segment 23.

C.	Site-specific Standards

Site-specific criteria-based standards are adopted where alternate criteria are shown to be protective of the classified uses. Site-specific ambient-based standards are adopted where natural or irreversible human-induced conditions result in pollutant concentrations that exceed table value standards. Feasibility-based ambient standards are adopted where water quality can be improved, but not to the level required by the current numeric standard. Information is currently being gathered to better understand the basis of all existing site-specific standards and determine what information is needed to review each standard in future basin reviews.

In this rulemaking hearing, a review of the site-specific standards on the following segments was conducted to meet longevity plan requirements.

Upper South Platte River segments 14 and 16g (COSPUS14 and COSPUS16g): Highlands Ranch Water (HRW; previously Centennial Water and Sanitation District) provided an update to the commission on the results of implementing its longevity plan for the site-specific copper standards on Upper South Platte River segments 14 and 16g. Site-specific copper standards based on the Fixed Monitoring Benchmark (FMB) application of the Biotic Ligand Model (BLM) were adopted on segments 14 and 16g in 2015 (38.90(I)). When these site-specific standards were adopted by the commission in 2015, HRW agreed to continued monitoring and analysis of BLM parameters to facilitate the commission’s review of the standards in future triennial reviews (38.90(I)). In 2020, the site-specific copper standards were reviewed and deemed protective, and no revisions were made (38.101(I)). In this rulemaking, data collected from 2021-2025 were reviewed and the site-specific standards were again deemed protective and no revisions were made. In addition, HRW submitted a longevity plan documenting the previous agreements to continued monitoring and analysis of BLM parameters (WQCD Rebuttal Exhibit L). The commission will review these BLM-based standards in approximately five years (target timing: 2031), using data collected over the next five years, to ensure that the site-specific standards remain protective.

Upper South Platte River Segment 15 (COSPUS15) and Middle South Platte River Segment 1a (COSPMS01a): Metro Water Recovery (Metro) provided an update to the commission on the results of implementing its longevity plan for the site-specific copper standards on Upper South Platte River Segment 15 and Middle South Platte River Segment 1a. When these site-specific standards were adopted by the commission in 2015 and reviewed in 2020, a longevity plan was included that required Metro to provide information to facilitate the commission’s review of the standards in future triennial reviews (38.90(I) and 38.101(I)). Specifically, because these site-specific standards are based on the copper Biotic Ligand Model (BLM), Metro agreed to continued monitoring and analysis of BLM parameters to facilitate review of these standards at future hearings. Based on an evaluation of the most recent data, the BLM-based site-specific copper standards were retained at 26.4 ug/L (acute) and 18.0 ug/L (chronic). The commission will review these BLM-based standards in approximately five years (target timing: 2031), using data collected over the next five years, to ensure that the BLM-based standards capture any changes in water quality. Additionally, Metro provided an updated longevity plan for ongoing evaluation of these standards (WQCD Responsive Prehearing Statement Exhibit I).

Cherry Creek Segment 4b (COSPCH04b): Cottonwood Water & Sanitation District and Arapahoe County Water & Wastewater Authority (Cottonwood/ACWWA) provided an update to the commission on the results of implementing the longevity plan for the site-specific selenium standards on Cherry Creek Segment 4b. These site-specific standards were initially adopted by the commission in 2015 (38.90(G)). When the site-specific standards were adopted, and during the review of the site-specific standards in 2020 (38.101(H)), the commission directed Cottonwood/ACWWA to continue sampling in Segment 4b and downstream in Cherry Creek Reservoir. Continued data collection is necessary to facilitate review of the site-specific standards to determine if they continue to be protective. Additionally, Cottonwood/ACWWA plans to resume discharge from its reverse osmosis facility in the future, so the commission directed Cottonwood/ACWWA to collect additional “before and after discharge” data to evaluate any impacts of the planned discharge. As of this proceeding, the facility has not resumed discharging.

After the 2015 hearing, Cottonwood/ACWWA created a sampling plan to further characterize “baseline” conditions and fulfill the commission’s expectations regarding continued sampling (38.90(G)). Using the data collected as part of the 2015 sampling plan, the commission reviewed the site-specific standards in 2020 (38.101(H)) and made no changes. During the 2020 rulemaking hearing, Cottonwood/ACWWA agreed to implement a longevity plan for continued data collection and to consult with stakeholders in summer 2020 to develop an updated sampling and analysis plan. These data were intended to facilitate review of the site-specific standards in five years and provide a basis for comparison against the baseline data after discharge resumes.

Cottonwood/ACWWA did not develop an updated sampling plan in 2020 because the discharge did not restart. However, for this review Cottonwood/ACWWA provided instream water quality data collected from October 2018 to August 2023 to facilitate review of the standards. The commission made no changes to the site-specific standards at this hearing.

To ensure all relevant data are collected and available to support reviews of these standards in the future, the commission adopted an updated longevity plan (Cottonwood/ACWWA Exhibit D, submitted after rebuttal) that provides clear expectations for Cottonwood/ACWWA. The longevity plan includes ongoing monthly water quality sampling at the assessment locations in Segment 4b, as well as fish and macroinvertebrate tissue sampling in Segment 4b and downstream in Cherry Creek Reservoir before and after the reverse osmosis facility resumes discharging. Additionally, the commission expects Cottonwood/ACWWA to meet with the division and other stakeholders at least one year prior to the next review in approximately five years (target timing: 2031) to share results of sampling efforts, provide an update regarding the status of the discharge, and discuss whether there is a need to revise the site-specific standards.

Big Thompson River Segment 2 (COSPBT02): The Upper Thompson Sanitation District (UTSD) provided an update to the commission on the results of implementing its longevity plan for the site-specific copper standards on Big Thompson River Segment 2. In addition, UTSD provided an updated version of its longevity plan (WQCD Prehearing Statement Exhibit C-9). When these site-specific standards were adopted by the commission in 2014 and reviewed in 2015 and 2020, a longevity plan was included that required UTSD to provide information to facilitate the commission’s review of the standards in future triennial reviews (38.89, 38.90(I), and 38.101(I)). Specifically, because these site-specific standards are based on the copper Biotic Ligand Model (BLM), UTSD agreed to continued monitoring and analysis of BLM parameters to facilitate review of these standards at future hearings. Because UTSD identified data quality issues in the recent dataset, the commission delayed the review of these site-specific standards. A review of these site-specific standards is planned for 2028.

In addition, the commission adopted a new site-specific standard for chlorophyll a on one segment:

Cherry Creek Segment 7 (COSPCH07): The commission adopted a site-specific standard for chlorophyll a to protect the Direct Use Water Supply (DUWS) sub-classification on Rueter-Hess Reservoir in Cherry Creek Segment 7. Assessment information for the site-specific standard is included in Section 38.6(4). Based on the evidence provided in this proceeding, and consistent with its prior acknowledgement of the need for and authority to grant site-specific flexibility under Regulation 31.17, the commission has determined that a DUWS site-specific standard of 13.3 µg/L for chlorophyll a is appropriate for and protective of the DUWS use of Rueter-Hess Reservoir.

In March 2012, the commission adopted the DUWS sub-classification of the Water Supply classification and a table value standard of 5 µg/L chlorophyll a to protect the DUWS in Regulation No. 31 (31.50). In June 2020, the commission adopted the DUWS sub-classification for Rueter-Hess Reservoir (38.101(M)). In April 2023, the commission adopted the 5 µg/L chlorophyll a table value standard onto all DUWS lakes and reservoirs statewide, including Rueter-Hess Reservoir (38.106(B)(2)). In the 2023 rulemaking hearing, the commission also discussed factors that could be considered when evaluating the need for a site-specific chlorophyll a standard for DUWS (38.106(B)(2)). These factors included whether disinfection byproducts (DBPs) have been or are currently being produced, the type of treatment technology in use, the expected organic carbon removal efficiency during treatment, whether the duration of the use is sufficient to result in chronic exposure or requires management of DBPs, and any other relevant factors. The commission also noted that Parker Water and Sanitation District (Parker Water) provided information indicating a site-specific standard may be appropriate for Rueter-Hess Reservoir (38.106(B)(3)).

The commission found in this proceeding that a site-specific standard less stringent than the table value standard is protective of the DUWS in Rueter-Hess Reservoir because Parker Water uses chloramine disinfection in its treatment (which tends to produce lower amounts of total trihalomethanes and five haloacetic acids relative to chlorine, which was the primary disinfectant used by facilities examined to derive the table value standard) and has an advanced treatment system that more effectively removes dissolved organic carbon from raw water during the treatment process than the facilities used to inform the derivation of the table value standard.

As part of its potable water supply, Parker Water treats raw water from Rueter-Hess Reservoir. To support development of a site-specific chlorophyll a standard protective of the DUWS use in Rueter-Hess Reservoir, Parker Water performed sampling and technical analyses of water quality in Rueter-Hess Reservoir and the Rueter-Hess Water Purification Facility. To calculate the site-specific criteria-based standard (31.7(1)(b)(iii)) for chlorophyll a, Parker Water used its site-specific information to adjust some of the input values that were used to derive the table value standard (31.50(III)(A)). Parker Water calculated system-specific DBP yields, determined the corresponding dissolved organic carbon (DOC) concentrations in finished water, determined the corresponding DOC concentrations in raw water, and calculated a protective in-reservoir chlorophyll a threshold of 13.3 µg/L. Parker Water’s treatment has a DOC removal efficiency of nearly 50%, which is double the assumed removal efficiency of 25% that was used to derive the DUWS chlorophyll a table value standard. Parker Water conducted Simulated Distribution System (SDS) tests using finished, disinfected water to determine DBP yields in treated Rueter-Hess Reservoir water. Resulting DBP yields were approximately 50% (total trihalomethanes) and 75% (haloacetic acids) lower than the assumptions used to derive the table value standard.

Parker Water followed the methodology used to derive the chlorophyll a table value standard, with one exception. The chlorophyll a DUWS table value standard calculation method includes a final step intended to translate the protective in-reservoir chlorophyll a threshold from the median (Rueter-Hess Reservoir value = 13.3 µg/L) to an 80th percentile value (Rueter-Hess Reservoir value = 16.3 µg/L). However, as discussed in the division’s responsive prehearing statement, concerns were raised about the protectiveness of this final step of the table value standard methodology which produced a value of 16.3 µg/L as the Rueter-Hess Reservoir site-specific standard. To ensure the site-specific standard would be protective, Parker Water revised its original proposal of 16.3 µg/L to omit this translation step, resulting in a site-specific standard of 13.3 µg/L. This site-specific standard is tailored to the water quality in Rueter-Hess Reservoir and the treatment technology utilized by the Rueter-Hess Water Purification Facility. However, the commission may also revisit the use of, or approach to, the 80th percentile conversion in the calculation of the table value standard and consider revisions in a future rulemaking.

Consistent with the DUWS chlorophyll a table value standard, this site-specific standard will be implemented as the March 1 - November 30 annual seasonal average of chlorophyll a (µg/L) values from the mixed layer. Consistent with the data used to calculate the site-specific standard, data from Site E will be used for assessment purposes.

In addition, consistent with the table value standard, this site-specific standard will be implemented with an allowable exceedance frequency of 1-in-5 years. As discussed in the division’s responsive prehearing statement and rebuttal, concerns were raised about the protectiveness of the allowable exceedance frequency for the Rueter-Hess Reservoir site-specific standard. However, evidence provided in Parker Water’s rebuttal resolved the division’s concern and the commission determined that the allowable exceedance frequency of once in five years is expected to be protective of the DUWS in Rueter-Hess Reservoir due to the adaptive flexibility in Parker Water’s advanced treatment capabilities at the Rueter-Hess Water Purification Facility. Additionally, Parker Water committed to performing corrective actions and/or revisiting the site-specific standard if any individual SDS test result (outside of a chlorine burn event) produces DBP concentrations in excess of regulated maximum contaminant levels. As such, a site-specific chlorophyll a standard of 13.3 μg/L, with a 1-in-5-year allowable exceedance frequency, was adopted for Rueter-Hess Reservoir. The commission may revisit the table value standard, including its exceedance frequency, and consider revisions in a future rulemaking, If the table value standard or its exceedance frequency is revised, this site-specific standard will be revisited.

The proposal was supported by a longevity plan (Parker Water Exhibit 9, submitted after rebuttal). To ensure that the site-specific chlorophyll a DUWS standard remains protective, Parker Water will continue to monitor chlorophyll a and DOC in Rueter-Hess Reservoir, monitor DOC and UV-254 in raw and finished water from the Rueter-Hess Water Purification Facility, and conduct quarterly SDS testing to measure DBP formation using water sourced from Rueter-Hess Reservoir. Parker Water will evaluate the timing of DBP formation using SDS testing following each update to Parker Water’s Master Plan (roughly once every five years). As required by drinking water regulations, Parker Water will continue ongoing quarterly monitoring of regulated DBPs in its distribution system. Parker Water will report the abovementioned data to the division annually and will provide a comprehensive report and evaluation of the site-specific standard once every three years. The commission will review this site-specific standard approximately five years from this proceeding to ensure that the site-specific standard remains protective.

D.	Aquatic Life Use Classifications and Standards

The commission reviewed information regarding the current Aquatic Life use classifications and evidence pertaining to existing aquatic communities. In addition, newly created segments were given the same Aquatic Life use classification as the segment from which they were split, unless there was evidence to show that the existing use classification was inappropriate.

No segments were lacking an Aquatic Life use, but Class 2 segments with high MMI scores (or other metrics indicating a diverse benthic macroinvertebrate community) and/or a wide variety of fish species, including sensitive species, were upgraded from Class 2 to Class 1.

The following segment was upgraded from Warm 2 to Warm 1:

Cache la Poudre River: 23 (Douglas Reservoir)

- Water Supply Use Classifications and Standards

The commission reviewed certain Water Supply use classifications and standards pursuant to C.R.S. 25-8-207 and found certain use classifications and standards inconsistent with C.R.S. 25-8-207(1) because they were adopted based upon material assumptions that were in error or no longer apply. As such, these use classifications and standards are void ab initio, and the commission simultaneously established appropriate classifications and standards, per C.R.S. 25-8-207(2). More specifically, the commission removed the Water Supply use classification and standards where the evidence demonstrated that a Water Supply use does not currently exist, and that such a use is not reasonably expected in the future due to water rights, source water options, or other conditions. Therefore, the material assumptions upon which the Water Supply use classification was based (that the segment was actually being used as described under a Water Supply use classification) no longer apply to the segment in question. The Water Supply use classification and standards, except for chloride (which was retained to provide protection for aquatic life), were removed from the following segment:

St. Vrain Creek: 3b

St. Vrain Creek Segment 3: In 2020, the commission adopted the Water Supply use classification and standards on St. Vrain Creek Segment 3 (38.101(D)). In this rulemaking hearing, the commission resegmented Segment 3 into segments 3a, 3b, and 3c (COSPSV03a, COSPSV03b, and COSPSV03c) and retained the Water Supply use and standards on segments 3a and 3c (COSPSV03a and COSPSV03c), based on evidence of existing domestic water supply uses.

For St. Vrain Creek Segment 3b (COSPSV03b), which includes the portion of St. Vrain Creek from Airport Road to Boulder Creek, the commission removed the Water Supply use and standards, except for chloride. The City of Longmont (Longmont) provided evidence that existing potentially hydrologically-connected alluvial wells and existing surface water diversions are not in use for domestic purposes on this segment. Additionally, Longmont provided evidence that future use of Segment 3b as a Water Supply is unlikely due to multiple factors: land adjacent to Segment 3b is in water service area boundaries, water service providers require any new development to connect to their systems, intergovernmental agreements with Boulder and Weld Counties allow Longmont to annex new developments into its water service boundary in the future, Longmont city codes prohibit installation of new alluvial wells, and/or water districts restrict the installation of new wells (as is the case with Left Hand Water District). In addition, new water supply diversions are not currently planned in Segment 3b. Longmont also demonstrated that the Water Supply use is not an existing use per the federal Clean Water Act. 40 CFR § 131.3(e).

To demonstrate that removal of the Water Supply use and standards from Segment 3b would be protective of downstream uses, Longmont conducted a nitrate modeling study. The study showed that nitrate concentrations in St. Vrain Creek will remain below the 10 mg/L Water Supply standard both above and below the Boulder Creek confluence (i.e., the top of Segment 3c, which retains its Water Supply use), even under worst-case flow and nitrate concentration conditions (i.e., co-occurring maximum effluent flow and nitrate concentrations, low instream flows, and maximum instream nitrate concentrations). In addition, Longmont added a new sampling location below the Boulder Creek confluence to its monthly water quality sampling program to facilitate long-term monitoring of water quality conditions in the downstream segment where the Water Supply use applies.

While potentially hydrologically-connected alluvial wells and diversions are not currently being used for Water Supply purposes, and future uses are unlikely, these assumptions will be revisited during future reviews to ensure uses are protected.

F.	Direct Use Water Supply Sub-classification

In the March 2012 nutrients rulemaking hearing, the commission adopted a sub-classification of the Domestic Water Supply Use called “Direct Use Water Supply Lakes and Reservoirs Sub-classification” (DUWS), in Regulation No. 31, at 31.13(1)(d)(i). This sub-classification is for Water Supply lakes and reservoirs where there is or will be a plant intake location in the lake or reservoir or a man-made conveyance from the lake or reservoir that is used regularly to provide raw water directly to a water treatment plant that treats and disinfects raw water. The commission adopted the DUWS sub-classification on the following reservoir:

St. Vrain Creek: 13 (Milavec Reservoir)

The City of Boulder expressed concerns regarding the adoption of the DUWS sub-classification, the attainability of the 5 µg/L chlorophyll a standard, and potential implications for Boulder's discharge permits in the future. The commission notes that no evidence was provided to demonstrate that the chlorophyll a standard of 5 µg/L is not attainable in Milavec Reservoir. Additionally, chlorophyll a standards are not implemented into discharge permits and there are currently no nitrogen and phosphorus standards for the DUWS sub-classification. The commission supports the Town of Frederick’s and Boulder's collaborative efforts to characterize water quality in the Boulder Creek watershed.

G.	Cleanup, Corrections, and Clarifications

The following edits were made to the regulation and/or Appendix 38-1 to improve clarity and correct typographical errors:

- The qualified discharger table at 38.5(4) was updated to correct errors and changes in segment numbers.

  - Segment “COSPUS10a” was changed to “COSPUS10” to reflect a previously adopted change in segmentation.

  - Segment “COSPCH04” was changed to “COSPCH04b” to reflect a previously adopted change in segmentation.

  - Segment “COSPBE04a” was changed to “COSPBE04” to reflect a previously adopted change in segmentation.

  - Segment “COSPSV03” was changed to “COSPSV03b” for the City of Longmont to reflect the change in segmentation described at 31.111(B).

  - Segment “COSPSV03” was changed to “COSPSV03c” for St. Vrain Sanitation District to reflect the change in segmentation described at 31.111(B).

  - Segment “COSPCP11” was changed to “COSPCP11a” for the City of Fort Collins Mulberry WWTF to reflect a previously adopted change in segmentation.

  - Segment “COSPCP11” was changed to “COSPCP12a” for the City of Fort Collins Drake WWTF to reflect a previously adopted change in segmentation.

- The discharger-specific variance (DSV) for Suncor Energy (U.S.A.) Inc. was deleted from section 38.6(6)(a) and the segment tables for segments COSPUS15 and COSPUS16i because this DSV expired December 31, 2023.

- Upper South Platte River Segment 14 (COSPUS14): The descriptions of the acute and chronic copper site-specific standards in the “Other” cell in the segment table were revised to add clarity regarding the portion of the segment where the site-specific standards apply. Specifically, the descriptions were revised to note that the site-specific standards apply to the portion of the mainstem of the South Platte River below Marcy Gulch, and the table value standards apply to the rest of the segment.

- Upper South Platte River Segment 15 (COSPUS15): The descriptions of the acute and chronic copper site-specific standards in the “Other” cell in the segment table were revised to add clarity regarding the portion of the segment where the site-specific standards apply. Specifically, the descriptions were revised to note that the site-specific standards apply to the portion of the mainstem of the South Platte River downstream of the Metro Hite WWTF, and the table value standards apply to the rest of the segment.

- Upper South Platte River Segment 16g (COSPUS16g): The descriptions of the acute and chronic copper site-specific standards in the “Other” cell in the segment table were revised to add clarity regarding the portion of the segment where the site-specific standards apply. Specifically, the descriptions were revised to note that the site-specific standards apply to the portion of the mainstem of Marcy Gulch below the Marcy Gulch WWTF, and the table value standards apply to the rest of the segment.

- Upper South Platte River Segment 17c (COSPUS17c): The aluminum table value standard in the segment table was revised from “Aluminum” to “Aluminum(T)” because the aluminum table value standard is expressed as total recoverable.

- Bear Creek Segment 1c (COSPBE01c): The site-specific phosphorus standard was corrected from 22.2 mg/L to 0.0222 mg/L. As described at 38.90(N)(2)(B), this site-specific standard is 22.2 µg/L; because the portion of the segment table containing the phosphorus standard shows values in mg/L, the phosphorus value should be shown as 0.0222 mg/L. In addition, the phosphorus standard units (mg/L) were added to the information in the “Other” cell.

- St. Vrain Creek Segment 11 (COSPSV11): The segment description was changed from “Barbour Ponds” to "Pelican Pond, Mallard Pond, Sandpiper Pond, Killdeer Pond, and Avocet Pond in St. Vrain State Park." These waterbodies were previously in Barbour Ponds State Recreation Area, but this area is now part of St. Vrain State Park.

- Big Thompson River Segment 2 (COSPBT02): The descriptions of the acute and chronic copper site-specific standards in the “Other” cell in the segment table were revised to add clarity regarding the portion of the segment where the site-specific standards apply. Specifically, the descriptions were revised to note that the site-specific standards apply to a portion of the mainstem of the Big Thompson River, and the table value standards apply to the rest of the segment.

- Big Thompson River Segment 16 (COSPBT16): The segment description was revised to change the reference to “St Mary’s Lake” to “Mary’s Lake”, consistent with the name shown on maps of this waterbody.

- The segment descriptions in Appendix 38-1 were reviewed, and minor revisions were made to several segments to correct grammar, punctuation, and typos, improve sentence structure, and add details to increase accuracy of the description.

Upper South Platte River: 1b, 2a, 3, 4, 5b, 5c, 5d, 7, 9, 11a, 16a, 17a

Clear Creek: 25

Big Dry Creek: 4a

Boulder Creek: 8, 11

St. Vrain Creek: 6b

Big Thompson River: 5