DEPARTMENT OF PUBLIC HEALTH AND ENVIRONMENT

Water Quality Control Commission

REGULATION NO. 32 - CLASSIFICATIONS AND NUMERIC STANDARDS FOR ARKANSAS RIVER BASIN

5 CCR 1002-32

[Editor's Notes follow the text of the rules at the end of this CCR Document.]

_________________________________________________________________________

[Not shown: no changes to sections 32.1 through 32.5.]

32.6	TABLES

[Not shown: no changes to sections 32.6(1) through 32.6(5).]

(6)	Discharger-specific Variances

(a)	Lower Arkansas Segment 1a (COARLA01a):

Discharger-specific Variance, City of Pueblo James R. DiIorio Water Reclamation Facility (CO0026646): Adopted 6/12/2018.

Selenium (acute): AEL=narrative; 
Selenium (chronic): AEL=narrative;
Sulfate (chronic): AEL=narrative. 
Expiration date: 12/31/2028.

Narrative alternative effluent limit: During the DSV term, Pueblo will be required to spend $10 million to implement a comprehensive source control, sampling, analysis, and optimization adaptive management program to reduce selenium and sulfate concentrations in the effluent as much as feasible and to ensure that the discharge does not contribute to any lowering of the currently attained ambient water quality. The adaptive management program will include the following elements, in order of priority:

- Lining up to 175,000 ft2 in the sewer collection system in Basins 2 and 3.

- Sealing up to 400 manholes in Basins 2 and 3.

- The amount of sewer lining and manhole sealing may be reduced by:

      - Repair of service taps in poor condition;

      - Repair of service lines in poor condition; or

      - Additional effort where epoxy sealing of manholes is insufficient to control I & I.

- A comprehensive long-term sampling and analysis program to identify source control projects and evaluate the effectiveness of implemented controls.

- Investigation of the contribution from sump pumps.

- Pilot testing to determine the feasibility of treatment optimization to reduce selenium, and implementation of feasible treatment optimization measures.

(b)	Upper Arkansas Segments 20a and 20b (COARUA20a and COARUA20b)

Discharger-Specific Variance, Cripple Creek & Victor Gold Mining Company, LLC, Carlton Tunnel (CO0024562): Adopted 6/10/2025.

Fluoride (acute): Initial AEL = 3.2 mg/L, Final AEL = 3.2 mg/L; daily maximum. 
Includes a Pollutant Minimization Program. (see 32.73(A))
Expiration Date: 12/31/2031.

32.7 – 32.9	RESERVED

[Not shown: no changes to sections 32.10 through 32.73.]

32.74	STATEMENT OF BASIS, SPECIFIC STATUTORY AUTHORITY AND PURPOSE; JUNE 8, 2026 RULEMAKING; FINAL ACTION AUGUST 10, 2026; EFFECTIVE DATE DECEMBER 31, 2026

The provisions of C.R.S. 25-8-202(1)(a), (b) and (2); 25-8-203; 25-8-204; and 25-8-402; provide the specific statutory authority for adoption of these regulatory amendments. The commission also adopted in compliance with 24-4-103(4) C.R.S. the following statement of basis and purpose.

BASIS AND PURPOSE

A.	Temporary Modifications

Pursuant to the requirements in the Basic Standards (at 31.7(3)), the commission conducted its biennial review of the status of all temporary modifications to determine whether the temporary modifications should be modified, eliminated, or extended.

- Temporary Modifications for Standards Other than Arsenic

There are currently no temporary modifications for standards other than arsenic.

- Temporary Modifications for Arsenic

There are currently 63 segments with a temporary modification for arsenic in Regulation No. 32. The commission took no action on the arsenic temporary modification.

The Water Quality Control Division (division) provided an update to the commission on progress being made in implementing its plan to resolve uncertainty for the chronic arsenic temporary modification. This temporary modification applies to segments with an arsenic standard of 0.02 μg/L (to protect the Water + Fish use) and dischargers with demonstrated or predicted water quality-based effluent limit (WQBEL) compliance problems. The temporary modification was first adopted in 2011 (38.79), adopted more broadly throughout the state in 2013 (32.51), extended in 2019 (32.63(B)), and extended in 2024 (32.72(A)(2)) to expire 12/31/2029.

The commission retained the temporary modifications without revision. The division demonstrated continued widespread instream nonattainment, demonstrated or predicted WQBEL compliance issues, the need for time to continue working to resolve the remaining uncertainty regarding the water quality standard necessary to protect uses and the extent to which existing quality is the result of natural or irreversible human-induced conditions, and maintenance of status quo. The division continues to make progress on resolving the uncertainty underlying the temporary modifications, including the extent to which water quality improvements are feasible. The division will continue to provide annual progress updates and participate in the next biennial temporary modifications rulemaking hearing (currently planned for 2028).

B.	Discharger-Specific Variances

The commission reviewed the basis, available information, and progress toward achieving the alternative effluent limits (AELs) and implementing Pollutant Minimization Programs (PMPs) for one discharger-specific variance (DSV) in Regulation No. 32. Because the DSV for the City of La Junta expires December 31, 2026, it was necessary to revisit this DSV in this rulemaking hearing.

Lower Arkansas River Segment 1b (COARLA01b): There is currently a DSV for acute and chronic selenium that applies to the City of La Junta (CO0021261; DSV expires 12/31/2026). See section 32.57(B) and 32.71(A). The commission reviewed La Junta’s progress toward completing PMP requirements and achieving the AELs, and also reviewed La Junta’s most recent economic feasibility data and alternatives analysis. The commission determined that the DSV is still appropriate and does not require revision at this time.

The evaluation of this DSV was the final evaluation that was completed by the commission prior to the DSV’s expiration on December 31, 2026. It is the commission’s understanding that the DSV will no longer be needed or justified after the current term of the DSV expires (WQCD Prehearing Statement Exhibit E-1.) Per Regulation 31.7(4), a DSV is appropriate only when no feasible alternatives exist to meet WQBELs. A DSV should last only as long as necessary to achieve the highest attainable condition, provided no other regulatory tools are appropriate. La Junta will make continued water quality improvements and is expected to be able to comply with selenium WQBELs with appropriate time utilizing alternative regulatory tools.

La Junta’s wastewater treatment facility currently receives selenium-rich reverse osmosis (RO) brine from La Junta’s drinking water treatment process, but it cannot remove sufficient selenium, resulting in elevated levels in the facility’s wastewater discharge. To address this, La Junta applied for and received Environmental Protection Agency (EPA) Emerging Contaminants (EC) funding, administered through the Water Quality Control Division’s Grants and Loans Unit (GLU), in the first half of 2026 to support the design and construction of evaporative ponds, which are expected to enable compliance with selenium WQBELs. This approach was identified as the most economically efficient and environmentally effective means for La Junta to achieve compliance with its limits (WQCD Prehearing Statement Exhibit E-6).

If there are any unforeseen challenges that result in ongoing selenium compliance issues, La Junta may participate in a future rulemaking hearing to request a subsequent DSV. The commission expects that La Junta will continue to engage with the division and interested stakeholders leading up to the expiration of the DSV to ensure La Junta’s plan regarding compliance is implemented.

Because this DSV will expire on the effective date of this regulation, the commission removed it from 32.6(6)(b) and the segment table.