DEPARTMENT OF PUBLIC HEALTH AND ENVIRONMENT

Water Quality Control Commission

REGULATION NO. 36 - CLASSIFICATIONS AND NUMERIC STANDARDS FOR RIO GRANDE BASIN

5 CCR 1002-36

[Editor’s Notes follow the text of the rules at the end of this CCR Document.]

_________________________________________________________________________

…

36.53	STATEMENT OF BASIS, SPECIFIC STATUTORY AUTHORITY AND PURPOSE; JUNE 8, 2026 RULEMAKING; FINAL ACTION AUGUST 10, 2026; EFFECTIVE DATE DECEMBER 31, 2026

The provisions of C.R.S. 25-8-202(1)(a), (b) and (2); 25-8-203; 25-8-204; and 25-8-402; provide the specific statutory authority for adoption of these regulatory amendments. The commission also adopted in compliance with 24-4-103(4) C.R.S. the following statement of basis and purpose.

BASIS AND PURPOSE

- Temporary Modifications

Pursuant to the requirements in the Basic Standards (at 31.7(3)), the commission conducted its biennial review of the status of all temporary modifications to determine whether the temporary modifications should be modified, eliminated, or extended.

- Temporary Modifications for Standards Other than Arsenic

There are currently no temporary modifications for standards other than arsenic.

- Temporary Modifications for Arsenic

There are currently 32 segments with a temporary modification for arsenic in Regulation No. 36. The commission took no action on the arsenic temporary modification.

The Water Quality Control Division (division) provided an update to the commission on progress being made in implementing its plan to resolve uncertainty for the chronic arsenic temporary modification. This temporary modification applies to segments with an arsenic standard of 0.02 μg/L (to protect the Water + Fish use) and dischargers with demonstrated or predicted water quality-based effluent limit (WQBEL) compliance problems. The temporary modification was first adopted in 2011 (38.79), adopted more broadly throughout the state in 2013 (36.33), extended in 2019 (36.44), and extended in 2024 (36.51(A)(2)) to expire 12/31/2029.

The commission retained the temporary modifications without revision. The division demonstrated continued widespread instream nonattainment, demonstrated or predicted WQBEL compliance issues, the need for time to continue working to resolve the remaining uncertainty regarding the water quality standard necessary to protect uses and the extent to which existing quality is the result of natural or irreversible human-induced conditions, and maintenance of status quo. The division continues to make progress on resolving the uncertainty underlying the temporary modifications, including the extent to which water quality improvements are feasible. The division will continue to provide annual progress updates and participate in the next biennial temporary modifications rulemaking hearing (currently planned for 2028).