DEPARTMENT OF REVENUE

Marijuana Enforcement Division

# COLORADO MARIJUANA RULES – DRAFT RULE REVISIONS FOR DISCUSSION

1 CCR 212-3

______________________________________________________________________

Please Note: Text highlighted in blue indicates a contextual note or questions the Division is specifically seeking feedback on.

## Part 1 – General Applicability

### 1-100 Series

#### Basis and Purpose – 1-115

The statutory authority for this rule includes, but is not limited to, sections 44-10-202(1)(c), 44-10-202(1)(j), and 44-10-103, C.R.S., and all of the Marijuana Code. The purpose of this rule is to provide necessary definitions of terms used throughout the rules. Defined terms are capitalized where they appear in the rules, to let the reader know to refer back to these definitions. When a term is used in a conventional sense, and is not intended to be a defined term, it is not capitalized. This Rule 1-115 was previously Rules M and R 103, 1 CCR 212-1 and 1 CCR 212-2.

#### 1-115 – Definitions

Definitions. The following definitions of terms, in addition to those set forth in section 44-10-103, C.R.S., apply to all rules promulgated pursuant to the Marijuana Code, unless the context requires otherwise:

“Beneficial Owner” includes the terms “beneficial ownership”, or “beneficially owns” and means:

b.	Any Person who, directly or indirectly, creates or uses a trust, proxy, power of attorney, pooling arrangement or any other contract, arrangement, or device with the purpose of effect of divesting such Person of beneficial ownership of an Owner’s Interest or preventing the vesting of such beneficial ownership as part of a plan or scheme to evade the reporting requirements of section 13(d) or (g) of the Securities Act of 1933 shall be deemed for purposes of such sections to be the Beneficial Owner of such Owner’s Interest.

c.	All Owner’s Interests of the same class beneficially owned by a Person, regardless of the form which such beneficial ownership takes, shall be aggregated in calculating the number of shares beneficially owned by such Person.

d.	Notwithstanding the provisions of paragraphs (a) and (c) of this rule:

i.

A.	A Person shall be deemed to be the Beneficial Owner of an Owner’s Interest, subject to the provisions of paragraph (b) of this rule, if that Person has the right to acquire beneficial ownership of such Owner’s Interest, as defined in Rule 13d-3(a) (§ 240.13d-3(a)) within sixty days, including but not limited to any right to acquire: (1) Through the exercise of any option, warrant or right; (2) through the conversion of an Owner’s Interest; (3) pursuant to the power to revoke a trust, discretionary account, or similar arrangement; or (4) pursuant to the automatic termination of a trust, discretionary account or similar arrangement; provided, however, any person who acquires an Owner’s Interest or power specified in subparagraphs (d)(i)(A)(1), (2) or (3), of this section, with the purpose or effect of changing or influencing the control of the issuer, or in connection with or as a participant in any transaction having such purpose or effect, immediately upon such acquisition shall be deemed to be the Beneficial Owner of the Owner’s Interests which may be acquired through the exercise or conversion of such Owner’s Interests or power. Any Owner’s Interests not outstanding which are subject to such options, warrants, rights or conversion privileges shall be deemed to be outstanding for the purpose of computing the percentage of outstanding Owner’s Interests of the class owned by such Person but shall not be deemed to be outstanding for the purpose of computing the percentage of the class by any other Person.

B.	Subparagraph (d)(i)(A) of this section remains applicable for the purpose of determining the obligation to file with respect to the underlying Owner’s Interests even though the option, warrant, right or convertible Owner’s Interests is of a class of equity Owner’s Interest, as defined in § 240.13d-1(i), and may therefore give rise to a separate obligation to file.

ii.	A member of a national securities exchange shall not be deemed to be a Beneficial Owner of an Owner’s Interest held directly or indirectly by it on behalf of another Person solely because such member is the record holder of such Owner’s Interests and, pursuant to the rules of such exchange, may direct the vote of such Owner’s Interests, without instruction, on other than contested matters or matters that may affect substantially the rights or privileges of the holders of the Owner’s Interests to be voted, but is otherwise precluded by the rules of such exchange from voting without instruction.

iii.	A person who in the ordinary course of his business is a pledgee of Owner’s Interests under a written pledge agreement shall not be deemed to be the Beneficial Owner of such pledged Owner’s Interests until the pledgee has taken all formal steps necessary which are required to declare a default and determines that the power to vote or to direct the vote or to dispose or to direct the disposition of such pledged Owner’s Interests will be exercised, provided, that:

iv.	A Person engaged in business as an underwriter of Owner’s Interests who acquires Owner’s Interests through his participation in good faith in a firm commitment underwriting registered under the Securities Act of 1933 shall not be deemed to be the Beneficial Owner of such Owner’s Interests until the expiration of forty days after the date of such acquisition.

“Commercially Reasonable Royalty” means a right to compensation in the form of a royalty payment for the use of intellectual property with a direct nexus to the cultivation, manufacture, Transfer or testing of Regulated Marijuana. A Commercially Reasonable Royalty must be limited to specific intellectual property the Commercially Reasonable Royalty interest owns or is otherwise authorized to license or to a product or line of products. A Commercially Reasonable Royalty must not cause reasonable consumer confusion or violate any federal copyright, trademark or patent law or regulation. To determine whether the Commercially Reasonable Royalty is reasonable, the Division will consider the totality of the circumstances, including but not limited to the following factors:

“Microbial Control Step” means a post-harvest process, that is intended to reduce the presence of microbial contaminant(s) in a Harvest Batch or Production Batch, performed prior to testing consistently on all Harvest Batches or Production Batches of a particular type, strain, or intended use, as documented in the Regulated Marijuana Business’s Standard Operating Procedures.

“Production Batch” means:

a.	specifically identified quantity of Regulated Marijuana that is uniform in strain, cultivated, and processed utilizing the same Standard Operating Procedures, Pesticides, and other agricultural chemicals, and harvested at the same time; or

b.	any amount of Regulated Marijuana Concentrate of the same category and produced using the same extraction methods, Standard Operating Procedures, and an identical group of Production Batch(es) of Regulated Marijuana; or

c.	any amount of Regulated Marijuana Product of the same exact type, produced using the same Ingredients, Standard Operating Procedures, and the same Production Batch(es) of Regulated Marijuana (single strain or multiple strain) and/or Production Batch(es) of Regulated Marijuana Concentrate; or

d.	any amount of Pre-Rolled Marijuana or Infused Pre-Rolled Marijuana of the same exact type, produced using the same ingredients, Standard Operating Procedures, and the same Production Batch(es) of Regulated Marijuana and/or Regulated Marijuana Concentrate.

“Retail Marijuana Concentrate” means a subset of Retail Marijuana that is separated from the Retail Marijuana plant and results in matter with a higher concentration of Cannabinoids than naturally occur in the plant. Retail Marijuana Concentrate contains Cannabinoids and may contain terpenes and other chemicals that are naturally occurring in Retail Marijuana plants that have been separated from Retail Marijuana. Retail Marijuana Concentrate may also include residual amounts of the types of solvents, as permitted by the Marijuana Rules. The State Licensing Authority may further define by rule subcategories of Retail Marijuana Concentrate and authorize limited Ingredients based on the method of production of Retail Marijuana Concentrate. Unless the context otherwise requires, Retail Marijuana Concentrate is included when article 10 of the Colorado Revised Statutes refers to Retail Marijuana Product.

“Retail Marijuana Products Manufacturer” means an Entity licensed to purchase Retail Marijuana; manufacture, prepare, and package Retail Marijuana Product; and Transfer Retail Marijuana, Retail Marijuana Concentrate, and Retail Marijuana Product only to other Retail Marijuana Products Manufacturers, Retail Marijuana Stores, Retail Marijuana Hospitality and Sales Businesses and Pesticide Manufacturers. Retail Marijuana Products Manufacturer includes Accelerator Manufacturers in accordance with section 44-10-608, C.R.S.

“Retail Marijuana Store” means an Entity licensed to purchase Retail Marijuana and Retail Marijuana Concentrate from a Retail Marijuana Cultivation Facility and to purchase Retail Marijuana Product and Retail Marijuana Concentrate from a Retail Marijuana Products Manufacturer, and to Transfer Retail Marijuana to Retail Marijuana Hospitality and Sales Businesses and to consumers. Retail Marijuana Store includes Accelerator Stores in accordance with section 44-10-611, C.R.S.

“Retail Marijuana Testing Facility” means an Entity licensed to analyze and certify the safety and potency of marijuana.

“Sample Increment” means a single portion or unit that is removed from a Production Batch by a Designated Test Batch Collector for the creation of a Test Batch. For Regulated Marijuana, a Sample Increment shall be 500 milligrams of flower or trim. For Regulated Marijuana Products, Audited Products, and Alternative Use Products, a Sample Increment shall be a single serving of the product as defined by the Regulated Marijuana Products Manufacturer, but shall contain no more than 10 milligrams of Active THC per serving for Edible Retail Marijuana Products. For Regulated Marijuana Concentrate, a Sample Increment shall be 250 milligrams of concentrate.

“Test Batch” means a group of Sample Increments that are derived from a single Production Batch, Harvest Batch, or Inventory Tracking System package, and that are collectively submitted to a Regulated Marijuana Testing Facility for testing purposes.

## Part 2 – Applications and Licenses

### 2-100 Series – Fees

#### Basis and Purpose – 2-105

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-105 – Employee License – Initial Fees and Renewal Fees

A.	Initial Application Fees. Upon application for an Employee License, the Applicant must submit a total fee reflecting an application fee and license fee, as follows:

2-105(A) 1

| License Type | Total Due at Application |
| --- | --- |
| Employee License | $175.00 |
| Conditional Employee License | $226.00 |

B.	License Renewal Fee. Upon application to renew an Employee License, the Applicant must submit the following total fee:

2-105(B) 1

| License Type | Total Due at Application |
| --- | --- |
| Employee License Renewal | $123.00 |

C.	When Fees Are Due. The application and License fees reflected in this Rule are due at the time of application.

#### Basis and Purpose – 2-110

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-110 – Requests for a Finding of Suitability, Owner License and Temporary Appointees – Initial Application and Renewal Fees.

A.	Repealed.

2-110(A)(1)(b) 1

A.5	The following fees apply to all proposed Owners, including natural persons and Entities. The fee for Owner Entities corresponds to the number of Controlling Beneficial Owners of the licensed Regulated Marijuana Business created through the Owner Entity, in accordance with Rule 2-235(A)(2)(a). See Rule 2-115(A).

1.	Application Fees. Upon application for an initial Owner License or Owner Entity License, the Applicant must submit a total fee reflecting the finding of suitability fee, application fee, and license fee, as follows:

2-110(A.5)(1)

| License Type | Total Due at Application |
| --- | --- |
| Controlling Beneficial Owner – Natural Person | $1,106.00 |
| Passive Beneficial Owner | $1,106.00 |
| Controlling Beneficial Owner – Owner Entity: |  |
| Level 1: One (1) to four (4) Controlling Beneficial Owners and/or Owner Entities | $1,833.00 |
| Level 2: Five (5) to nine (9) Controlling Beneficial Owners and/or Owner Entities | $2,806.00 |
| Level 3: Ten (10) or more Controlling Beneficial Owners and/or Owner Entities | $3,666.00 |
| Controlling Beneficial Owner – Publicly Traded Corporation (PTC) | $44,954.00 |
| Controlling Beneficial Owner – Qualified Private Fund – Qualified Institutional Investor – Trust | $9,145.00 |

B.	Owner License Renewal.

1.	Upon application to renew an Owner License or Owner Entity License, the Applicant must submit fees, as follows:

2-110(B)(1) 1 - Repealed

2-110(B)(1) 2

| License Type | Total Due at Application |
| --- | --- |
| Controlling Beneficial Owner – Natural Person | $1,200.00 |
| Passive Beneficial Owner | $1,200.00 |
| Controlling Beneficial Owner – Owner Entity: |  |
| Level 1: One (1) to four (4) Controlling Beneficial Owners and/or Owner Entities | $1,200.00 |
| Level 2: Five (5) to nine (9) Controlling Beneficial Owners and/or Owner Entities | $1,782.00 |
| Level 3: Ten (10) or more Controlling Beneficial Owners and/or Owner Entities | $2,376.00 |
| Controlling Beneficial Owner – Publicly Traded Corporation (PTC) | $10,752.00 |
| Controlling Beneficial Owner – Qualified Private Fund – Qualified Institutional Investor – Trust | $4,302.00 |

2.	Repealed.

C.	Temporary Appointee Registration Fees.

1.	The following fees apply to an application for an initial Temporary Appointee Registration, renewal of a Temporary Appointee Registration, and each association of court appointment:

2-110(C)(1) 1

| License Type | Application Fee Due at Application |
| --- | --- |
| Temporary Appointee Registration (Natural Person) | $656.00 |
| Temporary Appointee Registration (Entity) | $2,274.00 |
| Temporary Appointee Registration Association Processing Fee (per Regulated Marijuana Business License) (Natural Person and Entity) | $2,000.00 |
| Temporary Appointee Registration (Natural Person) Renewal | $656.00 |
| Temporary Appointee Registration (Entity) Renewal | $1,833.00 |

2.	When Fees Are Due. The application and license fees reflected in this Rule are due at the time of application.

#### Basis and Purpose – 2-115

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-115 - Regulated Marijuana Business Initial Application & License Fees

A.	Levels. The following levels apply to Regulated Marijuana Businesses with direct Controlling Beneficial Owners, which includes but is not limited to natural persons, Owner Entities, Publicly Traded Companies, Trusts, Qualified Institutional Investors and Qualified Private Funds. This does not include indirect Controlling Beneficial Owners of the licensed Regulated Marijuana Business, in accordance with Rules 2-235(A)(2)(a) and 2-235(B)(1)(b). The levels are:

1.	Level 1: One (1) to four (4) Controlling Beneficial Owners.

2.	Level 2: Five (5) to nine (9) Controlling Beneficial Owners.

3.	Level 3: Ten (10) or more Controlling Beneficial Owners.

B.	Medical Marijuana Businesses. The following fees apply to an application for a new Medical Marijuana Business license.

2-115(B) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Medical Marijuana Store |  |  |
| Level 1 | $8664.00 | $8664.00 |
| Level 2 | $13,016.00 | $13,016.00 |
| Level 3 | $17,316.00 | $17,316.00 |
| Medical Marijuana Products Manufacturer |  |  |
| Level 1 | $3,288.00 | $3,288.00 |
| Level 2 | $4,952.00 | $4,952.00 |
| Level 3 | $6,564.00 | $6,564.00 |
| Medical Marijuana Cultivation Facility - Class 1 (1-500 plants) |  |  |
| Level 1 | $3,288.00 | $3,288.00 |
| Level 2 | $4,952.00 | $4,952.00 |
| Level 3 | $6,564.00 | $6,564.00 |
| Medical Marijuana Testing Facility |  |  |
| Level 1 | $3,288.00 | $3,288.00 |
| Level 2 | $4,952.00 | $4,952.00 |
| Level 3 | $6,564.00 | $6,564.00 |
| Medical Marijuana Transporter | $3,712.00 | $3,712.00 |
| Medical Marijuana Business Operator |  |  |
| Level 1 | $4,301.00 | $4,301.00 |
| Level 2 | $6,452.00 | $6,452.00 |
| Level 3 | $8,602.00 | $8,602.00 |
| Marijuana Research and Development Facility |  |  |
| Level 1 | $3,288.00 | $3,288.00 |
| Level 2 | $4,952.00 | $4,952.00 |
| Level 3 | $6,564.00 | $6,564.00 |

C.	Retail Marijuana Businesses. The following fees apply to an application for a new Retail Marijuana Business license. Applications for Accelerator Licenses are exempt from these fees.

1.	State Licensing Authority Fees. See subparagraph (C)(2) for the separate fees required to be submitted to the Division with an application for a new Retail Marijuana Business license.

2-115(C)(1) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Retail Marijuana Store |  |  |
| Level 1 | $3,195.00 | $5,755.00 |
| Level 2 | $6,104.00 | $8,664.00 |
| Level 3 | $8,950.00 | $11,510.00 |
| Retail Marijuana Products Manufacturer |  |  |
| Level 1 | $2,499.00 | $5,059.00 |
| Level 2 | $5,028.00 | $7,588.00 |
| Level 3 | $7,547.00 | $10,107.00 |
| Retail Marijuana Cultivation Facility - Tier 1 (1-1,800 plants) |  |  |
| Level 1 | $2,499.00 | $5,059.00 |
| Level 2 | $5,028.00 | $7,588.00 |
| Level 3 | $7,547.00 | $10,107.00 |
| Retail Marijuana Testing Facility |  |  |
| Level 1 | $2,151.00 | $3,226.00 |
| Level 2 | $3,497.00 | $4,573.00 |
| Level 3 | $4,839.00 | $5,914.00 |
| Retail Marijuana Transporter | $3,149.00 | $3,687.00 |
| Retail Marijuana Business Operator |  |  |
| Level 1 | $3,175.00 | $4,250.00 |
| Level 2 | $5,054.00 | $6,129.00 |
| Level 3 | $6,882.00 | $7,957.00 |
| Marijuana Hospitality Business | $1,455.00 | $2,530.00 |
| Retail Marijuana Hospitality and Sales Business | $5,883.00 | $8,443.00 |

2.	Local Portion of Application Fee. In addition to the fees in subparagraph (C)(1) of this Rule, an Applicant must submit a separate check made out to the local jurisdiction as follows:

2-115(C)(2) 1

| License Type | Application Fee Due at Application |
| --- | --- |
| Retail Marijuana Store | $2,560.00 |
| Retail Marijuana Products Manufacturer | $2,560.00 |
| Retail Marijuana Cultivation Facility | $2,560.00 |
| Retail Marijuana Testing Facility | $1,076.00 |
| Retail Marijuana Transporter | $538.00 |
| Retail Marijuana Business Operator | $1,076.00 |
| Marijuana Hospitality Business | $1,076.00 |
| Retail Marijuana Hospitality and Sales Business | $2,560.00 |

D.	When Fees Are Due. The application and License fees reflected in this Rule must be paid as follows.

1.	The first payment must be submitted with the application.

2.	The second payment must be submitted at least twelve (12) months prior to the License expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

3.	Failure to timely submit the second payment at least twelve (12) months prior to expiration shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, or revocation of the License.

E.	Unified Application Fees. Licensees opting to utilize a Unified Application will receive a $100.00 reduction from the initial application fee in this Rule 2-115 for each License included in the Unified Application.

1.	Medical Marijuana Business Licenses. This reduction will be applied to the first payment due at application reflected in Rule 2-115(B) for initial Medical Marijuana Business License applications.

2.	Retail Marijuana Business Licenses. This reduction will be split evenly ($50.00 each) and applied to the first payment due at application reflected in Rule 2-115(C)(1) and the local portion of the application fee in Rule 2-115(C)(2) for initial Retail Marijuana Business License applications.

#### Basis and Purpose – 2-120

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of this rule is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-120 – Permit Fees

A.	The following fees apply to permits issued by the State Licensing Authority or the Division and are due at the time of application.

2-120(A) 1

| License Type | Total Due at Application |
| --- | --- |
| Transition Permit | $379.00 |
| Centralized Distribution Permit | $62.00 |
| Off-Premises Storage Facility Permit | $2,151.00 |
| R&D Co-Location Permit | $113.00 |

B.	Delivery Permit Fees.

1.	The following fees apply to delivery permits issued by the State Licensing Authority or the Division.

2-120(B) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Delivery Permit | $1,250.00 | $1,250.00 |
| Delivery Permit Renewal | $1,000.00 | $1,000.00 |

2.	When Fees Are Due. The fees reflected in subparagraph (B)(1) must be paid as follows.

a.	The first payment must be submitted with the application.

b.	The second payment must be submitted at least twelve (12) months prior to the permit expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

c.	Failure to submit the second payment at least twelve (12) months prior to expiration shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, and revocation of the License.

#### Basis and Purpose – 2-125

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of this rule is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-125 – Regulated Marijuana Business License Renewal Fees

A.	Medical Marijuana Businesses.

2-125(A) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Medical Marijuana Store | $2,479.00 | $2,479.00 |
| Medical Marijuana Products Manufacturer | $2,479.00 | $2,479.00 |
| Medical Marijuana Cultivation Facility: |  |  |
| Class 1 (1-500 plants) | $2,479.00 | $2,479.00 |
| Class 2 (501-1,500 plants) | $3,605.00 | $3,605.00 |
| Class 3 (1,501-3,000 plants) | $5,325.00 | $5,325.00 |
| Expanded Production Management (The amount shown is charged in addition to the Class 3 fee for each class of 3,000 plants over Class 3) | $1,137.00 | $1,137.00 |
| Medical Marijuana Testing Facility | $2,479.00 | $2,479.00 |
| Medical Marijuana Transporter | $3,272.00 | $3,272.00 |
| Medical Marijuana Business Operator | $3,446.00 | $3,446.00 |
| Marijuana Research and Development Facility | $2,479.00 | $2,479.00 |

B.	Retail Marijuana Businesses. Applications for Accelerator Licenses are exempt from these fees.

2-125(B) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Retail Marijuana Store | $2,479.00 | $2,479.00 |
| Retail Marijuana Products Manufacturer | $2,479.00 | $2,479.00 |
| Retail Marijuana Cultivation Facility: |  |  |
| Tier 1 (1-1,800 plants) | $2,479.00 | $2,479.00 |
| Tier 2 (1,801-3,600 plants) | $3,605.00 | $3,605.00 |
| Tier 3 (3,601-6,000 plants) | $4,629.00 | $4,629.00 |
| Tier 4 (6,001-10,200 plants) | $6,723.00 | $6,723.00 |
| Tier 5 (10,201-13,800 plants) | $9,575.00 | $9,575.00 |
| Expanded Production Management (The amount shown is charged in addition to the Tier 5 fee for each additional tier of 3,600 plants over Tier 5) | $1,137.00 | $1,137.00 |
| Retail Marijuana Testing Facility | $2,479.00 | $2,479.00 |
| Retail Marijuana Transporter | $3,288.00 | $3,288.00 |
| Retail Marijuana Business Operator | $3,446.00 | $3,446.00 |
| Marijuana Hospitality Business | $1,403.00 | $1.403.00 |
| Retail Marijuana Hospitality and Sales Business | $2,479.00 | $2,479.00 |

C.	When Fees Are Due. The application and License fees reflected in this Rule must be paid as follows.

1.	The first payment must be submitted with the application.

2.	The second payment must be submitted at least twelve (12) months prior to the License expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

3.	Failure to submit the second payment at least twelve (12) months prior to expiration shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, and revocation of the License.

D.	Unified Application Fees. Licensees opting to utilize a Unified Application will receive a $100.00 reduction from the renewal application fee in this Rule 2-125 for each License included in the Unified Application. This reduction will be applied to the first payment due at application reflected in Rules 2-125(A) and (B).

#### Basis and Purpose – 2-130

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses fees, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-130 – Ownership Change Fees

A.	The following fees apply per a Regulated Marijuana Business License and are due at the time of submission.

2-130(A) 1

| License Type | Total Due with Submission |
| --- | --- |
| Change of Controlling Beneficial Owner: |  |
| Involving up to four (4) Controlling Beneficial Owners and/or Owner Entities, (i.e. buyers and sellers) | $3,011.00 |
| Involving five (5) to nine (9) Controlling Beneficial Owners and/or Owner Entities, (i.e. buyers and sellers) | $5,274.00 |
| Involving ten (10) or more Controlling Beneficial Owners and/or Owner Entities, (i.e. buyers and sellers) | $6,831.00 |
| Changes Exempt from a Change of Ownership not involving a reallocation | $1,240.00 |
| Changes Exempt from a Change of Ownership involving a reallocation | $2,151.00 |

#### Basis and Purpose – 2-135

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses fees, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-135 – Applications to Modify Fees

A.	The following fees apply per a Regulated Marijuana Business License and are due at the time of application.

2-135(A) 1

| License Type | Total Due at Application |
| --- | --- |
| Request Fee (for Tier Increase / Class Increase) | $328.00 |
| Change of Trade Name (COTN) | $113.00 |
| Change of Location (COL) | $707.00 |
| Security Waiver | $646.00 |
| Security Waiver Renewal | $328.00 |
| Contingency Plan | $1,403.00 |

#### Basis and Purpose – 2-140

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(II). The purpose of these rules is to establish fees required for applications, renewals, licenses, permits, and other fees required to accompany applications and submissions to the Division.

#### 2-140 – Other Application Fees

A.	The following fees apply and are due at the time of application.

2-140(A) 1

| License Type | Total Due at Application |
| --- | --- |
| Reduced Testing Allowance Certification | $4,301.00 |
| Duplicate Business License | $62.00 |
| Duplicate Owner/Employee License | $31.00 |
| Request for Reinstatement | $379.00 |
| Responsible Vendor Program Provider: |  |
| Responsible Vendor Program Provider Initial Application | $1,188.00 |
| Duplicate Responsible Vendor Program Provider Certificate | $62.00 |
| Responsible Vendor Program Provider Renewal Application | $492.00 |
| R&D Project Proposal | $707.00 |
| License Application Copy Request | $41.00 |

B.	When a Licensee fails to make the second payment on or before 12 months prior to the License or permit expiration date, pursuant to Rules 2-115, 2-125 and 2-145, the following late fees apply:

| License Type | Total Due |
| --- | --- |
| Regulated Marijuana Business License | $500.00 |
| Delivery Permit | $500.00 |

#### Basis and Purpose – 2-145

The statutory basis for this rule includes but is not limited to sections 44-10-103, 44-10-202(1)(b), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(b), 44-10-203(2)(h), 44-10-203(2)(q), 44-10-203(2)(w), 44-10-203(2)(dd)(XII), 44-10-303(2)(b), 44-10-308(5); 44-10-310(7), 44-10-313, 44-10-401, 44-10-801, 44-10-802, 44-10-803, 44-10-1201, 44-10-1202, C.R.S. The purpose of these rules is to establish fees required for applications, renewals, licenses fees, permits, and other fees required to accompany applications and submissions to the Division by Social Equity Licensees.

#### 2-145 – Social Equity Fees

A.	When Reduced Fees Apply. Reduced fees apply to Licensees who have been found suitable as a Social Equity Licensee pursuant to Rule 2-235(B.5) or (B.6) under the following circumstances:

1.	The first Owner Entity initial finding of suitability application submitted by the Social Equity Licensee;

2.	The first and second initial Regulated Marijuana Business License applications submitted by the Licensee;

3.	The first and second initial delivery permit applications submitted by the Licensee (if applicable);

4.	The first renewal of any two Regulated Marijuana Business Licenses issued;

5.	The first renewal of any two delivery permits issued;

6.	The first renewal of one Owner Entity License issued; and

7.	The first renewal of one Owner License issued.

B.	Requests for a Finding of Suitability and Owner License – Initial Application and Renewal Fees. The following fees apply to all proposed Owners, including natural persons and Entities.

1.	Requests for Finding of Suitability Fees.

a.	Application Fees. Upon application for an Owner License or Owner Entity License, the Applicant must submit a total fee reflecting the finding of suitability fee, application fee, and license fee as follows:

2-145(B)(1)(a) 1

| License Type | Total Due at Application |
| --- | --- |
| Controlling Beneficial Owner – Natural Person – Social Equity | $738.00 |
| Controlling Beneficial Owner – Owner Entity | $175.00 |

b.	Repealed.

c.	Repealed.

2.	Owner License Renewal. Upon application to renew an Owner License or Owner Entity License, the Applicant must submit fees, as follows:

2-145(B)(2) 1

| License Type | Total Due at Application |  |
| --- | --- | --- |
| Controlling Beneficial Owner – Owner License – Social Equity Licensee | $338.00 |  |
| Controlling Beneficial Owner – Owner Entity | $338.00 |  |

a.	Repealed.

C.	Retail Marijuana Business – Initial and Renewal Application and License Fees. Applications for Accelerator Licenses are exempt from these fees.

1.	Initial Application and License Fees.

2-145(C)(1) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Retail Marijuana Store | $1,455.00 | $1,455.00 |
| Retail Marijuana Products Manufacturer | $1,291.00 | $1,291.00 |
| Retail Marijuana Cultivation Facility - Tier 1 (1-1,800 plants) | $1,291.00 | $1,291.00 |
| Retail Marijuana Testing Facility | $702.00 | $702.00 |
| Retail Marijuana Transporter | $861.00 | $861.00 |
| Retail Marijuana Business Operator | $917.00 | $917.00 |
| Marijuana Hospitality Business | $487.00 | $487.00 |
| Retail Marijuana Hospitality and Sales Business | $1,455.00 | $1,455.00 |

2.	Renewal Application and License Fees.

2-145(C)(2) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Retail Marijuana Store | $651.00 | $651.00 |
| Retail Marijuana Products Manufacturer | $651.00 | $651.00 |
| Retail Marijuana Cultivation Facility: |  |  |
| Tier 1 (1 - 1,800 Plants) | $651.00 | $651.00 |
| Tier 2 (1,801 – 3,600 Plants) | $917.00 | $917.00 |
| Tier 3 (3,601 – 6,000 Plants) | $1,188.00 | $1,188.00 |
| Tier 4 (6,001 – 10,200 Plants) | $1,675.00 | $1,675.00 |
| Tier 5 (10,201 – 13,800 Plants) | $2,422.00 | $2,422.00 |
| Expanded Production Management (The amount shown is charged in addition to the Tier 5 fee for each additional 3,600 plants after Tier 5) | $272.00 | $272.00 |
| Retail Marijuana Testing Facility | $651.00 | $651.00 |
| Retail Marijuana Transporter | $840.00 | $840.00 |
| Retail Marijuana Business Operator | $866.00 | $866.00 |
| Marijuana Hospitality Business | $379.00 | $379.00 |
| Retail Marijuana Hospitality and Sales Business | $651.00 | $651.00 |

3.	When Fees Are Due. The application and License fees reflected in this Rule must be paid as follows.

a.	The first payment must be submitted with the application.

b.	The second payment must be submitted at least twelve (12) months prior to the License expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

c.	Failure to timely submit the second payment shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, and revocation of the License.

4.	Unified Application Fees. Licensees opting to utilize a Unified Application will receive a $100.00 reduction from the initial application fee or renewal application fee for each License included in the Unified Application. This reduction will be applied to the first payment due at application reflected in Rules 2-145(C)(1) and (C)(2).

D.	Medical Marijuana Business – Initial and Renewal Application and License Fees.

1.	Initial Application and License Fees.

2-145(D)(1) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Medical Marijuana Store | $2,151.00 | $2,151.00 |
| Medical Marijuana Products Manufacturer | $809.00 | $809.00 |
| Medical Marijuana Cultivation Facility - Class 1 (1-500 plants) | $809.00 | $809.00 |
| Medical Marijuana Testing Facility | $809.00 | $809.00 |
| Medical Marijuana Transporter | $943.00 | $943.00 |
| Medical Marijuana Business Operator | $1,076.00 | $1,076.00 |
| Marijuana Research and Development Facility | $809.00 | $809.00 |

2.	Renewal Application and License Fees.

2-145(D)(2) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Medical Marijuana Store | $651.00 | $651.00 |
| Medical Marijuana Products Manufacturer | $651.00 | $651.00 |
| Medical Marijuana Cultivation Facility: |  |  |
| Class 1 (1-500 plants) | $651.00 | $651.00 |
| Class 2 (501-1,500 plants) | $917.00 | $917.00 |
| Class 3 (1,501-3,000 plants) | $1,347.00 | $1,347.00 |
| Expanded Production Management (The amount shown is charged in addition to the Class 3 fee for each class of 3,000 plants over Class 3) | $272.00 | $272.00 |
| Medical Marijuana Testing Facility | $651.00 | $651.00 |
| Medical Marijuana Transporter | $840.00 | $840.00 |
| Medical Marijuana Business Operator | $866.00 | $866.00 |
| Marijuana Research and Development Facility | $651.00 | $651.00 |

3.	When Fees Are Due. The application and License fees reflected in this Rule must be paid as follows.

a.	The first payment must be submitted with the application.

b.	The second payment must be submitted at least twelve (12) months prior to the License expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

c.	Failure to timely submit the second payment shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, and revocation of the License.

4.	Unified Application Fees. Licensees opting to utilize a Unified Application will receive a $100.00 reduction from the initial application fee or renewal application fee for each License included in the Unified Application. This reduction will be applied to the first payment due at application reflected in Rules 2-145(D)(1) and (D)(2).

E.	Delivery Permit Fees.

2-145(E) 1

| License Type | 1st Payment Due at Application | 2nd Payment Due 12 months prior to expiration |
| --- | --- | --- |
| Delivery Permit | $750.00 | $750.00 |
| Delivery Permit Renewal | $500.00 | $500.00 |

1.	When Fees Are Due. The fees reflected in this Rule must be paid as follows.

a.	The first payment must be submitted with the application.

b.	The second payment must be submitted at least twelve (12) months prior to the permit expiration date, unless otherwise mandated by the State Licensing Authority or the Division.

c.	Failure to submit the second payment at least twelve (12) months prior to expiration shall result in a late fee, pursuant to Rule 2-140(B), and disciplinary action, which may include an administrative action, fine, suspension, and revocation of the License.

### 2-200 Series – Applications and Licenses Rules

#### Basis and Purpose – 2-220

The statutory basis for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(c), 44-10-203(1)(j), 44-10-203(1)(k), 44-10-203(2)(a), 44-10-203(2)(w), 44-10-203(2)(ee), 44-10-203(7), 44-10-301, 44-10-305, 44-10-307, 44-10-308, 44-10-309, 44-10-310, 44-10-311, 44-10-312, 44-10-313, and 44-10-316, C.R.S. The purpose of this rule is to establish the general requirements and processes for submission of an initial application for a Regulated Marijuana Business to the State Licensing Authority.

#### 2-220 – Initial Application Requirements for Regulated Marijuana Businesses

A.	Documents and Information Requested. Every initial application for a Regulated Marijuana Business License must include all required documents and information including, but not limited to:

6.	The deed, lease, sublease, rental agreement, contract, or any other document(s) establishing the Applicant is, or will be at the time the license is issued, entitled to possession of the premises for which the application is made.

7.	Legible and accurate diagram for the facility. The diagram must comply with the requirements of the 3-200 Series Rules and must include a plan for the Licensed Premises and a separate plan for the security/surveillance plan including camera location, number and direction of coverage. If the diagram is larger than 8.5 x 11 inches, the Applicant must also provide a copy of the diagram in a portable document format (.pdf).

D.	Accelerator License Application and Qualification.

3.	Information Required to Establish Qualification as an Accelerator Licensee. To establish that an Applicant qualifies as an Accelerator Licensee, they must establish:

a.	Qualification as a Social Equity Licensee; and

b.	An affirmation that the Applicant has not been the Beneficial Owner of a Regulated Marijuana Business License of the same License type of Accelerator License that the Applicant is applying for, issued pursuant to the Marijuana Code.

#### Basis and Purpose – 2-225

The statutory basis for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(c), 44-10-203(2)(a), 44-10-203(2)(c), 44-10-203(2)(w), 44-10-203(2)(ee), 44-10-203(7), 44-10-305(2)(b)(l)(C). 44-10-307, 44-10-308, 44-10-309, 44-10-313, 44-10-314, and 44-10-316 C.R.S. The purpose of this rule is to establish the requirements and procedures for the license renewal process, including the circumstances under which an expired license may be reinstated.

#### 2-225 – Renewal Application Requirements for All Licensees

A.	License Periods.

1.	Regulated Marijuana Business Licenses, Owner Licenses, and Owner Entity Licenses are valid for a period not to exceed two years from the date of issuance.

D.	If License Not Renewed Before Expiration. A License is immediately invalid upon expiration if the Licensee has not filed a renewal application and remitted all of the required fees prior to the License expiration date. A Regulated Marijuana Business that fails to file a renewal application and remit required fees prior to the License expiration date must not operate unless it first obtains a new state license and any required local license.

1.	Reinstatement of Expired Regulated Marijuana Business License. A Regulated Marijuana Business that fails to file a renewal application and remit required fees prior to the license expiration date may request that the Division reinstate an expired License only in accordance to the following:

d.	Any license or approval from the Local Licensing Authority or Local Jurisdiction has been obtained and is still valid.

1.5.	The State Licensing Authority will only reinstate a Regulated Marijuana Business License as it existed at the time of expiration, including but not limited to:

a.	Located at the same physical location; and

b.	The ownership structure has not changed.

I.	Accelerator Program Renewal Application Requirements.

2.	Accelerator-Endorsed Licensee Additional Renewal Requirements.

c.	In addition to any other basis for denial of a renewal application, the State Licensing Authority may also consider the following facts and circumstances as bases for denial of an endorsement renewal application:

#### Basis and Purpose – 2-230

The statutory basis for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(c), 44-10-203(2)(t), 44-10-203(2)(u), 44-10-203(2)(w), 44-10-203(2)(ee), 44-10-203(7), 44-10-308, 44-10-309, and 44-10-316, C.R.S. Section 44-10-309, C.R.S., establishes varying disclosure requirements for Applicants and Licensees regarding disclosure of financial interests and ownership in a Regulated Marijuana Business. The purpose of this rule is to clarify information an Applicant or Licensee must disclose to the State Licensing Authority at the various levels, which include mandatory disclosure, disclosure in the State Licensing Authority’s discretion, and disclosure for Reasonable Cause. This rule also provides factors that will be considered in determining whether a Regulated Marijuana Business exercised reasonable care and whether a Person is in control of a Regulated Marijuana Business.

#### 2-230 – Disclosure of Financial Interests in a Regulated Marijuana Business

B.	Discretionary Disclosure. In his or her reasonable discretion, the State Licensing Authority may require disclosure following an initial or renewal application for a Regulated Marijuana Business as follows:

D.	Affirmation of Reasonable Care.

2.	Reasonable Care Affirmation for a Regulated Marijuana Business That is a Publicly Traded Corporation. A Regulated Marijuana Business that is a Publicly Traded Corporation must affirm it exercised reasonable care to confirm its Passive Beneficial Owners, including any Qualified Institutional Investor(s), both of which are Non-Objecting Beneficial Owners, and Indirect Financial Interest Holder(s) are not Persons prohibited from holding a license by these Rules and the Marijuana Code. A Regulated Marijuana Business that is a Publicly Traded Corporation exercises reasonable care if it:

#### Basis and Purpose – 2-235

The statutory basis for this rule includes, but is not limited to, sections 44-10-202(1)(e), 44-10-203(2)(c), 44-10-203(2)(ee), 44-10-308(4), 44-10-308(6), 44-10-309, 44-10-310, and 44-10-312(4), C.R.S. Section 44-10-310, C.R.S., requires that persons disclosed or who should have been disclosed to the State Licensing Authority obtain a finding of suitability from the State Licensing Authority. The purpose of this rule is to explain the conditions under which a Person is subject to either a mandatory finding of suitability or a finding of suitability for Reasonable Cause, to identify exemptions from an otherwise required finding of suitability and to identify the information and documents that, at a minimum, must be submitted in connection with any Person’s request for a finding of suitability.

#### Basis and Purpose – 2-240

The statutory basis for this rule includes but is not limited to sections 44-10-103(53), 44-10-203(2)(ee)(C), 44-10-309(3), and 44-10-310(10), C.R.S. The purpose of this rule is to clarify factors the State Licensing Authority will consider when determining whether reasonable cause exists to require disclosure, to require a finding of suitability or to extend the 120-day deadline for granting or denying a request for a finding of suitability.

#### 2-240 – Factors Considered in Determining Reasonable Cause for Disclosure, Finding of Suitability, and Extension of 120 Day Deadline for Finding of Suitability

A.	Non-Exhaustive Factors Informing Reasonable Cause Considerations. The State Licensing Authority may consider the following non-exhaustive factors when evaluating whether Reasonable Cause exists for disclosure, requiring a Reasonable Cause finding of suitability or extension of time to provide a finding of suitability:

#### Basis and Purpose – 2-265

The statutory basis for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(l), 44-10-203(2)(b)-(c), 44-10-203(2)(e), 44-10-203(2)(t)-(u), 44-10-203(2)(w), 44-10-307, 44-10-308(2), 44-10-313(6), 44-10-401(2)(c), 44-10-901(1), 24-76.5-101 et seq., C.R.S. Historically, natural persons who held an Owner’s Interest in a Regulated Marijuana Business were required to hold an Associated Key License. This Rule transitions the Associated Key designation to an Owner License designation after August 1, 2019. The purpose of this rule is to clarify the requirements and procedures a Person must follow when applying for or possessing either an Owner License or an Employee License. This rule also identifies factors the State Licensing Authority will consider in determining whether a natural person is a resident and whether such person possess good moral character.

#### 2-265 – Owner and Employee License: License Requirements, Applications, Qualifications, and Privileges

E.	Employee License Required to Commence or Continue Employment. Any natural person required to obtain an Employee License by these rules must obtain such license before commencing activities permitted by an Employee License.

1.	Conditional License. Applicants for an Employee License may be issued a conditional License upon results of an initial investigation that demonstrates the Applicant is qualified to hold such License in compliance with Rule 2-215, subject to the following requirements:

a.	Applications for a conditional Employee License must be accompanied by the Conditional Employee License Fee in Rule 2-105(A).

#### Basis and Purpose – 2-275

The statutory basis for this rule includes but is not limited to sections 44-10-202(1)(b)-(c), 44-10-203(1)(k), 44-10-203(2)(q), 44-10-203(2)(t), 11-10-310, 44-10-401(3)(a)-(d), C.R.S. The purpose of this rule is to establish procedures and requirements for any Person appointed by a court as a receiver, personal representative, executor, administrator, guardian, conservator, trustee, or similarly situated Person acting in accordance with sections 44-10-401(3)(a)-(d), C.R.S., and authorized by court order to take possession of, operate, manage, or control a Regulated Marijuana Business. This Rule 2-275 was previously Rules M and R 253, 1 CCR 212-1 and 1 CCR 212-2.

#### 2-275 – Temporary Appointee Registrations for Court Appointees

A.	Notice and Application Requirements for All Court Appointees.

1.	Notice to the State and Local Licensing Authorities. Within seven days of accepting an appointment as a Court Appointee pursuant to sections 44-10-401(3), C.R.S., such Court Appointee must file a notice to the State Licensing Authority and the applicable Local Licensing Authority on a form required by the State Licensing Authority which must include at least:

a.	A copy of the order appointing the Court Appointee;

b.	A statement affirming the Court Appointee complied with the certification required by section 44-10-401(3)(a), C.R.S.;

c.	If the Court Appointee is an entity, a list of all natural persons responsible for taking possession of, operating, managing, or controlling the Regulated Marijuana Business; and

d.	A complete list of all Regulated Marijuana Businesses for which the Court Appointee was appointed and the respective dates during which the Court Appointee is currently serving, or has previously served, as a receiver, personal representative, executor, administrator, guardian, conservator, trustee, or similarly situated Person.

e.	The fee required by Rule 2-110(C).

2.	Application for Finding of Suitability. Within 14 days of accepting an appointment as a Court Appointee pursuant to section 44-10-401(3), C.R.S., each Court Appointee must file either an application for a finding of suitability or a change of ownership application if the Court Appointee has applied for a finding of suitability or has already been found suitable with the State Licensing Authority on forms required by the State Licensing Authority. Each entity and natural person for whom a notice was filed pursuant to Rule 2-275(A) must file an application for a finding of suitability. The Division may in its discretion extend the 14-day deadline to file an application for a finding of suitability upon a showing of good cause. The Division may also in its discretion rely upon a recent licensing background investigation for Court Appointees that currently hold a license or Temporary Appointee Registration issued by the State Licensing Authority and may waive all or part of the application fee accordingly.

3.	Effective Date. The Temporary Appointee Registration will be issued following the State Licensing Authority’s receipt of the notice required by Rule 2-275(A)(1) and is effective as of the date of the court appointment.

4.	Timing of Application and Payment of Fees.

a.	If an individual or Entity has not been found suitable as a Court Appointee, the Temporary Appointee Registration Fee and Temporary Appointee Registration Association Processing Fee in Rule 2-110(C) shall be due at the time of Temporary Appointee Registration application submission.

b.	Individuals and Entities that have already been found suitable as a Court Appointee, the Temporary Appointee Registration Association Processing Fee in Rule 2-110(C) shall be due at the time of application submission for new court appointment associations.

c.	The Temporary Appointee Registration Association Processing Fee is assessed for each Regulated Marijuana Business License the Court Appointee has been appointed to Control.

B.	Temporary Appointee Registration.

5.	Regulated Marijuana Business Operators. A Court Appointee may retain a Regulated Marijuana Business Operator. If the Regulated Marijuana Business Operator is the Court Appointee, see paragraph (E) of this Rule.

## Part 3 – Regulated Marijuana Business Operations

### 3-100 Series – General Privileges and Limitations

#### Basis and Purpose – 3-110

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-401(2), 44-10-701(1)(a), 44-10-701(3)(d), and 44-10-701(3)(f), C.R.S. The purpose of this rule is to clarify that, except for in a Licensed Hospitality Business, it is unlawful for a Regulated Marijuana Business to allow consumption on the Licensed Premises.

#### 3-110 – Regulated Marijuana Businesses: General Restrictions

C.	Natural Medicine Prohibited.

2.	A Person may not operate a license issued pursuant to the Marijuana Code and these rules at the same Licensed Premises as a license or permit issued pursuant to article 50 of Title 44 except:

a.	A Regulated Marijuana Testing Facility may share a Licensed Premises with a natural medicine testing facility.

i.	If a Regulated Marijuana Testing Facility shares a Licensed Premises with a natural medicine testing facility, there must be separate storage areas for samples of Natural Medicine or Natural Medicine Product and Regulated Marijuana Test Batches.

### 3-200 Series – Licensed Premises

#### Basis and Purpose – 3-205

The statutory authority for this rule includes but is not limited to sections 44-10-103(14), 44-10-103(26), 44-10-202(1)(c), 44-10-202(1)(e), 44-10-203(1)(k), 44-10-203(1)(l), 44-10-203(2)(h), 44-10-203(2)(p), and 44-10-203(2)(t), C.R.S. The purpose of this rule is to establish Limited Access Areas for Licensed Premises under the control of the Licensee to only individuals licensed by the State Licensing Authority. In addition, this rule clarifies that businesses and individuals cannot use the visitor system as a means to employ an individual who does not possess a valid and current Employee License. This Rule was previously Rules M and R 301, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-205 – Limited Access Areas

D.	Diagram for Licensed Premises. All Limited Access Areas shall be clearly identified to the Division and relevant Local Licensing Authority or Local Jurisdiction and described in a diagram of the Licensed Premises reflecting walls, partitions, counters and all areas of ingress and egress. The diagram shall also reflect all:.

1.	point-of-sale areas;

2.	areas where shipping and receiving of Regulated Marijuana occurs;

3.	areas where Test Batches are collected;

4.	areas where Regulated Marijuana waste is destroyed; and

5.	points of ingress and egress to the Licensed Premises.

#### Basis and Purpose – 3-225

The statutory authority for this rule includes but is not limited to sections 44-10-203(2)(h), 44-10-203(1)(k), 44-10-203(2)(e), 44-10-313(14), and 44-10-1001, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VI). The purpose of this rule is to ensure adequate control of the Licensed Premises and Regulated Marijuana contained therein. This rule also establishes the minimum guidelines for security requirements for video surveillance systems for maintaining adequate security. This Rule 3-225 was previously Rules M and R 306, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-225 – Video Surveillance

C.	Placement of Cameras and Required Camera Coverage.

1.	Camera coverage is required for the following areas of the Licensed Premises:

a.	Point-of-sale areas;

b.	Areas where shipping and receiving of Regulated Marijuana occurs;

c.	Areas where Test Batches are collected;

d.	Areas where Regulated Marijuana waste is destroyed; and

e.	Points of ingress and egress to the Licensed Premises.

2.	Camera placement shall be capable of identifying activity occurring within 20 feet of all points of ingress and egress to the Licensed Premises and shall allow for the clear and certain identification of any individual and activities subject to surveillance requirements.

3.	At each point-of-sale location, camera coverage must enable recording of the facial features of patients, caregivers or consumer(s), and employee(s) with sufficient clarity to determine identity.

4.	All points of ingress and egress to the Licensed Premises shall be recorded from both indoor and outdoor vantage points.

### 3-300 Series – Health and Safety Regulations

#### Basis and Purpose – 3-310

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(k), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(i), and 44-10-313(14), C.R.S. The purpose of this rule is to clarify the minimum health and sanitary conditions under which a Regulated Marijuana Business must maintain its Licensed Premises.

#### 3-310 – General Sanitary Requirements

A.	The Licensee shall ensure the Licensed Premises is kept in a sanitary condition and the Regulated Marijuana is produced in a sanitary manner. This includes, but is not limited to, the following:

4.	That litter and waste are properly removed and the operating systems for waste disposal are maintained in an adequate manner so that they do not constitute a source of contamination in areas where Regulated Marijuana is exposed;

#### Basis and Purpose – 3-315

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(1)(g), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(i), and 44-10-1001(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). It sets forth general standards and basic sanitary requirements for Regulated Marijuana Businesses. It covers the physical premises where the products are made as well as the individuals handling the products. This rule authorizes the State Licensing Authority to require an independent consultant to conduct a health and sanitary audit of a Regulated Marijuana Business. The purpose of this rule is to establish the conditions under an independent health and safety audit may be required. This rule explains when an independent health and sanitary audit may be deemed necessary and sets forth possible consequences of a Regulated Marijuana Businesses refusal to cooperate or pay for the audit. The State Licensing Authority intends for this rule to reduce any product contamination, which will benefit both the Licensees and consumers. The State Licensing Authority modeled this rule after those adopted by the Colorado Department Revenue for Medical Marijuana and those adopted by the Colorado Department of Public Health and Environment. Overall, the State Licensing Authority intends this rule to help maintain the integrity of Colorado’s Regulated Marijuana Businesses and the safety of the public.

#### 3-315 – Independent Health and Safety Audit

B.	When Independent Health and Sanitary Audit Is Necessary. The State Licensing Authority has discretion to determine when an audit by an independent consultant is necessary. The following is a non-exhaustive list of examples that may justify an independent audit:

3.	A Regulated Marijuana Cultivation Facility does not provide requested records related to the use of Pesticides or other agricultural chemicals used in the cultivation process;

6.	Multiple Production Batches of Regulated Marijuana Products produced by a Regulated Marijuana Products Manufacturer failed contaminant testing.

#### Basis and Purpose – 3-320

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(dd)(X), and 44-10-203(3)(c), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). This rule prohibits a Regulated Marijuana Business from Transferring any contaminated Regulated Marijuana or Regulated Marijuana Product to any Person or another Regulated Marijuana Business. Additionally, this rule provides permitted Microbial Decontamination or Microbial Control Step methods that a Licensee may utilize in the course of their business. These provisions outline the minimum requirements a Licensee must comply with to utilize approved Microbial Decontamination or Microbial Control Step methods and do not reflect an endorsement of these methods.

#### 3-320 – Contaminated Product: Approved Microbial Decontamination and Microbial Control Step Methods

B.	Approved Microbial Decontamination and Microbial Control Step Methods. Licensees are permitted to use only the following Microbial Decontamination or Microbial Control Step techniques to treat an entire Harvest Batch or Production Batch and are not approved for use on plants that have not been harvested. Licensees must not use a technique to treat a Test Batch alone. Inclusion of a technique in this Rule does not imply that a substance or a device is compliant with other requirements or regulations. Regulated Marijuana Businesses must comply with any applicable state and federal requirements regarding the use of any substance or device used for Microbial Decontamination or Microbial Control Step. Any substance or device used for Microbial Decontamination or Microbial Control Step must be registered in accordance with state and federal requirements. Any substance that would be considered a Pesticide must meet all criteria at 8 CCR 1203-2 Part 17.

1.	Ozone Treatment.

a.	Equipment Requirements: Non-Enclosed Ozone Generating Device. A Licensee who seeks to use a non-enclosed ozone generating device for Decontamination or Microbial Control Steps must comply with the following safety requirements, which must be documented in a Standard Operating Procedure:

i.	Sufficient air filtration and/or handling systems to protect worker safety, meet manufacturer safety recommendations, and comply with any federal, state, or local regulations; and

ii.	Review by an Industrial Hygienist that includes, at a minimum:

A.	Consideration of volume and storage of chemicals;

B.	Fire safety considerations;

C.	Ambient levels of chemicals (e.g. ozone, flammable liquids); and

D.	Environmental monitoring.

iii.	Any Material Change in the Licensee’s Standard Operating Procedures or processes requires subsequent Industrial Hygienist review and approval.

b.	Equipment Requirements: Sealed Enclosure Ozone Generating Device. A Licensee who seeks to use a sealed enclosure ozone generating device for Decontamination or Microbial Control Steps must comply with the following safety requirements, which must be documented in a Standard Operating Procedure:

i.	Sufficient air filtration and/or handling systems to protect worker safety, meet manufacturer safety recommendations, and comply with any federal, state, or local regulations; and

ii.	To be considered a sealed enclosure ozone generating device, the ozone must be contained in an enclosed space not intended for human occupancy and capture the ozone or reactive oxygen species generated by the device and degrade it into molecular oxygen (O2) or other components that are safe for human exposure.

2.	X-ray Irradiation in a Sealed Enclosure Device. A Licensee who uses x-ray irradiation in a sealed enclosure device for Decontamination or Microbial Control Steps must require the use of personal protective equipment and safety procedures to prevent human exposure to UV radiation and to comply with the following safety requirements, which must be documented in a Standard Operating Procedure:

a.	Radiation survey and dosimeter badges for operators; and

b.	Inspection by a Colorado registered qualified inspector and certification by the Colorado Department of Public Health and Environment X-ray Certification Unit.

3.	Ultraviolet Light (UV) Irradiation. A Licensee who seeks to use UV light irradiation for Decontamination or Microbial Control Steps must require the use of personal protective equipment and safety procedures to prevent human exposure to UV radiation.

4.	Microwave Irradiation. A Licensee who seeks to use microwave irradiation for Decontamination or Microbial Control Steps must only use a microwave device that is constructed, inside and outside, in a manner that it may be adequately cleaned.

5.	Vaporized Hydrogen Peroxide in a Sealed Enclosure Device.

a.	A Licensee who seeks to use vaporized hydrogen peroxide in a sealed enclosure device for Decontamination or Microbial Control Steps must have sufficient air filtration and/or handling systems to protect worker safety, meet manufacturer safety recommendations, and comply with all federal, state or local regulations, which must be documented in a Standard Operating Procedure.

b.	To be considered a sealed enclosure device, the vaporized hydrogen peroxide and any reactive oxygen species must be contained in an enclosed space not intended for human occupancy and capture the hydrogen peroxide or reactive oxygen species generated by the device and degrade it into molecular oxygen (O2), water, or other components that are safe for human exposure.

6.	Pasteurization. A Licensee who seeks to use pasteurization for Decontamination or Microbial Control Steps must have sufficient air filtration and/or handling systems to protect worker safety, meet manufacturer safety recommendations, and comply with all federal, state, or local regulations.

#### Basis and Purpose – 3-325

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(dd)(X), and 44-10-203(3)(c), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to clarify that a Regulated Marijuana Business engaged in the cultivation of Regulated Marijuana is prohibited from using certain chemicals or Pesticides that may cause harm to employees or consumers.

#### 3-325 – Prohibited Chemicals

A.	Applicability. This Rule 3-325 applies to Regulated Marijuana Cultivation Facilities, Regulated Marijuana Products Manufacturers, and Marijuana Research and Development Licensees.

#### Basis and Purpose – 3-330

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(i), 44-10-203(3)(c), 44-10-203(3)(e), and 44-10-1001, C.R.S. The purpose of this rule is to clarify the minimum health and safety requirements imposed on a Regulated Marijuana Cultivation Facility. The State Licensing Authority has determined the cultivation of Regulated Marijuana requires the application of processes and procedures, and the use of materials, chemicals, and Pesticides which, if improperly used, may be potentially harmful to employees and consumers. Therefore, the cultivation of Regulated Marijuana must be performed in a manner that reduces the likelihood of exposure to such materials, chemicals and Pesticides, or other microbial contaminants or molds. The State Licensing Authority intends for this rule to reduce any product contamination, which will benefit both the Licensees and consumers. The State Licensing Authority modeled this rule after those adopted by the Colorado Department Revenue for Medical Marijuana and those adopted by the Colorado Department of Public Health and Environment. Overall, the State Licensing Authority intends this rule to help maintain the integrity of Colorado’s Regulated Marijuana Businesses and the safety of the public.

#### 3-330 – Cultivation of Regulated Marijuana: Specific Health and Safety Requirements

A.	Additional Sanitary Requirements. In addition to the general sanitary requirements in Rule 3-310, a Regulated Marijuana Cultivation Facility shall take all reasonable measures and precautions to ensure the following:

B.	Pesticide Application. A Regulated Marijuana Cultivation Facility may only use Pesticides in accordance with the “Pesticide Act” sections 35-9-101 et seq., C.R.S., the “Pesticides Applicators’ Act,” sections 35-10-101 et seq., C.R.S., and all other applicable federal, state, and local laws, statutes, rules and regulations. This includes, but shall not be limited to, the prohibition on detaching, altering, defacing or destroying, in whole or in part, any label on any Pesticide. The Colorado Department of Agriculture’s determination that the Licensee used any quantity of a Pesticide that would constitute a violation of the Pesticide Act or the Pesticide Applicators’ Act shall constitute prima facie evidence of a violation of this Rule.

D.	Required Documentation.

4.	Labels of Pesticide and Other Agricultural Chemicals. A Regulated Marijuana Cultivation Facility must have the original label or a copy thereof at its Licensed Premises for all Pesticides and other agricultural chemicals used during its cultivation process.

#### Basis and Purpose – 3-335

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(i), 44-10-202(2)(y), 44-10-203(3)(b), 44-10-203(3)(c), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-203(3)(g), and 44-10-1001, C.R.S. The State Licensing Authority has determined the manufacturing of Regulated Marijuana Infused Products involves the application of processes and procedures, materials, chemicals, and additives, which, if improperly applied, may cause harm to employees and consumers. Therefore, the purpose of this Rule is to clarify the minimum and specific health and safety requirements imposed on a Regulated Marijuana Products Manufacturing Facility. This Rule clarifies which Edible Regulated Marijuana Products, due to their specific composition, are per se practicable to mark with the Universal Symbol but exempts certain Liquid Products from the Universal Symbol requirements. Additionally, the Rule imposes manufacturing and production requirements (e.g. prohibiting products from being shaped like fruit or humans), identifies the standard THC portion, prohibits Licensees from using commercial food products to remanufacture Regulated Marijuana Products, and prohibits the use of toxic Additives.

#### 3-335 – Production of Regulated Marijuana Concentrate and Regulated Marijuana Products: Specific Health and Safety Requirements

C.	Additional Sanitary Requirements. A Regulated Marijuana Products Manufacturer shall take all reasonable measures and precautions to ensure the following:

4.	That plumbing shall be of adequate size and design and adequately installed and maintained to carry sufficient quantities of water to required locations throughout the plant and that shall properly convey sewage and liquid disposable waste from the Licensed Premises. There shall be no cross-connections between the potable and wastewater lines; and

D.	Product Safety.

4.	Retail Marijuana Products Manufacturer Specific Requirements.

d.	Liquid Edible Retail Marijuana Product.

i.	Pursuant to section 44-10-603(4)(b), C.R.S., Liquid Edible Retail Marijuana Products are impracticable to mark with the Universal Symbol and are exempt from the provision in subparagraph (D)(4)(c) of this Rule 3-335 that requires Edible Retail Marijuana Products that are impracticable to mark with the Universal Symbol to contain 10 mg or less Active THC per Container.

e.	Multiple-Serving Edible Retail Marijuana Product.

i.	A Retail Marijuana Products Manufacturer must ensure that each single Standardized Serving of Marijuana of a Multiple-Serving Edible Retail Marijuana Product is physically demarcated in a way that enables a reasonable person to intuitively determine how much of the product constitutes a single serving of Active THC.

ii.	Each demarcated Standardized Serving of Marijuana must be easily separable in order to allow an average person 21 years of age and over to physically separate, with minimal effort, individual servings of the product.

G.5.	Production of Semi-Synthetic Cannabinoids and Synthetic Cannabinoids.

1.	Semi-Synthetic Cannabinoids. Only a Marijuana Research and Development Licensee may manufacture Semi-synthetic Cannabinoids.

2.	Synthetic Cannabinoids Prohibited. Licensees are prohibited from manufacturing, producing, possessing, or transferring any Synthetic Cannabinoid.

I.	Other Permitted Ingredients. Nothing in paragraph (H) above prohibits a Regulated Marijuana Products Manufacturer from using marijuana-derived ingredients or Botanically Derived Compounds.

M.	Expiration Date for Vaporizer Delivery Devices and Pressurized Metered Dose Inhalers. A Regulated Marijuana Products Manufacturer that produces a Vaporizer Delivery Device or Pressurized Metered Dose Inhaler shall establish an expiration date upon which the Vaporized Delivery Device or Pressurized Metered Dose Inhaler will no longer be fit for consumption. The Licensee shall determine the expiration date by conducting potency and contaminant testing pursuant to Rules 4-210 and 4-215 on the final Vaporizer Delivery Device or Pressurized Metered Dose Inhaler prior to Transfer to ensure the Vaporizer Delivery Device or Pressurized Metered Dose Inhaler can pass potency and contaminant testing prior to the established expiration date.

2.	The Licensee may, but is not required to, use accelerated stability tests to demonstrate compliance with this rule.

#### Basis and Purpose – 3-336

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(b)-(c), 44-10-203(1)(k), 44-10-203(2)(d)(l)-(VI), 44-10-203(2)(m), 44-10-401(2)(a)(III), 44-10-503, and 44-10-901(1), C.R.S. The purpose of this rule is to establish minimum requirements for a recall plan, the process by which the Division or a Regulated Marijuana Business initiates a product recall, the requirements any recall must meet, and how such recall is terminated.

#### 3-336 – Recall of Regulated Marijuana

C.	Initiating a Recall. A Regulated Marijuana Business subject to this Rule 3-336 may voluntarily initiate a recall at any time or a recall may be initiated at the request of the Division. A Regulated Marijuana Business subject to this rule must comply with the requirements of this Rule 3-336.

1.	Division Requests for Recalls.

a.	If the Division requests a Regulated Marijuana Business to initiate a recall pursuant to this rule, the Division’s correspondence, which may be electronic, must include the reasons for the recall request and any other information necessary for the Regulated Marijuana Business to initiate a recall pursuant to this rule.

D.	Recall Plan Required. A Regulated Marijuana Business subject to this Rule 3-336 must have a written recall plan. A recall plan shall include, but is not limited to the following:

4.	Removal of Affected Regulated Marijuana.

b.	Final Product Disposition. At the discretion of the Regulated Marijuana Business contaminated product must be disposed by either:

i.	Destroying and documenting the destruction of the affected Regulated Marijuana pursuant to Rule 3-230; or

ii.	If possible, Decontaminating the affected Regulated Marijuana pursuant to Rule 4-240(C)(2) or Remediating the Regulated Marijuana Product pursuant to Rule 4-240(C)(3). If the Regulated Marijuana cannot be Decontaminated, it must be destroyed pursuant to Rule 4-240(C)(1) and 3-230.

#### 3-345 – [Emergency rule expired 05/11/2021]

### 3-400 Series – Acceptable Forms of Identification for Regulated Marijuana Sales

#### Basis and Purpose – 3-405

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(v), 44-10-203(2)(z), 44-10-401(2)(a)(I), 44-10-401(2)(b)(I), 44-10-501(3)(b), 44-10-501(3)(c), 44-10-501(3)(d), 44-10-501(4), 44-10-501(10)(b)(II), 44-10-601(3)(b), 44-10-701(1)(b), 44-10-701(2)(a), 44-10-701(4)(a), and 44-10-701(5)(a), C.R.S. The purpose of this rule is to establish guidelines for the acceptable forms of identification for verifying the lawful sale of Regulated Marijuana. This Rule 3-405 was previously Rule M 405, 1 CCR 212-1, and Rule R 404, 1 CCR 212-2.

#### 3-405 – Identification

C.	Forms of Valid Identification. The kind and type of identification deemed adequate shall be limited to the following, including any valid and verified digital identification:

5.	An enrollment card issued by the governing authority of a federally recognized Indian tribe, if the enrollment card incorporates proof of age requirements similar to sections 42-2-302 and 42-2-303, C.R.S.

### 3-500 Series – Responsible Vendor Program

#### Basis and Purpose – 3-520

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-12-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(v), 44-203(2)(dd)(II), 44-10-609(3)(b), 44-10-1201, and 44-10-1202, C.R.S. The purpose of this rule is to establish the required curriculum for an Approved Training Program. This rule also includes the required additional curriculum for Licensees engaged in delivery activity pursuant to a valid delivery permit and employees and Controlling Beneficial Owners of a Licensed Hospitality Businesses. This Rule 3-520 was previously Rules M 408, 1 CCR 212-1, and R 407, 1 CCR 212-2.

#### 3-520 – Certification Training Class Core Curriculum

When considering whether to approve a responsible vendor program, the Division, after consulting with the Colorado Department of Public Health and Environment, will consider the following criteria.

A.	Discussion Concerning the Health and Safety Concerns of Marijuana Use. Training shall include:

H.	Additional Curriculum for Licensed Hospitality Businesses. In addition to the required curriculum in paragraphs (B) through (F) above, training provided to Controlling Beneficial Owners of and any Licensee employed by a Licensed Hospitality Business must also include all Colorado statutes and rules related to Licensed Hospitality Businesses. Responsible Vendor Program Providers may provide the hospitality curriculum as a separate training or as part of the core curriculum training. Licensees that are not employed by a Licensed Hospitality Business are not required to, but may, complete the hospitality training. Training provided to Controlling Beneficial Owners of and employees of a Licensed Hospitality Business must include, but is not limited to:

8.	Risks and potential responses to adverse events such as overconsumption, altitude sickness, dehydration, poly-substance use or other similar events; and

9.	Strategies to de-escalate interactions with intoxicated consumers and potentially dangerous situations which could include development of an emergency action plan.

### 3-600 Series – Transport and Storage

#### Basis and Purpose – 3-605

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(h), 44-10-203(2)(n), 44-10-203(3)(c), 44-10-313(5)(b), 44-10-505, and 44-10-605 C.R.S. The purpose of the rule is to provide clarity as to the requirements associated with the transport and delivery of Regulated Marijuana between Licensed Premises. It also prescribes the manner in which licensed entities will track inventory in the transport process to prevent diversionary practices. This Rule 3-605 was previously Rules M and R 801, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-605 – Transport: All Regulated Marijuana Businesses

B.	Transport Between Licensed Premises.

1.	Regulated Marijuana. Regulated Marijuana shall only be transported by Licensees between Licensed Premises; between Licensed Premises and a permitted off-premises storage facility; and between Licensed Premises and a Pesticide Manufacturer. Licensees transporting Regulated Marijuana are responsible for ensuring that all Regulated Marijuana is secured at all times during transport.

2.	Regulated Marijuana Vegetative Plants and Regulated Marijuana Immature Plants.

c.	Licensees transporting Regulated Marijuana Vegetative plants and Regulated Marijuana Immature Plants are responsible for ensuring that all Regulated Marijuana Vegetative plants and Regulated Marijuana Immature Plants are secure at all times during transport. Transportation of Regulated Marijuana Vegetative plants and Regulated Marijuana Immature Plants to a permitted off-premises storage facility shall not be allowed. Transport of Regulated Marijuana plants other than Vegetative plants and Immature Plants shall not be allowed.

G.	Preparation of Regulated Marijuana for Transport.

1.	Final Weighing and Packaging. A Regulated Marijuana Business shall comply with the specific rules associated with the final weighing and packaging of Regulated Marijuana before such items are prepared for transport pursuant to this Rule. The scale used to weigh product to be transported shall be tested and approved in accordance with measurement standards established in section 35-14-127, C.R.S.

2.	Preparation in Limited Access Area. Regulated Marijuana shall be prepared for transport in a Limited Access Area, including the packaging and labeling of Containers or Shipping Containers.

3.	Shipping Containers. Licensees may Transfer multiple Containers of Regulated Marijuana in a Shipping Container. The contents of Shipping Containers shall be easily accessible and may be inspected by the State Licensing Authority, Local Licensing Authorities, Local Jurisdictions, and state and local law enforcement agencies for a purpose authorized by the Marijuana Code or for any other state or local law enforcement purpose.

b.	Regulated Marijuana Vegetative Plants and Regulated Marijuana Immature Plants. Each Regulated Marijuana Vegetative plant that is transported pursuant to this Rule must have an Inventory Tracking System tag affixed to it prior to transport. Each receptacle containing Regulated Marijuana Immature Plants transported pursuant to this Rule must have an Inventory Tracking System tag affixed prior to transport.

H.	Creation of Records and Inventory Tracking.

1.	Use of Inventory Tracking System – Generated Transport Manifest.

b.	Use of a Regulated Marijuana Transporter. In addition to subparagraph (H)(1)(a), Licensees shall also follow the requirements of this subparagraph (H)(1)(b) when a Licensee utilizes the services of a Regulated Marijuana Transporter.

iv.	A Regulated Marijuana Transporter shall not alter the information of the final destination Licensee or Pesticide Manufacturer after the information has been entered on the Inventory Tracking System-generated transport manifest by the Licensee.

c.	Regulated Marijuana Vegetative Plants.

ii.	Retail Marijuana Transporters are permitted to transport Retail Marijuana Vegetative plants on behalf of other Licensees due to a change of location approved by the Division pursuant to Rule 2-255, or a one-time Transfer pursuant to Rule 3-805. The Retail Marijuana Transporter shall transport the Retail Marijuana Vegetative plants directly from the originating Licensed Premises to the final destination Licensed Premises.

I.	Inventory Tracking. In addition to all the other tracking requirements set forth in these rules, a Regulated Marijuana Business shall be responsible for all the procedures associated with the tracking of inventory that is transported between Licensed Premises. See Rule 3-905 – Business Records Required.

1.	Responsibilities of Originating Licensee.

a.	Regulated Marijuana. Prior to departure, the originating Regulated Marijuana Business shall adjust its records to reflect the removal of Regulated Marijuana. The scale used to weigh product to be transported shall be tested and approved in accordance with measurement standards established in section 35-14-127, C.R.S. Entries to the records shall note the Inventory Tracking System-generated transport manifest and shall be easily reconciled, by product name and quantity, with the applicable transport manifest.

2.	Responsibilities of Recipient Licensee.

a.	Regulated Marijuana. Upon receipt, the receiving Licensee shall adjust its Inventory Tracking System and records to reflect the receipt of inventory and any discrepancies in the Transferred amount before the end of the business day. The scale used to weigh product being received shall be tested and approved in accordance with measurement standards established in section 35-14-127, C.R.S. Entries to the inventory records shall note the Inventory Tracking System-generated transport manifest and shall be easily reconciled, by product name and quantity, with the applicable transport manifest. Regulated Marijuana Transporters shall comply with all requirements of this subparagraph (I)(2)(a) except that they are not required to weigh Regulated Marijuana.

#### Basis and Purpose – 3-615

The statutory authority for this rule includes but is not limited to sections 44-10-202(1), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(h), 44-10-203(2)(n), 44-10-203(2)(dd), C.R.S. The purpose of this rule is to provide requirements for a Regulated Marijuana Store or Regulated Marijuana Transporter to apply for and conduct deliveries to private residences pursuant to a delivery permit. This rule provides application and renewal requirements for a delivery permit. Additionally, the rule describes requirements for responsible vendor training, requirements for use of the inventory tracking system, Delivery Motor Vehicles requirements including security, requirements for delivery orders, requirements prior to completing a delivery to a patient or consumer at a private residence and requirements for maintaining the confidentiality of all patient and customer information.

#### 3-615 – Regulated Marijuana Delivery Permits

D.	Inventory Tracking System Required. A Regulated Marijuana Business possessing a valid delivery permit must use the Inventory Tracking System and transport manifests to track all Regulated Marijuana delivered to the intended patient or consumer. This includes the use of a transport manifest.

E.	Delivery Motor Vehicle Requirements.

1.	Any Delivery Motor Vehicle must be owned or leased by the Regulated Marijuana Store, Regulated Marijuana Transporter, or an Owner Licensee of the Regulated Marijuana Business that holds the delivery permit, must be registered in the state of Colorado, and must be insured.

8.	A Delivery Motor Vehicle must not leave the state of Colorado while any amount of Regulated Marijuana is in the Delivery Motor Vehicle.

F.	Delivery Order Requirements.

1.	A Regulated Marijuana Store that has a valid delivery permit may accept orders for delivery of Regulated Marijuana to patients who are at least 21 years of age, parents or guardians of patients under 18 years of age, or consumers who are at least 21 years of age at a private residence. Delivery orders to patients ages 18 to 20 are not permitted.

### 3-800 Series – Inventory Tracking Requirements

#### Basis and Purpose – 3-805

The statutory authority for this rule includes but is not limited to sections, 44-10-201(1), 44-10-202(1)(a), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(h), 44-10-501(1)(b), 44-10-502(2), 44-10-503(1)(b), 44-10-505(3), 44-10-601(1)(d), 44-10-602(3), 44-10-603(1)(b), 44-10-605(3), and 44-10-610(3)(a), C.R.S. The purpose of this rule is to establish a system that will allow the State Licensing Authority and the industry to jointly track Regulated Marijuana from Genetic Material stage until the Regulated Marijuana is sold to a patient or consumer, or destroyed.

The Inventory Tracking System is a web-based tool coupled with RFID technology that allows both the Inventory Tracking System User and the State Licensing Authority the ability to identify and account for all Regulated Marijuana. Through the use of RFID technology, a Regulated Marijuana Cultivation Facility will tag either the seed or Immature Plant with an individualized number, which will follow the Regulated Marijuana through all phases of production and final sale to a patient or consumer. This will allow the State Licensing Authority and the Inventory Tracking System User the ability to monitor and track Regulated Marijuana inventory. The Inventory Tracking System will also provide a platform for the State Licensing Authority to exchange information and provide compliance notifications to the industry.

The State Licensing Authority finds it essential to regulate, monitor, and track all Regulated Marijuana to eliminate diversion, inside and outside of the state, and to ensure that all marijuana grown, processed, sold, and disposed of in the Regulated Marijuana market is transparently accounted for.

The State Licensing Authority will engage the industry and provide training opportunities and continue to evaluate the Inventory Tracking System to promote an effective means for this industry to account for and monitor its Regulated Marijuana inventory, which may include reevaluating the benefits of and alternatives to certain aspects of the current Inventory Tracking System such as RFID technology requirements. This Rule 3-805 was previously Rules M and R 309, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-805 – Regulated Marijuana Businesses: Inventory Tracking System

E.	General Inventory Tracking System Use.

3.	Inventory Tracking System Trained Administrator and User Accounts – Security and Record.

a.	A Regulated Marijuana Business shall maintain an accurate and complete list of all Inventory Tracking System Trained Administrators and Inventory Tracking System Users for each Licensed Premises. A Regulated Marijuana Business shall update this list when a new Inventory Tracking System User is trained. A Regulated Marijuana Business must train and authorize any new Inventory Tracking System Users before those Owners or employees may access the Inventory Tracking System or input, modify, or delete any information in the Inventory Tracking System.

6.	When a Production Batch Must be Created in the Inventory Tracking System. A Licensee shall create a Production Batch in the Inventory Tracking System pursuant to these Rules. For example, a Licensee is required to create a Production Batch when:

a.	Regulated Marijuana changes form chemically or physically;

b.	Regulated Marijuana changes product type, such as flower extracted into concentrate or when bulk concentrate is manufactured into a Vaporizer Delivery Device;

c.	Multiple Regulated Marijuana categories are combined, such as the creation of an infused pre-roll; and

d.	Non-marijuana ingredients (such as additives, lipids, flavorings, or terpenes) are added.

### 3-900 Series – Business Records

#### Basis and Purpose – 3-905

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-301, and 44-10-1001(1), (3), and (4), C.R.S. This rule explains what business records a Licensee must maintain and clarifies that such records must be made available to the Division on demand. This Rule 3-905 was previously Rules M and R 901, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-905 – Business Records Required

A.	General Requirements.

2.	Location of Required Records

a.	On Premises Records: The Regulated Marijuana Business’s books and records for the preceding six months (or complete copies of such records) must be maintained on the Licensed Premises at all times, except that tax documents required by subparagraph (B.5)(1) of this Rule are not required to be maintained on the Licensed Premises. Electronic records that are accessible from, but not physically located at, a Licensee’s Licensed Premises may also satisfy the requirements of this Rule 3-905.

b.	On- or Off-premises Records: Books and records associated with older periods, or tax documents required by subparagraph (B.5)(1) of this Rule, may be archived on or off of the Licensed Premises.

B.5.	Each Regulated Marijuana Business shall retain the following records for the current year and three immediate prior tax years:

6.	Cleaning records and maintenance records required under Rule 3-330(D)(1)(e).

### 3-1000 Series – Labeling, Packaging, and Product Safety

#### Basis and Purpose – 3-1005

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(a), 44-10-202(1)(c), 44-10-202(6), 44-10-203(2)(f), 44-10-203(1)(k), 44-10-203(3)(a)-(b), 44-10-601(2)(a), 44-10-601(5), 44-10-603(1)(d), 44-10-603(4)(a), and 44-10-603(8), C.R.S. The purpose of this rule is to define minimum packaging and labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product Transferred between Regulated Marijuana Businesses. The State Licensing Authority finds it essential to regulate and establish labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product and that this is in the interest of the health and safety of the people of Colorado. This rule identifies information that is required on all labels to provide information necessary for the Division to regulate the cultivation, production, and sale of Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product. This rule also seeks to minimize, to the extent practicable, the burden of labeling compliance to Licensees. The labeling requirements in this rule apply to all Containers immediately containing Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product. This Rule 3-1005 was previously Rules M and R 1001-1, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-1005 - Packaging and Labeling: Minimum Requirements Prior to Transfer to a Regulated Marijuana Business, except to a Regulated Marijuana Testing Facility

B.	Packaging and Labeling of Regulated Marijuana Flower, Trim, Wet Whole Plant, and Regulated Marijuana Concentrate, Prior to Transfer to a Regulated Marijuana Business. A Regulated Marijuana Business shall comply with the following minimum packaging and labeling requirements prior to Transferring Medical Marijuana flower, trim, wet whole plant, or Medical Marijuana Concentrate to another Medical Marijuana Business, or Retail Marijuana flower, trim, wet whole plant, or Retail Marijuana Concentrate to another Retail Marijuana Business:

2.	Labeling of Regulated Marijuana Flower, Trim, Wet Whole Plant, and Regulated Marijuana Concentrate. Prior to Transfer to a Regulated Marijuana Business, every Container of Regulated Marijuana flower, trim, wet whole plant, or Regulated Marijuana Concentrate shall be affixed with a label that includes at least the following information:

a.	For Regulated Marijuana flower, trim and wet whole plant, the License number of the Regulated Marijuana Cultivation Facility where the Regulated Marijuana was grown;

E.	Packaging and Labeling of R-and-D Units. Regulated Marijuana Cultivation Facilities and Regulated Marijuana Products Manufacturers shall comply with the following minimum packaging and labeling requirements prior to Transferring any R-and-D Unit to a designated employee.

2.	Labeling of R-and-D Units. Prior to Transfer to a designated employee, every Container for an R-and-D Unit shall be affixed with a label that includes at least the following information:

f.	Repealed.

#### Basis and Purpose – 3-1010

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(a), 44-10-202(1)(c), 44-10-202(6), 44-10-203(2)(f), 44-10-203(1)(k), 44-10-203(3)(a)-(b), 44-10-601(2)(a), 44-10-601(5), 44-10-603(1)(d), 44-10-603(4)(a), and 44-10-603(8), C.R.S. The purpose of this rule is to define general packaging and labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product prior to Transfer to a patient or consumer. The labeling requirements in this rule apply to all Containers immediately containing Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product. The State Licensing Authority finds it essential to regulate and establish labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product and that this is in the interest of the health and safety of the people of Colorado. This rule identifies information that is required on all labels to provide necessary information to patients and consumers to make informed decisions and first responders in the event of accidental ingestion, over ingestion or allergic reaction. This rule also seeks to minimize, to the extent practicable, the burden of labeling compliance to Licensees. This Rule 3-1010 was previously Rules M and R 1002-1, 1 CCR 212-1 and 1 CCR 212-2.

#### 3-1010 – Packaging and Labeling: General Requirements Prior to Transfer to a Patient or Consumer

C.	Packaging and Labeling of Regulated Marijuana Flower and Trim, and Regulated Marijuana Concentrate Prior to Transfer to a Patient or Consumer. A Regulated Marijuana Store shall comply with the following minimum packaging and labeling requirements prior to Transferring Regulated Marijuana flower and trim, or Regulated Marijuana Concentrate to a patient or consumer:

3.	Labeling of Regulated Marijuana Flower and Trim, and Regulated Marijuana Concentrate. Prior to Transfer to a patient or consumer, every Container of Regulated Marijuana flower and trim, or Regulated Marijuana Concentrate and any Marketing Layer shall be affixed with a label that includes at least the following information:

a.	Required License Number(s). The license number for each of the following:

i.	For Regulated Marijuana flower and trim, the Regulated Marijuana Cultivation Facility where the Regulated Marijuana was grown;

e.	Required Potency Statement.

i.	The potency of Regulated Marijuana flower or trim shall be expressed as: (1) the percentage of Total THC and CBD from the test results for that Production Batch, or (2) if the Production Batch is not required to be tested, either as: (i) a range of percentages of Total THC and CBD that extends from the lowest percentage to the highest percentage for each Cannabinoid listed, from every test conducted on that strain of Regulated Marijuana cultivated by the same Regulated Marijuana Cultivation Facility during the preceding six months or (ii) an average for each Cannabinoid listed, from every test conducted on that strain of Regulated Marijuana cultivated by the Regulated Marijuana Cultivation Facility during the preceding six months. If CBD is not detected in the Production Batch, then Total CBD potency is not required.

D.	Packaging and Labeling of Regulated Marijuana Product, Pre-Rolled Marijuana, Infused Pre-Rolled Marijuana, and Audited Product. A Regulated Marijuana Products Manufacturer and a Regulated Marijuana Store shall comply with the following minimum packaging and labeling requirements prior to Transferring Regulated Marijuana Product:

1.	Packaging of Regulated Marijuana Product. Every Regulated Marijuana Product shall be in a Child-Resistant Container at the time of Transfer to a Regulated Marijuana Store in accordance with the following packaging limits:

d.	Liquid Edible Medical Marijuana Product and Liquid Edible Retail Marijuana Product. Single-Serving Liquid Edible Medical Marijuana Product and Single-Serving Liquid Edible Retail Marijuana Product shall be packaged in a Child-Resistant Container:

E.	Packaging and Labeling of Seeds and Immature Plants Prior to Transfer to a Patient or Consumer. A Regulated Marijuana Store shall comply with the following minimum packaging and labeling requirements prior to Transferring seeds or Immature Plants to a patient or consumer:

#### Basis and Purpose – 3-1015

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(a), 44-10-202(1)(c), 44-10-202(6), 44-10-203(2)(d)(IV)(A)-(C), 44-10-203(2)(f), 44-10-203(2)(w), 44-10-203(1)(a), 44-10-601(2)(a), 44-10-603(4)(a), and 44-10-603(8), C.R.S. The purpose of this rule is to define additional labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and/or Regulated Marijuana Product (except Regulated Marijuana Genetic Material) based on its intended use. These labeling requirements are in addition to, not in lieu of, the labeling requirements in Rule 3-1010. This Rule 3-1015 was previously Rules M and R 1003-1, 1 CCR 212-1 and 1 CCR 212-2. The Division and State Licensing Authority intend to monitor data regarding Regulated Marijuana use-by dates following implementation of these rules, and will make any necessary changes, including but not limited to, reducing the nine months use-by date if Licensees choose not to conduct stabilization studies.

#### 3-1015 – Additional Labeling Requirements Prior to Transfer to a Patient or Consumer

B.	Additional Information Required on Every Container (Except Genetic Material) Prior to Transfer to a Patient or Consumer. Prior to Transfer to a patient or consumer, every Container of Regulated Marijuana (except Genetic Material), Regulated Marijuana Concentrate, or Regulated Marijuana Product and any Marketing Layer must have a label that includes at least the following additional information.

2.	Inhaled Product. The inhaled product intended use may be used only for products intended for consumption by smoking or Vaporizer Delivery Device where the product is heated or burned prior to consumption, or through use of a Pressurized Metered Dose Inhaler. The label(s) on all inhaled product intended use shall also include:

a.	The potency statement required by Rule 3-1010 for: (1) flower, shake, or trim, (2) Pre-Rolled Marijuana, (3) Infused-Pre-Rolled Marijuana, (4) Solvent-Based Medical Marijuana Concentrate, (5) Solvent-Based Retail Marijuana Concentrate, (6) Physical Separation-Based Medical Marijuana Concentrate, (7) Physical Separation-Based Retail Marijuana Concentrate, (8) Heat/Pressure-Based Medical Marijuana Concentrate, (9) Heat/Pressure-Based Retail Marijuana Concentrate shall be stated as the percentage of Total THC and CBD. If CBD is not detected, then Total CBD potency is not required.

b.	The potency statement required by Rule 3-1010 for Vaporizer Delivery Devices and Pressurized Metered Dose Inhalers shall be stated as either the percentage of Total THC and CBD, or the number of milligrams of Total THC and CBD, per cartridge, pen, or inhaler. If the potency value for Total THC or CBD of the Vaporizer Delivery Devices or Pressurized Metered Dose Inhalers is less than one milligram, the potency may be expressed as “<1 mg.” If CBD is not detected in the Vaporizer Delivery Device or Pressurized Metered Dose Inhaler, then Total CBD potency is not required.

3.	For Oral Consumption. The label(s) on all Edible Regulated Marijuana Products, including but not limited to confections, liquids, pills, capsules and tinctures, shall also include:

c.	Expiration/Use-By Date. A product expiration date, upon which the Edible Regulated Marijuana Product will no longer be fit for consumption, or a use-by-date, upon which the Edible Regulated Marijuana Product will no longer be optimally fresh. Once a label with an expiration or use-by date has been affixed to a Container containing an Edible Regulated Marijuana Product and any Marketing Layer, a Licensee shall not alter that expiration or use-by date or affix a new label with a later expiration or use-by date. All expiration or use-by dates must be entered into the Inventory Tracking System prior to Transfer.

i.	Prior to Transfer to a patient or consumer, a Regulated Marijuana Store must inform the patient or consumer if the Edible Regulated Marijuana Product is past its use-by date.

#### Basis and Purpose – 3-1025

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(a), 44-10-202(1)(c), 44-10-202(6), 44-10-203(2)(f), 44-10-203(1)(k), 44-10-203(3)(a)-(b), C.R.S. The purpose of this rule is to define minimum packaging and labeling requirements for Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product Transferred to a Regulated Marijuana Testing Facility. The labeling requirements in this rule apply to all Containers immediately containing Regulated Marijuana, Regulated Marijuana Concentrate, and Regulated Marijuana Product being Transferred to a Regulated Marijuana Testing Facility.

#### 3-1025 – Packaging and Labeling: Minimum Requirements for Test Batch Transfers to a Regulated Marijuana Testing Facility

B.	Packaging and Labeling of Test Batches of Regulated Marijuana Flower, Trim, Wet Whole Plant, and Regulated Marijuana Concentrate, Prior to Transfer to a Regulated Marijuana Testing Facility. A Regulated Marijuana Business shall comply with the following minimum packaging and labeling requirements prior to Transferring Test Batches of Regulated Marijuana flower, trim, wet whole plant, or Regulated Marijuana Concentrate to a Regulated Marijuana Testing Facility:

2.	Labeling of Test Batches of Regulated Marijuana Flower, Trim, Wet Whole Plant, and Regulated Marijuana Concentrate. Prior to Transfer to a Regulated Marijuana Testing Facility, every Container containing a Test Batch of Regulated Marijuana flower, trim, wet whole plant, or Regulated Marijuana Concentrate shall be affixed with a label that includes at least the following information, some of which may be included on the Inventory Tracking System Tag:

a.	For Test Batches of Regulated Marijuana Production Batches, the license number of the Regulated Marijuana Cultivation Facility where the Regulated Marijuana was grown;

b.	For Test Batches of Regulated Marijuana Concentrate Production Batches, the license number of the Regulated Marijuana Products Manufacturer(s) where the Regulated Marijuana Concentrate was produced or the license number of the Regulated Marijuana Cultivation Facility where the Physical Separation-Based Regulated Marijuana Concentrate was produced, if applicable; and

c.	The net contents, using a standard of measure compatible with the Inventory Tracking System, of the Regulated Marijuana or Regulated Marijuana Concentrate prior to its placement in the Container.

C.	Packaging and Labeling of Test Batches of Regulated Marijuana Product Prior to Transfer to a Regulated Marijuana Testing Facility. A Regulated Marijuana Business shall comply with the following minimum packaging and labeling requirements prior to Transferring Test Batches of Regulated Marijuana Product to a Regulated Marijuana Testing Facility:

1.	Packaging Test Batches of Regulated Marijuana Product.

a.	Prior to any Transfer of a Test Batch to a Regulated Marijuana Testing Facility, the Test Batch of Regulated Marijuana Product subject to testing shall be placed into the Container(s) in which the rest of the Production Batch will be sold. The Container may but is not required to be Child-Resistant.

2.	Labeling of Test Batches of Regulated Marijuana Product. Prior to Transfer to a Regulated Marijuana Testing Facility, every Container containing a Test Batch of Regulated Marijuana Product shall be affixed with a label, which can be noted on the Inventory Tracking System Tag, that includes at least the following information:

d.	The serving size, number of serving per package, and the Target Potency as required for a Regulated Marijuana Testing Facility to assess potency variance for, at a minimum, but not limited to, Active THC, in accordance with Rule 3-1015(B)(3)(a).

D.	Packaging and Labeling of Test Batches of Pre-Rolled Marijuana and Infused Pre-Rolled Marijuana, Prior to Transfer to a Regulated Marijuana Testing Facility. A Regulated Marijuana Business shall comply with the following minimum packaging and labeling requirements prior to Transferring Test Batches of Pre-Rolled Marijuana and Infused Pre-Rolled Marijuana to a Regulated Marijuana Testing Facility:

2.	Labeling of Test Batches of Pre-Rolled Marijuana and Infused Pre-Rolled Marijuana. Prior to Transfer to a Regulated Marijuana Testing Facility, every Container containing a Test Batch of Pre-Rolled Marijuana and Infused Pre-Rolled Marijuana shall be affixed with a label that includes at least the following information, some of which may be included on the Inventory Tracking System Tag:

### 3-1100 Series – Accelerator Program Operations

#### Basis and Purpose – 3-1105

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(2)(aa), 44-10-310(2), and 44-10-311(2), C.R.S. The purpose of this rule is to establish requirements for Accelerator-Endorsed Licensees and Accelerator Licensees participating in the accelerator program. The accelerator program permits different structures. The first option is for the Accelerator-Endorsed Licensee and the Accelerator Licensee to have a mentor/apprentice relationship at the same premises pursuant to Rules 3-1105 and 3-1110. The second option is for the Accelerator-Endorsed Licensee and the Accelerator Licensee to have a separate premises relationship pursuant to Rules 3-1105 and 3-1115.

#### Basis and Purpose – 3-1110

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(2)(aa), 44-10-310(2), and 44-10-311(2), C.R.S. The purpose of this rule is to establish requirements for Accelerator-Endorsed Licensees and Social Equity Licensees to participate in the accelerator program. This option is for the Accelerator-Endorsed Licensee and the Social Equity Licensee to have a mentor/apprentice type relationship pursuant to Rules 3-1105 and 3-1110.

#### 3-1110 – Accelerator Shared Premises

A.	Equity Assistance Proposal – Additional Requirements. In addition to all equity assistance proposal requirements outlined in Rule 3-1105(C)(1), an Accelerator-Endorsed Licensee intending to share its Licensed Premises with an Accelerator Licensee must also include the following in its equity assistance proposal:

## Part 4 – Regulated Marijuana Testing Program

### 4-200 Series - Testing Program Requirements

#### Basis and Purpose – 4-205

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing the mandatory testing portion of the Division’s Regulated Marijuana sampling and testing program. This Rule 4-205 was previously Rules 4-105, 4-115, and 4-130, 1 CCR 212-3, and Rules M and R 1502, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-205 – Regulated Marijuana Testing Program: Mandatory Testing

F.	Financial Responsibility for Sampling and Testing.

1.	The cost for all sampling and tests conducted pursuant to these Rules shall be the financial responsibility of the Regulated Marijuana Business that is required to submit the Test Batch for testing, unless otherwise required by subparagraph (2) of this Rule 4-205(F).

2.	Division Required Testing. The cost for all Division required sampling and testing conducted pursuant to these Rules shall be the financial responsibility of the Regulated Marijuana Business under investigation.

#### Basis and Purpose – 4-210

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing potency testing procedures and rules for the Division’s Regulated Marijuana sampling and testing program. This Rule 4-210 was previously Rules 4-115 and 4-125, 1 CCR 212-3, Rules M and R 1504, 1 CCR 212-1 and 1 CCR 212-2.

Please Note: The Division intends to propose rule revisions to clarify expectations regarding Cannabinoid potency testing performed on Regulated Marijuana Products and reporting those results. For Regulated Marijuana Testing Facilities, proposed rule revisions will clarify the expectations of serving subsampling procedures and the use of measured serving weights in potency calculations for different types of Regulated Marijuana Products, and reporting requirements. For Regulated Marijana Products Manufacturers, proposed rule revisions will clarify required testing of and labeling requirements for any Cannabinoid greater than 10% of the total Cannabinoids on Regulated Marijuana Product.

#### 4-210 – Regulated Marijuana Testing Program: Potency Testing

A.	Potency Testing.

1.	Cannabinoids Potency Profiles. A Regulated Marijuana Testing Facility may test and report results for any Cannabinoid provided the test is conducted in accordance with the Regulated Marijuana Testing Facility’s Standard Operating Procedure.

2.	Reporting of Results.

a.	For potency tests on Regulated Marijuana, Regulated Marijuana Concentrate, Pre-Rolled Marijuana, and Infused Pre-Rolled Marijuana, results must be reported by listing a single percentage concentration for each Cannabinoid that represents an average of all Sample Increments within the Test Batch. This includes reporting the Total THC in addition to each Cannabinoid required in Rule 4-210.

b.	For potency tests conducted on Regulated Marijuana Product, whether conducted on each individual Production Batch or via a Reduced Testing Allowance per Rule 4-230(B), results must be reported by listing the total number of milligrams contained within a single Regulated Marijuana Product unit for sale for each Cannabinoid and stating whether the Cannabinoid content is homogenous as defined in subparagraph (E)(4) of this Rule.

c.	For potency tests conducted on topicals only, test results must be reported in mg/unit.

B.	Potency Testing – Cannabinoid Profile. A potency test conducted pursuant to this Rule must at least determine the level of concentration of D8-THC, D9-THC, D-10 THC, Exo-THC, THCA, CBD, CBDA, and CBN.

C.	Potency Testing for Regulated Marijuana.

3.	Kief Potency Testing. Kief potency testing may follow potency testing for Regulated Marijuana if Kief is produced from the same strain of Regulated Marijuana. If Kief is produced from multiple strains, it must comply with paragraph (D) of this Rule.

E.	Potency Testing for Regulated Marijuana Product.

2.	Required Tests. Potency and homogeneity tests conducted on Regulated Marijuana Product must determine the level of concentration of the required Cannabinoids and whether or not each Cannabinoid is homogeneously distributed throughout the product.

#### Basis and Purpose – 4-215

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing contaminant testing procedures and rules for the Division’s Regulated Marijuana sampling and testing program. This Rule 4-215 was previously Rules 4-115, 4-120, and 4-121, 1 CCR 212-3, Rules M and R 1504, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-215 – Regulated Marijuana Testing Program: Contaminant Testing

B.	Regulated Marijuana Contaminant Testing.

1.	The following table provides required tests for Regulated Marijuana flower.

4-215(B)(1) 1

|  | Flower, Shake, & Trim | Pre-rolled Marijuana & Infused Pre-Rolled Marijuana | Wet Whole Plant Allocated for Extraction |
| --- | --- | --- | --- |
| Water Activity | Yes | Yes | No |
| Mycotoxins | No | No | No |
| Residual Solvents | No | No | No |
| Elemental Impurities | Yes | Yes | Yes |
| Pesticides | Yes | Yes | Yes |
| Microbial Contaminants | Yes | Yes | Yes* |

* Note: Some exemptions may apply.

2.	The following table provides required tests for post-Decontamination retesting.

4-215(B)(2) 1

|  | Flower, Shake, Trim, Pre-Rolled Marijuana & Infused Pre-Rolled Marijuana |
| --- | --- |
| Water Activity | Yes |
| Mycotoxins | Yes |
| Residual Solvents | No |
| Elemental Impurities | No |
| Pesticides | No |
| Microbial Contaminants | Yes |

E.	Required Contaminant Tests.

1.	Microbial Contaminant Testing. Production Batches of Regulated Marijuana, flower, shake, and trim, re-testing of Regulated Marijuana flower, shake, and/or trim that has undergone Decontamination, Production Batches of Physical Separation-, Heat/Pressure-, or Food-Based Regulated Marijuana Concentrate, Solvent-Based Regulated Marijuana Concentrate produced through Remediation, Regulated Marijuana Product, Pre-Rolled Marijuana, Infused Pre-Rolled Marijuana, Pressurized Metered Dose Inhalers, Vaporizer Delivery Devices, and Audited Product must be tested for microbial contamination by a Regulated Marijuana Testing Facility at the frequency established by Rules 4-215(A) and 4-230(B). Any Hemp Products received by a Regulated Marijuana Products Manufacturer or Regulated Marijuana Store in accordance with Rules 5-105(H), 5-305(C)(1), 6-105(G), and 6-305(C)(1), must have passed testing for microbial contamination by a Regulated Marijuana Testing Facility. The microbial contamination test for both Regulated Marijuana and Hemp Products must include, but need not be limited to, testing to determine the presence of and/or amounts present of microbial contaminants listed in Rule 4-215(J)(3).

4.	Mycotoxin Contaminant Testing. As part of Remediation, each Production Batch of Solvent-Based Regulated Marijuana Concentrate produced by a Regulated Marijuana Products Manufacturer from Regulated Marijuana that failed microbial contaminant testing must be tested by a Regulated Marijuana Testing Facility for mycotoxin contamination. Each Production Batch of Regulated Marijuana flower, shake, and/or trim and each Production Batch of Pre-Rolled Marijuana or Infused Pre-Rolled Marijuana that has failed required microbial contaminant testing and has undergone Decontamination must be tested by a Regulated Marijuana Testing Facility for mycotoxin contamination. Each Production Batch of Regulated Marijuana Concentrate produced from wet whole plant that was not tested for microbial contamination must be tested for mycotoxin contamination. The mycotoxin contaminant test must include, but need not be limited to, testing to determine the presence of, and amounts present of, aflatoxins (B1, B2, G1, and G2) and ochratoxin A. This is in addition to all other contaminant testing required by this paragraph (E). This contaminant test cannot be exempt from testing by a Reduced Testing Allowance in accordance with Rule 4-230(B)(2), except Regulated Marijuana Concentrate produced from wet whole plant that was not tested for microbial contamination pursuant to Rule 4-245.

6.	Elemental Impurities Testing.

b.	Emissions Testing. Each Production Batch of Regulated Marijuana Concentrate in a Vaporizer Delivery Device must be tested for elemental impurities via emissions testing by a Regulated Marijuana Testing Facility at the frequency established in paragraph (A) of this Rule and Rule 4-230(A) through (B). The elemental impurities test must include, but need not be limited to, testing to determine the presence of, and amounts present of, the elemental impurities listed in Rule 4-215(J)(7).

G.	Microbial Contaminant Testing. A Regulated Marijuana Cultivation Facility shall not Transfer wet whole plant or process wet whole plant into Regulated Marijuana Concentrate unless Test Batches from each Production Batch of Regulated Marijuana wet whole plant were tested for microbial contamination by a Regulated Marijuana Testing Facility and passed all microbial contaminant tests except as permitted in Rules 5-205(C), 6-205(C), or the cultivation process has achieved a Reduced Testing Allowance under Rule 4-230. The microbial contamination test must include, but need not be limited to, testing to determine the presence of and/or amounts present of microbial contaminants listed in Rule 4-215(J)(3).

I.	Pesticide and Elemental Impurities Testing for Regulated Marijuana Wet Whole Plant. Each Production Batch of Regulated Marijuana wet whole plant must undergo Pesticide and Elemental Impurities testing in accordance with Rule 4-215. A Regulated Marijuana Cultivation Facility may receive a Reduced Testing Allowance for these contaminants.

J.	Levels of Contaminants. If Regulated Marijuana is found to have a contaminant in levels exceeding those established under this Rule, then it shall be considered to have failed contaminant testing. Notwithstanding the levels established in this Rule, the Division reserves the right to determine, upon good cause and reasonable grounds, that a particular Test Batch presents a risk to public health or safety and therefore shall be considered to have failed a contaminant test.

b.	The following table represents permissible levels of contaminants for the identified substances tested in certain products:

4-215(J)(3)(b) 1

| Substance | Acceptable Limits | Product to be Tested |
| --- | --- | --- |
| Total Yeast and Mold | ≤ 1.0 x 10¹ CFU/ml or ≤ 1.0 x 101 CFU/g | Audited Product: administration by metered dose nasal spray or vaginal administration |
| Total Yeast and Mold | ≤ 1.0 x 102 CFU/ml or ≤ 1.0 x 102 CFU/g | Audited Product: rectal administration |
| Total aerobic microbial count | ≤ 1.0 x 102 CFU/ml or ≤ 1.0 x 102 CFU/g | Audited Product: administration by metered dose nasal spray or vaginal administration |
| Total aerobic microbial count | ≤ 1.0 x 103 CFU/ml or ≤ 1.0 x 103 CFU/g | Audited Product: rectal administration |
| Staphylococcus aureus | Absent in 1 ml or 1 g | Audited Product: administration by metered dose nasal spray or vaginal administration |
| Pseudomonas aeruginosa | Absent in 1 ml or 1 g | Audited Product: administration by metered dose nasal spray or vaginal administration |
| Bile tolerant gram negative bacteria | Absent in 1 ml or 1 g | Audited Product: administration by metered dose nasal spray |
| Candida albicans | Absent in 1 ml or 1 g | Audited Product: vaginal administration |

4-215(J)(6)(a) 2 (Effective July 1, 2026)

| Substance | CAS Registry Number (or EDF Substance ID) | Maximum LOD | Maximum LLOQ | Acceptable Limits (Parts per Million) |
| --- | --- | --- | --- | --- |
| Acetone | 67-64-1 | 167 PPM | 500 PPM | < 1,000 PPM |
| Anisole** | 100-66-3 | 167 PPM | 500 PPM | None Detected |
| Benzene** | 71-43-2 | 0.34 PPM | 1 PPM | < 2 PPM |
| Butanes | 106-97-8 | 167 PPM | 500 PPM | < 1,000 PPM |
| 1-Butanol** | 71-36-3 | 167 PPM | 500 PPM | None Detected |
| 2-Butanol** | 78-92-2 | 167 PPM | 500 PPM | None Detected |
| Butyl Acetate** | 123-86-4 | 167 PPM | 500 PPM | None Detected |
| tert-Butyl Methyl Ether** | 1634-04-4 | 167 PPM | 500 PPM | None Detected |
| Ethanol*** | 64-17-5 | 167 PPM | 500 PPM | < 1,000 PPM |
| Ethyl Acetate | 141-78-6 | 167 PPM | 500 PPM | < 1,000 PPM |
| Ethyl Ether** | 60-29-7 | 167 PPM | 500 PPM | None Detected |
| Ethyl Formate** | 109-94-4 | 167 PPM | 500 PPM | None Detected |
| Heptanes | 142-82-5 | 167 PPM | 500 PPM | < 1,000 PPM |
| Hexanes** | 110-54-3 | 10 PPM | 30 PPM | < 60 PPM |
| Isobutyl Acetate** | 110-19-0 | 167 PPM | 500 PPM | None Detected |
| Isopropyl Acetate** | 108-21-4 | 167 PPM | 500 PPM | None Detected |
| Methanol** | 67-56-1 | 100 PPM | 300 PPM | < 600 PPM |
| Methyl Acetate** | 79-20-9 | 167 PPM | 500 PPM | None Detected |
| 2-Methyl-1-Propanol** | 78-83-1 | 167 PPM | 500 PPM | None Detected |
| 3-Methyl-1-Butanol** | 123-51-3 | 167 PPM | 500 PPM | None Detected |
| Methylene Chloride** | 75-09-2 | 0.5 PPM | 1.5 PPM | None Detected |
| Methylethyl Ketone** | 78-93-3 | 167 PPM | 500 PPM | None Detected |
| Pentanes | 109-66-0 | 167 PPM | 500 PPM | < 1,000 PPM |
| 1-Pentanol** | 71-41-0 | 167 PPM | 500 PPM | None Detected |
| Propane | 74-98-6 | 167 PPM | 500 PPM | < 1,000 PPM |
| 1-Propanol** | 71-23-8 | 167 PPM | 500 PPM | None Detected |
| 2-Propanol (isopropyl alcohol) | 67-63-0 | 167 PPM | 500 PPM | < 1,000 PPM |
| Propyl Acetate** | 109-60-4 | 167 PPM | 500 PPM | None Detected |
| Toluene** | 108-88-3 | 30 PPM | 90 PPM | < 180 PPM |
| Triethylamine** | 121-44-8 | 17 PPM | 50 PPM | None Detected |
| Total Xylenes (m,p, o-xylenes)** | 108-38-3, 106-42-3, 95-47-6 | 72 PPM | 215 PPM | < 430 PPM |
| Any other solvent not permitted for use pursuant to Rules 5-315 and 6-315. |  |  |  | None Detected |

** Note: These solvents are not approved for use. Due to their possible presence in the solvents approved for use per Rules 5-315 and 6-315, or in Hemp Products, limits have been listed here accordingly.

*** Note: Solvent-Based Regulated Marijuana Concentrate that exceeds the acceptable limit for ethanol may only be used in Regulated Marijuana Concentrate or Regulated Marijuana Product, which intended use is oral consumption, skin and body products, a vaporizer delivery device, pressurized metered dose inhaler, or Audited Product.

#### Basis and Purpose – 4-220

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing research & development testing procedures and rules for the Division’s Regulated Marijuana sampling and testing program. This Rule 4-220 was previously Rules 4-105, 1 CCR 212-3, Rules M and R 1504, 1 CCR 212-1 and 1 CCR 212-2.

Please Note: The Division proposing to revise allowed uses of Research & Development Testing. This is based on an increase in Licensees using R&D to achieve results just under action limits in order to pass required testing. To further inform this discussion, the Division is interested in licensees’ input on the following questions:

- What operational purposes is a Licensee aiming/attempting to accomplish by using research & development testing?

- At what point in the cultivation or manufacturing process do you typically conduct research & development testing?

- As a Licensee, have you ever conducted multiple rounds of research & development testing on the same Harvest or Production Batch? If so, please tell us why.

- After receiving research & development testing results, what actions does a Licensee take if they receive results that indicate a Harvest or Production Batch may not pass required compliance testing?

- Are there any circumstances when a Licensee will modify, Remediate, Decontaminate, or otherwise alter a Harvest or Production Batch after receiving research & development testing results?

#### 4-220 – Regulated Marijuana Testing Program: Research & Development Testing

A.	Research & Development Testing. A Regulated Marijuana Business may submit Test Batches from a Harvest Batch (including a Manicure Batch) or Production Batch for research & development testing. Research & development testing may be performed for potency and homogeneity required by these 4-200 Series Rules.

1.	Harvest Batches or Production Batches that are Designated in the Inventory Tracking System as a Research & Development Batch.

a.	The Regulated Marijuana from these batches shall not be Transferred to other Regulated Marijuana Businesses except for Regulated Marijuana Testing Facilities.

b.	Failing research & development test results do not require compliance with failed test procedures and are not considered a failing result for the purposes of achieving or maintaining Reduced Testing Allowance.

2.	Production Batches that are Intended to be Transferred to Other Regulated Marijuana Businesses.

a.	Passing Research & Development Test Results. If a Harvest or Production Batch passes a research & development test, it shall not constitute a pass for the purposes of compliance with required potency and homogeneity testing. If a Harvest or Production Batch passes a research & development test, it shall not constitute a pass for purposes of achieving or maintaining a Reduced Testing Allowance. See Rules 4-210 and 4-230.

b.	Failed Research & Development Test Results. If a Harvest or Production Batch fails a research & development test:

i.	It does not require compliance with failed test procedures. See Rule 4-240.

ii.	If a Test Batch fails a research & development test that is a test type required by these Rules, the Licensee must submit a Test Batch from the same Production Batch for compliance testing and obtain passing results for that test type prior to Transferring that Production Batch to a Regulated Marijuana Business.

iii.	If the Test Batch submitted pursuant to subparagraph (A)(2)(b)(ii) fails testing, compliance with the failed test procedures in Rule 4-240 is required.

iv.	Licensees shall not Transfer Regulated Marijuana that they have reason to believe would not pass testing required by Rule 4-210 and 4-215, unless otherwise authorized in these rules.

#### Basis and Purpose – 4-225

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing sampling procedures and rules for the Division’s Regulated Marijuana sampling and testing program. This Rule 4-225 was previously Rules 4-110 and 4-125, 1 CCR 212-3, Rules M and R 1504, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-225 – Regulated Marijuana Testing Program: Sampling Procedures

B.	Timing of Sample Increments for Production Batches. A Licensee shall not collect Sample Increments or submit Test Batches for testing until the entire Production Batch that is represented by the Test Batch has completed all required steps and is in its final form as outlined in the Standard Operating Procedures of the Licensee submitting the Test Batch, with the exception of packaging and labeling requirements which shall comply with Rule 3-1025.

1.	The following examples illustrate various methods, which are not limited to those listed herein, that a Licensee’s Standard Operating Procedures may include to verify a Test Batch completed all required steps and is in its final form pursuant to this Rule:

a.	The Licensee’s Standard Operating Procedures may include procedures that ensure the addition of all Ingredients or Additives has occurred and that the entire Production Batch associated with the Test Batch is completely processed, in its final form, and ready to be packaged for Transfer to a patient or consumer, pending results of testing required by these Rules. This also includes creating all Pre-Rolled Marijuana, Infused Pre-Rolled Marijuana, and Vaporizer Delivery Devices from the Production Batch associated with the Test Batch;

D.	Designated Test Batch Collector Training, Documentation, and Designation.

1.	Required Sample Increment Collection Training. To become a Designated Test Batch Collector, an Owner Licensee or Employee Licensee involved in the Sample Increment Collection of Regulated Marijuana must be designated by a manager or Owner Licensee as such, and must also complete either in-house training provided by the Regulated Marijuana Business or training from a third-party vendor, including all of the topics set forth in subparagraph (D)(2) of this Rule. Nothing in this rule requires a Designated Test Batch Collector to be employed by the Regulated Marijuana Business making the designation.

F.	Minimum Number of Sample Increments Per Test Batch Submission. These sampling rules shall apply until such time as the State Licensing Authority revises these rules to implement a statistical sampling model. Each Test Batch of Regulated Marijuana must contain at least the number of Sample Increments prescribed by this Section, unless the Test Batch is required to be tested by the Division and the Division approves the submission of a Test Batch with fewer than the minimum number of Sample Increments.

3.	The minimum number of Sample Increments required to be collected for each Test Batch from a Production Batch of Regulated Marijuana Product, Pre-Rolled Marijuana, Infused Pre-Rolled Marijuana, Audited Product and Alternative Use Product shall be determined as directed in subparagraphs (F)(4)(c)(i) through (iv) of this Rule.

a.	The Regulated Marijuana Products Manufacturer shall determine what constitutes a “serving” and thus how many servings are contained in a Production Batch of Regulated Marijuana Product, except that no serving of Edible Retail Marijuana Product can contain more than 10mg of Active THC.

#### Basis and Purpose – 4-230

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing contaminant testing and related Reduced Testing Allowance procedures and rules for the Division’s Regulated Marijuana sampling and testing program. This Rule 4-230 was previously Rules 4-120, 4-121, and 4-125, 1 CCR 212-3, Rules M and R 1504, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-230 – Regulated Marijuana Testing Program: Reduced Testing Allowance Procedures

A.	Achieving a Reduced Testing Allowance.

4-230(A) 1

| Product Class | Minimum time for testing all batches of product to qualify for RTA | Maximum time for testing all batches of product to qualify for RTA | Minimum number of Test Batches for product to qualify for RTA | Scope of products that must pass testing to qualify for RTA | Test Types eligible for RTA (Note: All Test Types are individual RTAs) |
| --- | --- | --- | --- | --- | --- |
| Regulated Marijuana (other than Wet Whole Plant) | 6 weeks (42 days) | 12 weeks (84 days) | 6 Test Batches | Each type of Regulated Marijuana produced that is produced at a given Cultivation Facility | Pesticides, Elemental Impurities, Microbial Contaminants, Water Activity |
| Regulated Marijuana Product | 4 weeks (28 days) | 8 weeks (56 days) | 4 Test Batches | A specific type of Regulated Marijuana Product (Rule 4-230(B)(2)) | Pesticides, Elemental Impurities, Microbial Contaminants, Residual Solvents Potency, Homogeneity |
| Wet Whole Plant | 3 weeks (21 days) | 12 weeks (84 days) | 6 Test Batches | All Wet Whole Plant produced in a given Cultivation Facility | Pesticides, Elemental Impurities, Microbial Contaminants |

B.	Reduced Testing Allowance and Ongoing Testing – Contaminant Testing.

1.	Regulated Marijuana. A Regulated Marijuana Cultivation Facility’s cultivation process may achieve a Reduced Testing Allowance for contaminant testing if every Production Batch that it produced during at least a six-week period (minimum 42 days) but no longer than a 12-week period (maximum 84 days) passed all contaminant tests required by Rule 4-215(E). This must include at least six Test Batches. The period begins from the date of the creation of the first Harvest Batch used to create a Production Batch that passed Reduced Testing Allowance testing. A Regulated Marijuana Cultivation Facility can achieve a Reduced Testing Allowance for all contaminants listed in Rule 4-215(E) at the same time or separately for each contaminant. A Regulated Marijuana Cultivation Facility must cultivate and process all Harvest Batches and Production Batches the same way, including the same growing media, lighting, pesticides, and drying, trimming, and packaging procedures for each category of Regulated Marijuana to be eligible to obtain and maintain a Reduced Testing Allowance for that category of Regulated Marijuana.

I.	Regulated Marijuana Ongoing Contaminant Testing – Wet Whole Plant. After successfully achieving a Reduced Testing Allowance, once every 30 days a Regulated Marijuana Cultivation Facility shall subject at least one Production Batch of wet whole plant to contaminant testing. If during any 30-day period a Regulated Marijuana Cultivation Facility does not possess a Production Batch of wet whole plant that is ready for testing, the Regulated Marijuana Cultivation Facility must subject its first Production Batch of wet whole plant that is ready for testing to contaminant testing prior to Transfer or processing of the Regulated Marijuana wet whole plant. If a Production Batch of wet whole plant subject to ongoing contaminant testing fails contaminant testing, the Regulated Marijuana Cultivation Facility shall follow the procedure in subparagraph (K)(2) of this Rule. Ongoing contaminant testing pursuant to this Rule shall be subject to the requirements in Rule 4-225. See Rule 4-225(A) – Collection of Test Batches.

2.	If the Licensee fails to comply with paragraph (I) of this Rule, the Regulated Marijuana Cultivation Facility is no longer authorized a Reduced Testing Allowance.

J.	Regulated Marijuana Product Ongoing Potency and Homogeneity Testing. After successfully achieving a Reduced Testing Allowance, once per quarter a Regulated Marijuana Products Manufacturer shall subject at least one Production Batch of each type of Regulated Marijuana Product that it produces to potency and homogeneity testing required by paragraph (D) of this Rule. If during any quarter the Regulated Marijuana Products Manufacturer does not possess a Production Batch that is ready for testing, the Licensee must subject its first Production Batch that is ready for testing to the required potency and homogeneity testing prior to Transfer or processing of the Regulated Marijuana. If a Test Batch submitted for ongoing potency and homogeneity testing fails potency and homogeneity testing, the Licensee shall follow the procedure in paragraph (K) of this Rule. Ongoing potency and homogeneity testing pursuant to this Rule 4-210 shall be subject to the requirements in Rule 4-225. See Rule 4-225(A) – Collection of Test Batches.

2.	If the Licensee fails to comply with paragraph (J) of this Rule, the Regulated Marijuana Products Manufacturer is no longer authorized for a Reduced Testing Allowance.

K.	Events Requiring Reauthorization for a Reduced Testing Allowance. A Regulated Marijuana Cultivation Facility must follow paragraph (L) of this Rule for any events that would require a reauthorization for a Reduced Testing Allowance. That may include a failed test or a Material Change described in subparagraph (K)(1) of this Rule. The Licensee must act in accordance with Rule 4-230(K)(2) if either scenario occurs.

1.	Material Change. If a Licensee makes a Material Change to its cultivation or production process or its Standard Operating Procedures, then it shall follow Reduced Testing Allowance Reauthorization Procedures in Rule 4-230(L).

g.	Inputs and Contact Surfaces. It is a Material Change if a Regulated Marijuana Products Manufacturer changes materials that have direct contact with product components, including but not limited to, Ingredients, Additives, or hardware such as a Vaporizer Delivery Devices.

M.	Special Cases Pertaining to Reduced Testing Allowance. The following are specific additional considerations for Reduced Testing Allowance requirements.

3.	Attestation of Substantial Compliance with Rules. To achieve a Reduced Testing Allowance for microbial contaminants, an authorized representative of the Regulated Marijuana Cultivation Facility must sign an attestation that they are, to the best of their knowledge, in substantial compliance with Rules 3-310, 3-330, 3-336, 4-230, 5-210, and 6-210 by achieving a passing score. A copy of this attestation shall be retained as business records for one year.

#### Basis and Purpose – 4-240

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing rules governing the quarantining of potentially contaminated product and the destruction of product that failed contaminant or potency testing for Division’s Regulated Marijuana Sampling and Testing Program. This Rule 4-240 was previously Rules 4-115, 4-125, and 4-135, 1 CCR 212-3, Rules M and R 1507, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-240 – Regulated Marijuana Testing Program: Contaminated Product and Failed Test Results and Procedures

B.	Failed Elemental Impurities Testing of Regulated Marijuana. If a Regulated Marijuana Business is notified by the Division or a Regulated Marijuana Testing Facility that a Test Batch failed elemental impurities testing of Regulated Marijuana, then for each Inventory Tracking System package or Production Batch associated with that failed Test Batch the Regulated Marijuana Business may request that the Regulated Marijuana Testing Facility that reported the original fail conduct two additional analyses of the original Test Batch submitted in accordance with Rule 4-225.

2.	If one or both of the retesting analyses do not pass testing, then the Regulated Marijuana Business must destroy and document the destruction of the Inventory Tracking System package or Production Batch pursuant to Rule 3-230 – Waste Disposal.

a.	For Regulated Marijuana flower, trim, wet whole plant and Pre-Rolled Marijuana, if one or both of the retesting analyses do not pass testing, then the Licensee may remediate the batch following the rules in subparagraph (C)(3) outlined below.

C.	Failed Contaminant Testing. If a Regulated Marijuana Business is notified by the Division or a Regulated Marijuana Testing Facility that a Test Batch failed contaminant testing, then for each Inventory Tracking System package or Production Batch associated with that failed Test Batch the Regulated Marijuana Business must destroy, Decontaminate or Remediate the Batch, as described by this Rule 4-240:

2.	Decontamination. In some special circumstances outlined below, batches may be Decontaminated instead of being destroyed. In those circumstances, a Licensee may Decontaminate the batch themselves or may Transfer the Inventory Tracking System package or Production Batch that failed contaminant testing to another Regulated Marijuana Products Manufacturer or Regulated Marijuana Cultivation Facility (except failed Solvent-Based Regulated Marijuana Concentrate, Heat/Pressure-Based Regulated Marijuana Concentrate, and Regulated Marijuana Product) for Decontamination.

c.	The types of contaminants and batches that may be decontaminated are outlined below along with any additional stipulations besides those in subparagraph (C)(2) of this Rule. If a contaminant and batch type are not listed below, then the batch may not be decontaminated.

ii.	Failed Microbial Testing of Regulated Marijuana Flower, Wet Whole Plant, Trim, Pre-Rolled Marijuana, and Infused Pre-Rolled Marijuana.

A.	If the Inventory Tracking System package or Production Batch has undergone Decontamination, then it must also pass a mycotoxin and water activity test prior to Transfer. The mycotoxin and water activity testing must occur after the final Decontamination attempt, but is not required to occur until after the Inventory Tracking System package or Production Batch has passed microbial testing. If a Test Batch fails mycotoxin or water activity testing the Regulated Marijuana Business must follow the failed contaminant testing procedures pursuant to paragraphs (B) and (C) of this Rule.

B.	Pursuant to Rule 4–245(B), wet whole plant is exempt from water activity testing.

iii.	Failed Water Activity Testing.

A.	If the Inventory Tracking System package or Production Batch has undergone Decontamination, then it must also pass a microbial contaminant test prior to Transfer. The microbial contaminant test is not required to occur until after the Inventory Tracking System package or Production Batch has passed water activity testing. If a Test Batch fails microbial contaminant testing, the Regulated Marijuana Business must follow the failed contaminant testing procedures pursuant to paragraph (C) of this Rule.

3.	Remediation. In lieu of destroying or Decontaminating the Batch pursuant to subparagraphs (C)(1) and (C)(2) of this Rule, in the specific circumstances outlined below, the Regulated Marijuana Business may Remediate the batch themselves or Transfer all Regulated Marijuana from the Inventory Tracking System packages and Production Batches associated with that failed Test Batch to a Regulated Marijuana Products Manufacturer for Remediation pursuant to the following types of Regulated Marijuana listed in subparagraph (C)(3)(c) of this Rule.

c.	The types of contaminants and batches that may be Remediated are outlined below along with any additional stipulations besides those in subparagraph (C)(3) of this Rule. If a contaminant and batch type are not listed below, then the batch may not be Remediated.

iv.	Failed Contaminant Testing: Elemental Impurities Testing of Regulated Marijuana Flower, Wet Whole Plant, Pre-Rolled Marijuana, Infused Pre-Rolled Marijuana, Physical Separation-Based, Solvent-Based, and Heat/Pressure-Based Regulated Marijuana Concentrate, and Vaporizer Delivery Device.

D.	In addition to all applicable regulations, the Regulated Marijuana Products Manufacturer must comply with Rules 3-230(C)(1), 5-315(D)(9), and 6-315(D)(9).

E.	The Regulated Marijuana Concentrate that was manufactured pursuant to subparagraph (C)(3)(c)(iv)(C) of this Rule shall undergo all required contaminant testing pursuant to Rule 4-215 - Regulated Marijuana Testing Program: Contaminant Testing, potency testing pursuant to Rule 4-210 - Regulated Marijuana Testing Program: Potency Testing, and any other testing required or allowed by the Marijuana Code or these Rules, including but not limited to elemental impurities testing. Such testing must comport with the sampling procedures under Rule 4-225.

#### Basis and Purpose – 4-245

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(g), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-501(6), 44-10-502(3), 44-10-503(8), 44-10-504(1)(b), 44-10-504(2), 44-10-601(4), 44-10-602(4), 44-10-603(6), 44-10-604(1)(b), and 44-10-604(2), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(VII). The purpose of this rule is to protect the public health and safety by establishing rules governing the quarantining of potentially contaminated product and the destruction of product that failed contaminant or potency testing for Division’s Regulated Marijuana Sampling and Testing Program. This Rule 4-245 was previously Rule 4-115, 4-125, and 4-135, 1 CCR 212-3, Rules M and R 1507, 1 CCR 212-1 and 1 CCR 212-2.

#### 4-245 – Regulated Marijuana Testing Program: Exemptions

E.	Potency Testing Exemption for Regulated Marijuana Allocated for Extraction. Any Regulated Marijuana that will be allocated for extraction in the Inventory Tracking System shall be considered exempt from potency testing pursuant to this Rule.

## Part 5 – Medical Marijuana Business License Types

### 5-100 Series – Medical Marijuana Stores

#### Basis and Purpose – 5-105

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(d)(I)-(VI), 44-10-313(7), 44-10-313(4), 44-10-313(14), 44-10-401(2)(a)(I), 44-10-501, and 44-10-505, C.R.S. The purpose of this rule is to establish a Medical Marijuana Store’s license privileges. This Rule 5-105 was previously Rule M 401, 1 CCR 212-1.

#### 5-105 – Medical Marijuana Store: License Privileges

J.	Automated Dispensing Machines. A Medical Marijuana Store may use an automated machine in the Restricted Access Area of its Licensed Premises to dispense Regulated Marijuana to patients without interaction with an Owner Licensee or Employee Licensee if the automated machine is reasonably monitored and complies with all requirements of these rules including but not limited to:

1.	Health and safety standards;

2.	Testing;

3.	Packaging and labeling requirements;

4.	Inventory tracking;

5.	Identification requirements; and

6.	Transfer limits to patients.

#### 5-110 – Registration of a Primary Medical Marijuana Store – Repealed.

#### Basis and Purpose – 5-115

The statutory authority for this includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-313(7), 44-10-313(4), 44-10-401(2)(a)(I), 44-10-501, and 44-10-505, 44-10-501(10) C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 14(4). The purpose of this rule is to clarify those acts that are prohibited, or limited in some fashion, by a licensed Medical Marijuana Store.

The sales limitations provision reflects the sales limitation imposed by statute. Clarifying the limitations on sales provides Medical Marijuana Stores and their employees with necessary information to avoid being complicit in a patient acquiring more Medical Marijuana than is lawful under the Colorado Constitution pursuant to Article XVIII, Subsection 14(4).

This Rule 5-115 was previously Rule M 403, 1 CCR 212-1.

#### 5-115 – Medical Marijuana Sales: General Limitations or Prohibited Acts

C.	Patient Sales Requirements. A Medical Marijuana Store shall comply with the sales and inventory tracking requirements in Rule 5-125.

L.	Corrective and Preventive Action. Medical Marijuana Store shall establish and maintain written procedures for implementing Corrective Action and Preventive Action. The written procedures shall include the requirements listed below as determined by the Licensee. All activities required under this Rule, and their results, shall be documented and kept as business records. See Rule 3-905. The written procedures shall include requirements, as appropriate, for:

#### Basis and Purpose– 5-125

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(d)(I)-(VI), 44-10-313(7), 44-10-313(4), 44-10-401(2)(a)(I), 44-10-501, and 44-10-505, C.R.S. The purpose of this rule is to identify Medical Marijuana Store sales requirements including patient quantity limits, Inventory Tracking System requirements to identify discrepancies with daily authorized quantity limits and THC potency authorizations and to require that Medical Marijuana Stores provide an educational resource to patients regarding the use of Medical Marijuana Concentrate.

#### 5-125 – Patient Sale Requirements

A.	Sales Limitations.

1.	A Medical Marijuana Store and its employees shall not sell to a patient in a single business day, individually or in any combination, more than:

a.	Two ounces of Medical Marijuana flower; or

b.	Eight grams of Medical Marijuana Concentrate for a patient 21 years old of age or older, or two grams of Medical Marijuana Concentrate for a patient between 18 and 20 years old; or

c.	Medical Marijuana Products containing a combined total of 20,000 mg Total THC.

3.	Exemptions to Sales Limitations.

a.	A Medical Marijuana Store may sell Medical Marijuana or Medical Marijuana Product in an amount that exceeds the sales limitation in subparagraph (A)(1) of this Rule if:

iv.	The patient is homebound, with a physician recommendation exempting the patient from the Medical Marijuana Concentrate sales limitation, the patient is not required to register with a Medical Marijuana Store.

C.	Inventory Tracking Requirements.

1.	Before completing a Transfer of Medical Marijuana to a patient, a Medical Marijuana Store and its Employee Licensee shall access and retrieve real-time sales data based on the patient identification number to verify that a sale to the patient will not exceed the daily authorized sales limit. The Medical Marijuana Store and Employee Licensee shall decline to complete the Transfer of Medical Marijuana to the patient if it would exceed the patient’s daily authorized purchase limit which may be determined by a user error message from the Inventory Tracking System.

### 5-200 Series – Medical Marijuana Cultivation Facilities

#### Basis and Purpose – 5-205

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-401(2)(a)(II), 44-10-313, 44-10-502, and 44-10-503, C.R.S. The purpose of this rule is to establish a Medical Marijuana Cultivation Facility’s license privileges in addition to the privileges outlined in these rules. This Rule 5-205 was previously Rule M 501, 1 CCR 212-1.

#### 5-205 – Medical Marijuana Cultivation Facility: License Privileges

H.	Centralized Distribution Permit. A Medical Marijuana Cultivation Facility may apply to the State Licensing Authority for a Centralized Distribution Permit for authorization to temporarily store Medical Marijuana Concentrate and Medical Marijuana Product received from a Medical Marijuana Products Manufacturer for the sole purpose of Transfer to commonly owned Medical Marijuana Stores.

2.	To apply for a Centralized Distribution Permit, a Medical Marijuana Cultivation Facility may submit an application with its new or renewal application or a separate application prior to a renewal application on forms prepared by the Division to request a Centralized Distribution Permit. The Medical Marijuana Cultivation Facility shall send a copy of its Centralized Distribution Permit application to the Local Licensing Authority in the jurisdiction in which the Centralized Distribution Permit is proposed at the same time it submits the application to the State Licensing Authority.

#### Basis and Purpose – 5-210

The statutory authority for this rule includes but is not limited to sections 44-10-201, 44-10-202(1)(c), 44-10-203(1)(k), 44-10-313, 44-10-401(2)(a)(II), 44-10-501, 44-10-502, 44-10-503, and 44-10-505, C.R.S. The purpose of this rule is to clarify what activity is or is not allowed at a Medical Marijuana Cultivation Facility. This Rule 5-210 was previously Rule M 502, 1 CCR 212-1.

#### 5-210 – Medical Marijuana Cultivation Facility: General Limitations or Prohibited Acts

A.	Packaging and Labeling Standards Required.

1.	A Medical Marijuana Cultivation Facility is prohibited from Transferring Medical Marijuana and Medical Marijuana Concentrate that is not packaged and labeled in accordance with these rules. See 3-1000 Series Rules – Labeling, Packaging, and Product Safety.

2.	A Medical Marijuana Cultivation Facility is prohibited from repackaging or relabeling Regulated Marijuana that has been packaged and labeled for sale to patients. This includes altering the expiration date or use-by date once it has been established.

#### Basis and Purpose – 5-225

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(5), 44-10-401(2)(a)(II), 44-10-502, C.R.S. The rule establishes a means by which to manage the overall production of Medical Marijuana. The intent of this rule is to encourage responsible production to meet demand for Medical Marijuana, while also avoiding overproduction or underproduction. The establishment of production management is necessary to ensure there is not significant under or over production, either of which will increase incentives to engage in diversion and facilitate the sale of illegal marijuana. This Rule 5-225 was previously Rule M 507, 1 CCR 212-1.

#### 5-225 – Medical Marijuana Cultivation Facility: Production Management

C.	Inventory Management.

3.	Inventory Management for Medical Marijuana Cultivation Facilities That Have Mixed Cultivation Operations. Beginning the 501st day from the commencement of its first cultivation activities, a Medical Marijuana Cultivation Facility that has more than two harvest seasons a year due to mixed indoor and outdoor cultivation operations, and more than fifty percent of the Harvested Marijuana was cultivated outdoors, the Medical Marijuana Cultivation Facility may not accumulate Harvested Marijuana in excess of the total amount of Medical Marijuana flower and trim the Licensee reported as a package in the Inventory Tracking System that was Transferred to another Medical Marijuana Business in the previous 500 days.

D.	Class Decrease. For any Medical Marijuana Cultivation Facility that is authorized to cultivate more than 500 plants, the Division may review the purchases, Transfers, and cultivated plant count in connection with the license renewal process or after an investigation. Based on the Division’s review, it may reduce the Licensee’s maximum allowed plant count to a lower production management class identified in subparagraph (B)(1) of this Rule 5-225. When determining whether to reduce the maximum authorized plant count, the Division may consider the following non-exhaustive factors including but not limited to:

1.	The Licensee Transferred less than 70% of the inventory it reported as a package in the Inventory Tracking System during any 180 day review period;

E.	Application for Additional Plants.

2.	Medical Marijuana Cultivation Facilities That Have More Than Two Harvest Seasons per Year.

d.	After accruing 180 days during which the Medical Marijuana Cultivation Facility Transferred and consistently cultivated the Licensee may apply to increase its authorized plant count by: (a) two production management classes, or (b) if already authorized to cultivate at a class 3, two increments of 3,000 plants (6,000 plants total) every 180 days. It is within the Division’s discretion to determine whether or not to grant the requested two classes or increments of 3,000 plants (6,000 plants total).

i.	The Licensee must demonstrate:

C.	If the Medical Marijuana Cultivation Facility cultivated between 80% and 90% of its maximum authorized plant count, the Division may also consider Transfers of over 90% of the inventory it reported as a package in the Inventory Tracking System during that time period and/or Transfers into the Medical Marijuana Cultivation Facility or related Medical Marijuana Store(s).

#### Basis and Purpose – 5-230

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-401(2)(a)(II), and 44-10-502(5), C.R.S. The purpose of this rule is to establish the circumstances under which a Medical Marijuana Cultivation Facility may provide R-and-D Units to a designated employee for quality control or product development purposes. In order to maintain the integrity of Colorado’s regulated Medical Marijuana Businesses, this rule establishes limits on the amount of R-and-D Units a designated employee may receive in a calendar month and imposes inventory tracking, reporting and recordkeeping requirements on a Medical Marijuana Cultivation Facility that Transfer R-and-D Units. This Rule 5-230 was previously Rule M 508, 1 CCR 212-1.

#### 5-230 – Medical Marijuana Cultivation Facility: R-and-D Unit Protocols

B.	Testing. Each batch of R-and-D Units are subject to the testing requirements in 4-200 Series Rules – Regulated Marijuana Testing Program.

C.	Transfer Restrictions.

4.	The monthly limit established in subparagraph (C)(3) applies to each designated employee, regardless of the number of Medical Marijuana Businesses with which the designated employee is associated.

### 5-300 Series – Medical Marijuana Products Manufacturer Facilities

#### Basis and Purpose – 5-305

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(d)(I)-(VI), 44-10-313(14), and 44-10-503, C.R.S. The purpose of this rule is to establish a Medical Marijuana Products Manufacturer’s license privileges. This Rule 5-305 was previously Rule M 601, 1 CCR 212-1.

#### 5-305 – Medical Marijuana Products Manufacturer: License Privileges

G.	Performance-Based Incentives. A Medical Marijuana Products Manufacturer may compensate its employees using performance-based incentives, including sales-based performance-based incentives. However, a Medical Marijuana Products Manufacturer may not compensate a designated employee using R-and-D Units. See Rule 5-320 – R-and-D Unit Protocols.

#### Basis and Purpose – 5-310

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-401(2)(a)(III), and 44-10-503, C.R.S. The Marijuana Code sets forth minimum requirements for written agreements between Medical Marijuana Products Manufacturers and Medical Marijuana Stores. Specifically, the written agreements must set forth the total amount of Medical Marijuana obtained from a Medical Marijuana Store to be used in the manufacturing process, and the total amount of Medical Marijuana Product to be manufactured from the Medical Marijuana obtained from the Medical Marijuana Store. This rule clarifies that the Division must approve such written agreements to ensure they meet those requirements. This rule also provides those acts that are generally limited or prohibited. This Rule 5-310 was previously Rule M 602, 1 CCR 212-1.

#### 5-310 – Medical Marijuana Products Manufacturer: General Limitations or Prohibited Acts

B.	Packaging and Labeling Standards Required.

1.	A Medical Marijuana Products Manufacturer is prohibited from Transferring Medical Marijuana Concentrate or Medical Marijuana Product that are not properly packaged and labeled. See 3-1000 Series Rules – Labeling, Packaging, and Product Safety

2.	A Medical Marijuana Products Manufacturer is prohibited from repackaging or relabeling Regulated Marijuana that has been packaged and labeled for sale to patients. This includes altering the expiration date or use-by date once it has been established.

#### Basis and Purpose – 5-315

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(i), 44-10-401(2)(a)(III), and 44-10-503, C.R.S. The purpose of this rule is to establish the categories of Medical Marijuana Concentrate that may be produced at a Medical Marijuana Products Manufacturer and establish standards for the production of those concentrate. Nothing in this rule authorizes the unlicensed practice of engineering under Article 25 of Title 12, C.R.S. This Rule 5-315 was previously Rule M 605, 1 CCR 212-1.

#### 5-315 – Medical Marijuana Products Manufacturer: Medical Marijuana Concentrate Production.

D.	Solvent-Based Medical Marijuana Concentrate. A Medical Marijuana Products Manufacturer that engages in the production of Solvent-Based Medical Marijuana Concentrate must:

9.	Medical Marijuana Products Manufacturers Engaged in the Remediation of Medical Marijuana for Elemental Impurities. Medical Marijuana Products Manufacturers engaged in the Remediation of Medical Marijuana for elemental impurities shall:

#### Basis and Purpose – 5-335

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-401(2)(a)(III), and 44-10-503, 44-10-503(12)(a)-(b), and 39-28.8-297, C.R.S. The purpose of this rule is to allow a Medical Marijuana Products Manufacturer to receive Transfers of Retail Marijuana Concentrate from a Retail Marijuana Products Manufacturer in order to change its designation from “Retail” to “Medical.”

#### 5-335 – Medical Marijuana Products Manufacturer: Ability to Change Designation from Retail Marijuana Concentrate to Medical Marijuana Concentrate.

A.	Changing Designation: A Medical Marijuana Products Manufacturer may accept Retail Marijuana Concentrate from a Retail Marijuana Products Manufacturer in order to change its designation from Retail Marijuana Concentrate to Medical Marijuana Concentrate pursuant to the following requirements:

B.	Changing Designation from Medical Marijuana Concentrate to Retail Marijuana Concentrate Prohibited. A Medical Marijuana Products Manufacturer shall not Transfer Medical Marijuana Concentrate to a Retail Marijuana Products Manufacturer in order to change its designation from Medical Marijuana Concentrate to Retail Marijuana Concentrate.

### 5-400 Series – Medical Marijuana Testing Facilities

#### Basis and Purpose – 5-420

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(2)(h), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-203(2)(f)(II), 44-10-203(2)(f)(IV), 44-10-203(3)(d), 44-10-203(3)(e), 44-10-313(8)(a), 44-10-401(2)(a)(IV), and 44-10-504, C.R.S. The purpose of this rule is to establish personnel standards for the operation of a Medical Marijuana Testing Facility. This Rule 5-420 was previously Rule M 704, 1 CCR 212-1.

#### 5-420 – Medical Marijuana Testing Facilities: Personnel

A.	Laboratory Director. The laboratory director is responsible for the overall analytical operation and quality of the results reported by the Medical Marijuana Testing Facility, including the employment of personnel who are competent to perform test procedures, and record and report test results promptly, accurately, and proficiently and for assuring compliance with the standards set forth in this Rule.

1.	The laboratory director may also serve as a supervisory analyst, quality assurance manager or testing analyst, or a combination of these roles, for a Medical Marijuana Testing Facility. If the laboratory director is serving as a combination of roles, a secondary review of data and quality documentation must be performed by qualified personnel that did not generate the data, report, or quality documentation.

#### Basis and Purpose – 5-430

The statutory authority for this rule includes but is not limited to sections 44-10-203(2)(d), 44-10-401(2)(a)(IV), and 44-10-504, C.R.S. The purpose of this rule is to establish analytical processes standards for the operation of a Medical Marijuana Testing Facility. This Rule 5-430 was previously Rule M 706, 1 CCR 212-1.

Please Note: The Division intends to propose rule revisions to clarify expectations regarding Cannabinoid potency testing performed on Regulated Marijuana Products and reporting those results. For Regulated Marijuana Testing Facilities, proposed rule revisions will clarify the expectations of serving subsampling procedures and the use of measured serving weights in potency calculations for different types of Regulated Marijuana Products, and reporting requirements. For Regulated Marijana Products Manufacturers, proposed rule revisions will clarify required testing of and labeling requirements for any Cannabinoid greater than 10% of the total Cannabinoids on Regulated Marijuana Product.

#### 5-430 – Medical Marijuana Testing Facilities: Analytical Processes

A.	Gas Chromatography (“GC”). A Medical Marijuana Testing Facility using GC must:

1.	Document the conditions of the gas chromatograph, including the detector response;

2.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

3.	Ensure that records are maintained and readily available to the staff operating the equipment;

4.	Document the performance of new columns before use;

5.	Use an internal standard for each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified;

6.	Establish criteria of acceptability for variances between different aliquots and different columns;

7.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency overtime of the analytical system;

8.	Evaluate the performance of the instrument after routine and preventive maintenance prior to analyzing Test Batches; and

9.	Monitor and document the performance of the instrument each day of testing.

B.	Gas Chromatography Mass Spectrometry (“GC/MS”). A Medical Marijuana Testing Facility using GC/MS must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Document the changes of septa as specified in the Standard Operating Procedure;

3.	Document liners being cleaned or replaced as specified in the Standard Operating Procedure;

4.	Ensure that records are maintained and readily available to the staff operating the equipment;

5.	Maintain records of mass spectrometer tuning;

6.	Establish written criteria for acceptable mass spectrometer tuning parameters;

7.	Document Corrective Actions if a mass spectrometer tune is unacceptable;

8.	Monitor analytic analyses to check for contamination and carry-over;

9.	Use selected ion monitoring within each run to assure that the laboratory compares ion ratios and retention times between calibrators, controls and Test Batches for identification of an analyte;

10.	Use an internal standard for qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

11.	Document the monitoring of the response (area or peak height) for the internal standard to ensure consistency overtime of the analytical system;

12.	Define the criteria for designating qualitative results as positive;

13.	When a library is used to qualitatively identify an analyte, the identity of the analyte must be confirmed before reporting results by comparing the relative retention time and mass spectrum to that of a known standard or control run on the same system;

14.	Evaluate the performance of the instrument after routine and preventive maintenance (e.g. clipping or replacing the column or cleaning the source) prior to analyzing Test Batches;

15.	Monitor gas phase standards frequently by comparison to the initial calibration curve. Fresh standards must be prepared if this check exceeds 20% drift. Gas standards must be replaced after one week or as recommended by the standard manufacturer. Alternatively, standards must be replaced after an established period of time for which the Regulated Marijuana Testing Facility has demonstrated the stability of the standard;

16.	Monitor non-gas standards frequently by comparison to the initial calibration. Fresh standards must be prepared if this check exceeds 20% drift. Non-gas standards must be replaced after one month for working standards and three months for opened stocks or as recommended by the standard manufacturer. Alternatively, standards must be replaced after an established period of time for which the Regulated Marijuana Testing Facility has demonstrated the stability of the standard; and

17.	Monitor and document the performance of the instrument each day of testing.

C.	Immunoassays. A Medical Marijuana Testing Facility using Immunoassays must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Validate any changes or modifications to a manufacturer’s approved assays or testing methods when a Test Batch is not included within the sample types and/or matrices approved by the manufacturer; and

4.	Define acceptable separation or measurement units (absorbance intensity or counts per minute) for each assay, which must be consistent with manufacturer’s instructions.

D.	Repealed.

E.	High Performance Liquid Chromatography (“HPLC”). A Medical Marijuana Testing Facility using HPLC must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Monitor and document the performance of the HPLC instrument each day of testing;

4.	Evaluate the performance of new columns before use;

5.	Create written standards for acceptability when eluting solvents are recycled;

6.	Use an internal standard for each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified when available or appropriate for the assay;

7.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency overtime of the analytical system; and

8.	Evaluate the performance of the instrument after routine and preventive maintenance prior to analyzing Test Batches.

F.	Liquid Chromatography Mass Spectroscopy (“LC/MS”). A Medical Marijuana Testing Facility using LC/MS must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Maintain records of mass spectrometer tuning;

4.	Document Corrective Actions if a mass spectrometer tune is unacceptable;

5.	Use an internal standard with each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

6.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency over time of the analytical system;

7.	Compare two transitions and retention times between calibrators, controls and Test Batches within each run;

8.	Document and maintain records when changes in source, source conditions, eluent, or column are made to the instrument;

9.	Evaluate the performance of the instrument when changes in: source, source conditions, eluent, or column are made prior to reporting test results; and

10.	Ensure ion ratios do not exceed plus or minus 30% relative to the average of calibration standards from the same sequence.

F.5.	Inductively Coupled Plasma Mass Spectrometry (ICP/MS). A Medical Marijuana Testing Facility using ICP must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Establish written criteria for acceptable mass spectrometer tuning parameters;

4.	Maintain records of mass spectrometer tuning;

5.	Document Corrective Actions if mass spectrometer tune is unacceptable;

6.	Use an internal standard with each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

7.	Document the monitoring of the response (counts per second) of the internal standard to ensure consistency over time of the analytical system;

8.	Compare mass-to-charge ratios between calibrators, controls and Test Batches within each run;

9.	Monitor analyses to check for contamination and carry-over;

10.	Evaluate and document the performance of the instrument after routine and preventive maintenance and when changes in: source, conditions, or detector are made prior to reporting test results; and

11.	Monitor and document the performance of the instrument each day of testing.

G.	Microbial Assays. A Medical Marijuana Testing Facility using microbial assays must:

1.	Perform and document preventive maintenance as required by the manufacturer and Standard Operating Procedures;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Validate any changes or modifications to a manufacturer’s approved assays or testing methods when a Test Batch submitted for testing is not included within sample types and/or matrices approved by the manufacturer;

4.	Verify the method at the regulatory limit for each analyte. Verification at the qualitative presence/absence limit shall include a fractional recovery study.

5.	Include controls for each analytical run of Test Batches. Quantitative microbial methods shall use controls of a specific known value or set of values that lies within the quantifiable range of the method;

6.	For molecular methods, the Medical Marijuana Testing Facility shall include controls for each individual analytical run. Quantitative molecular methods shall use controls of a specific known value or set of values that lies within the quantifiable range of the method;

7.	PCR-based and qPCR-based methods must include validated internal amplification controls;

8.	Microbial methods must include steps to confirm presumptive positive results; confirmation methods may be molecular or cultural or both. Confirmation methods must include quality controls that match the organism which is being confirmed; and

9.	Verify the stated Limit of Detection of qualitative assays through “dilution to extinction” studies in which the calculated extinction dilution is corroborated with cultural data.

H.	Water Activity. A Medical Marijuana Testing Facility analyzing water activity must:

1.	Perform and document preventive maintenance as required by the manufacturer and Standard Operating Procedures;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Specify all unique method parameters, such as temperature, test sample surface area, volatile compound interferences, including but not limited to temperature;

4.	Evaluate the performance of the method after routine and preventive maintenance prior to analyzing the Test Batch; and

5.	Establish criteria for acceptable instrument performance.

I.	Analytical Method Validation. A Medical Marijuana Testing Facility must validate new methodology and revalidate any changes to approved methodology prior to analyzing Test Batches.

1.	The laboratory must implement a performance-based measurement system for the selected methodology and validate the method following good laboratory practices in accordance with AOAC, United States Pharmacopeia (USP), United States Food and Drug Administration (FDA) United States Department of Agriculture (USDA), or other reputable validation guidelines and methodology prior to reporting results. Validation, verification, or matrix extension of methodology must include when applicable, but is not limited to:

a.	Verification of Accuracy;

b.	Verification of Precision;

c.	Verification of Analytical Sensitivity;

d.	Verification of Analytical Specificity;

e.	Verification of the LOD;

f.	Verification of the LOQ;

g.	Verification of the Reportable Range;

h.	Identification of Interfering Substances;

i.	Exclusivity, which means the specificity of the test method for validating microbial testing methods. It evaluates the ability of the method to distinguish the target organisms from similar but genetically distinct non-target organisms;

j.	Inclusivity, which means, related to microbiological method validation, the sensitivity of the test method. It evaluates the ability of the test method to detect a wide range of target organisms by a defined relatedness;

k.	Verification of Recovery. The laboratory shall take action to remediate recovery issues where matrix effects affect recovery at >±20% of the theoretical value;

l.	Measurement Uncertainty. Subsequent to initial validation, measurement uncertainty must be re-evaluated at least annually or whenever method modifications are made. “Measurement uncertainty” is defined as a parameter, associated with the result of a measurement, that characterizes the dispersion of the values that could reasonably be attributed to the measurand.

2.	Validation of the other or new methodology must be documented.

3.	Prior to use, other or new methodology must have a Standard Operating Procedure approved and signed by the laboratory director.

4.	Testing analysts must have documentation of competency assessment prior to testing Test Batches.

5.	Any changes to the approved other or new methodology must be revalidated and documented prior to testing Test Batches.

6.	The demonstration of testing validity must ensure consistent, accurate and reproducible analytical performance in the matrices tested by the laboratory.

7.	Method performance specifications must ensure analytical tests are sufficiently sensitive for the purposes of the detectability requirements of Rule 5-440(B).

8.	To the extent practicable, laboratory test methods must meet AOAC International standard method performance requirements.

9.	For qualitative methods, a minimum of three spiking/naturally occurring levels of target analyte must be included assessing accuracy, precision and specificity per each matrix validated (microbiological methods shall be considered accurate/precise if fractional results are obtained when limits are <1 CFU preanalytical portion): one negative level in which no analyte is present, one low level at which analyte is present at the regulatory limit and one high level at which the analyte is present at 10x the regulatory limit.

10.	For quantitative methods, laboratories must include a minimum of four or more spiked levels, covering the analytical range that assesses accuracy, precision and specificity of each matrix validated. These must include one negative level in which no analyte is present, one low level at which analyte is present at the regulatory limit, one medium level for which the analyte is present at a concentration close to the middle calibrator and one high level at which the analyte is present at the upper level of the calibration.

11.	For qualitative methods, at least two levels must be included for the negative and high level spikes - at least ten replicates must be included at the fractional level, per analyte, per matrix.

12.	For quantitative methods, at least two replicates must be performed at each spiked level per each matrix validated.

13.	Software must be validated prior to testing samples, including but not limited to: analytical software, application programming interface(s) (APIs), laboratory information management systems (LIMS), etcetera.

14.	Validation or verification of methodology must be documented in a validation report. The validation report shall include, but is not limited to, the following:

a.	Validation plan;

b.	Introduction and summary;

c.	Materials, to include identification of Certified Reference Materials, and preparation methods;

d.	Method parameters;

e.	Raw data, including instrument raw data such as chromatograms, for each test method and each instrument, if any;

f.	Instrument calibration data, if any;

g.	Data, calculations, and results;

h.	Method Acceptability Criteria performance data;

i.	Interlaboratory comparison;

j.	Verification of spreadsheets and/or laboratory information management system;

k.	Conclusion and discussion; and

l.	References.

15.	Laboratories must validate or verify instrumentation and methodology immediately and prior to use following a change in location.

J.	Testing and Validation of Complex Matrices. A Medical Marijuana Testing Facility must include a variety of matrices as part of the validation/verification process. During method validation/verification, a Medical Marijuana Testing Facility must:

1.	Select matrices which best represent each category of products to be tested as listed in Rule 4-215. The laboratory shall independently determine the category of matrix a product falls within; properties to consider include fat content, Cannabinoid content, pH, salt content, sugar content, water activity, the presence of known chemical compounds, microbial flora and antimicrobial compounds.

2.	Perform a new matrix validation, prior to reporting results, on matrices which are either a new category of matrix or are considerably different from the original matrix validated within the category.

a.	For example, the Medical Marijuana Testing Facility intends to receive the topical product “bath bombs” for testing, but previous validation studies for topical product included lotion and massage oil. A new validation should be performed for the product prior to testing since salt content and other properties differ vastly from the original matrices validated.

3.	Perform a matrix verification (a client matrix spike or similar consisting of the target analyte(s) at the time of analysis) on matrices submitted for testing which differ slightly from those initially validated but which fall within a category already validated.

a.	For example, the Medical Marijuana Testing Facility laboratory receives a new edible type matrix for testing (snickerdoodle cookies) but previous validation included gummies and hard candy. A spike of a portion of the submitted material must be analyzed prior to, or at the time of, sample analysis.

K.	All Test Batches and Hemp Product must be tested as received, must not be manipulated, and must be tested in a manner that ensures results are representative of the Test Batch as it is received.

L.	Repealed.

M.	General Quantitative Method Quality Parameters: A Medical Marijuana Testing Facility must meet the following Acceptability Criteria for quantitative method controls.

1.	Chemical quality controls must not exceed a variance of plus or minus 10.0% of the target value when analytes are greater than or equal to 100 parts per million (ppm).

2.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to 10 ppm.

3.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to 1.0 ppm.

4.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to 100 parts per billion (ppb) or greater.

5.	Chemical quality controls must not exceed a variance of plus or minus 40.0% of the target value when analytes are greater than or equal to 10 ppb.

6.	Chemical quality controls must not exceed a variance of plus or minus 60.0% of the target value when analytes are greater than or equal to 1.0 ppb.

7.	Microbiology quality controls must not exceed a variance of plus or minus 20.0% of the target value.

N.	General Laboratory Equipment. A Medical Marijuana Testing Facility must:

1.	Track, verify, and apply correction factors where applicable;

2.	Perform annual calibration, monthly spore ampule checks, and daily temperature checks of autoclaves;

3.	Verify pipette calibration on a monthly basis across the volume range the pipette is used;

4.	Perform annual calibration of balances and analytical weights. Balances must be verified across the appropriate mass range on each day of use;

5.	Perform verification of laboratory dispensers on each day of use;

6.	Perform annual gravimetric verification of volumetric glassware;

7.	Calibrate pH meters on each day of use with buffers across the analytical range (i.e. 4, 7, 10);

8.	Perform annual calibration of thermometers to a NIST traceable reference thermometer. Correction factors must be applied when such a factor could impact the final result; and

9.	Calibrate analytical timers annually.

### 5-600 Series – Medical Marijuana Business Operators

#### Basis and Purpose – 5-615

The statutory authority for this rule includes but is not limited to sections, 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(o), 44-10-401(2)(a)(VI), and 44-10-506, C.R.S. The purpose of this rule is to establish license requirements for the Medical Marijuana Business Operator’s Controlling Beneficial Owners, agents and employees, including those directly or indirectly engaged in the operation of other Medical Marijuana Business(es). This Rule 5-615 was previously Rule M 1703, 1 CCR 212-1.

#### 5-615 – Medical Marijuana Business Operators: Employee Licenses for Personnel

A.	Required Licenses.

2.	Employee Licenses. All natural persons who handle or transport Medical Marijuana or Medical Marijuana Products and any natural person who has access to or enters data into the Inventory Tracking System must have an Employee License.

B.	Employee Licenses Not Required. Employee Licenses are not required for Passive Beneficial Owners of a Medical Marijuana Business Operator or for natural persons who will not handle or transport Medical Marijuana or Medical Marijuana Products or will not have access to or enter data into the Inventory Tracking System.

C.	Designation of Management Personnel of a Medical Marijuana Business Operated by a Medical Marijuana Business Operator. If a Medical Marijuana Business Operator is contracted to manage the overall operations of a Medical Marijuana Business’s Licensed Premises, the Medical Marijuana Business shall designate separate and distinct management personnel on the Licensed Premises who is an officer, agent, or employee of the Medical Marijuana Business Operator, which shall be a natural person with a valid Owner License or Employee License, as set forth in paragraph (A) of this Rule.

#### Basis and Purpose – 5-720

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(1)(i), 44-10-203(2)(s), 44-10-401(1)(a)(VII), and 44-10-507, C.R.S. The purpose of this rule to establish the limited research purposes authorized for Marijuana Research and Development Facilities. The purpose of this rule is also to establish additional requirements for Research Projects involving human subjects and animal subjects, as well as restrictions on the use of Pesticides. The rule also establishes reporting requirements and explains when the State Licensing Authority may require a Marijuana Research and Development Facility to undergo an audit of its research activities. This Rule 5-720 was previously Rule M 1905, 1 CCR 212-1.

#### 5-720 – Marijuana Research and Development Facility: Authorized Research Activities

J.	Independent Research Audit. The State Licensing Authority in its discretion may at any time require that a Marijuana Research and Development Facility undergo an audit of its research activities.

2.	Selection of an Independent Consultant. The Division and the Marijuana Research and Development Facility may attempt to mutually agree upon the selection of an independent consultant to perform a research audit. However, the Division always retains the authority to select the independent consultant regardless of whether mutual agreement can be reached.

## Part 6 – Retail Marijuana Business License Types

### 6-100 Series – Retail Marijuana Stores and Accelerator Stores

#### Basis and Purpose – 6-105

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(aa), 44-10-203(2)(dd), 44-10-313(14), 44-10-401(2)(b)(I), 44-10-401(2)(b)(XI), 44-10-601, 44-10-605, and 44-10-611, C.R.S. The purpose of this rule is to the license privileges of a Retail Marijuana Store Licensee. This Rule 6-105 was previously Rule R 401, 1 CCR 212-2, and includes provisions previously reflected in Rule 6-1105, 1 CCR 212-3.

#### 6-105 – Retail Marijuana Store: License Privileges

A.	Licensed Premises.

1.	To the extent authorized by Rule 3-215, a Retail Marijuana Store may share, and operate at, the same Licensed Premises with a commonly-owned Medical Marijuana Store. However, a separate License is required for each specific business or business entity, regardless of geographical location.

B.5.	Authorized Transfers. A Retail Marijuana Store may Transfer Retail Marijuana to a customer or other Retail Marijuana Businesses.

G.	Authorized Transfers of Hemp Products. A Retail Marijuana Store may Transfer Hemp Product to a consumer only after it has confirmed:

I.	Automated Dispensing Machines. A Retail Marijuana Store may use an automated machine in the Restricted Access Area of its Licensed Premises to dispense Regulated Marijuana to consumers without interaction with an Owner Licensee or Employee Licensee if the automated machine is reasonably monitored and complies with all requirements of these rules including but not limited to:

1.	Health and safety standards;

2.	Testing;

3.	Packaging and labeling requirements;

4.	Inventory tracking;

5.	Identification requirements; and

6.	Transfer limits to consumers.

### 6-200 Series – Retail Marijuana Cultivation Facilities and Accelerator Cultivators

#### Basis and Purpose – 6-205

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(h), 44-10-203(2)(j), 44-10-203(2)(r), 44-10-203(2)(aa), 44-10-203(3)(c), 44-10-313(14), 44-10-401(2)(b)(II), 44-10-401(2)(b)(VII), 44-10-602, and 44-10-607 C.R.S. The purpose of this rule is to establish the license privileges granted by the State Licensing Authority to a Retail Marijuana Cultivation Facility. This Rule 6-205 was previously Rule R 501, 1 CCR 212-2, and includes provisions previously reflected in Rule 6-705, 1 CCR-3.

#### 6-205 – Retail Marijuana Cultivation Facility: License Privileges

I.	Centralized Distribution Permit. A Retail Marijuana Cultivation Facility may apply to the State Licensing Authority for a Centralized Distribution Permit for authorization to temporarily store Retail Marijuana Concentrate and Retail Marijuana Product received from a Retail Marijuana Products Manufacturer for the sole purpose of Transfer to commonly owned Retail Marijuana Stores.

2.	To apply for a Centralized Distribution Permit, a Retail Marijuana Cultivation Facility may submit an application with its new or renewal application or a separate application prior to a renewal application on forms prepared by the Division to request a Centralized Distribution Permit. The Retail Marijuana Cultivation Facility shall send a copy of its Centralized Distribution Permit application to the Local Licensing Authority in the jurisdiction in which the Centralized Distribution Permit is proposed at the same time it submits the application to the State Licensing Authority.

#### Basis and Purpose – 6-210

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(f), 44-10-203(2)(h), 44-10-203(2)(j), 44-10-203(2)(aa), 44-10-701(2)(a), 44-10-602, and 44-10-607, C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(V). The purpose of this rule is to clarify those acts that are limited in some fashion, or prohibited, by a Retail Marijuana Cultivation Facility. This Rule 6-210 was previously Rule R 502, 1 CCR 212-2, and includes provisions previously reflected in Rule 6-710, 1 CCR 212-3.

#### 6-210 – Retail Marijuana Cultivation Facility: General Limitations or Prohibited Acts

A.	Packaging and Labeling Standards Required.

1.	A Retail Marijuana Cultivation Facility is prohibited from Transferring Retail Marijuana that is not packaged and labeled in accordance with these rules. See 3-1000 Series Rules – Labeling, Packaging, and Product Safety.

2.	A Retail Marijuana Cultivation Facility is prohibited from repackaging or relabeling Regulated Marijuana that has been packaged and labeled for sale to consumers. This includes altering the expiration date or use-by date once it has been established.

### 6-300 Series – Retail Marijuana Products Manufacturing Facilities and Accelerator Manufacturers

#### Basis and Purpose – 6-310

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(a), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(f), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-203(2)(i), 44-10-203(2)(y), 44-10-203(2)(aa), 44-10-203(3)(d), 44-10-401(2)(b)(III), 44-10-401(2)(b)(VIII), 44-10-603, 44-10-608, and 44-10-701(2)(a), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(V). The purpose of this rule is to clarify those acts that are limited in some fashion or prohibited by a Retail Marijuana Products Manufacturer. This Rule 6-310 was previously Rule R 602, 1 CCR 212-2, and includes provisions previously reflected in Rule 6-810, 1 CCR 212-3.

#### 6-310 – Retail Marijuana Products Manufacturer: General Limitations or Prohibited Acts

A.	Packaging and Labeling Standards Required.

1.	A Retail Marijuana Products Manufacturer is prohibited from Transferring Retail Marijuana Concentrate or Retail Marijuana Product that are not properly packaged and labeled. See 3-1000 Series Rules – Labeling, Packaging, and Product Safety.

2.	A Retail Marijuana Products Manufacturer is prohibited from repackaging or relabeling Regulated Marijuana that has been packaged and labeled for sale to consumers. This includes altering the expiration date or use-by date once it has been established.

#### Basis and Purpose – 6-335

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-401(2)(b)(III), 44-10-401(2)(b)(VIII), 44-10-603, 44-10-603(15)(a)-(b), 44-10-608, and 39-28.8-300 C.R.S. The purpose of this rule is to allow a Medical Marijuana Products Manufacturer to receive Transfers of Retail Marijuana Concentrate from a Retail Marijuana Products Manufacturer in order to change its designation from “Retail” to “Medical.” This Rule 6-335 includes provisions previously reflected in Rule 6-830, 1 CCR 212-3.

#### 6-335 – Retail Marijuana Products Manufacturer: Ability to Change Designation from Retail Marijuana Concentrate to Medical Marijuana Concentrate.

A.	Changing Designation: A Retail Marijuana Products Manufacturer may Transfer Retail Marijuana Concentrate to a Medical Marijuana Products Manufacturer in order to change its designation from Retail Marijuana Concentrate to Medical Marijuana Concentrate pursuant to the following requirements:

B.	Changing Designation from Medical Marijuana Concentrate to Retail Marijuana Concentrate Prohibited. A Retail Marijuana Products Manufacturer shall not accept Medical Marijuana Concentrate from a Medical Marijuana Products Manufacturer in order to change its designation from Medical Marijuana Concentrate to Retail Marijuana Concentrate.

### 6-400 Series – Retail Marijuana Testing Facilities

#### Basis and Purpose – 6-430

The statutory authority for this rule includes but is not limited to sections 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(d), 44-10-202(4), 44-10-401(2)(b)(IV), and 44-10-604, C.R.S. The purpose of this rule is to establish analytical processes standards for the operation of a Retail Marijuana Testing Facility. This Rule 6-430 was previously Rule R 706, 1 CCR 212-2.

Please Note: The Division intends to propose rule revisions to clarify expectations regarding Cannabinoid potency testing performed on Regulated Marijuana Products and reporting those results. For Regulated Marijuana Testing Facilities, proposed rule revisions will clarify the expectations of serving subsampling procedures and the use of measured serving weights in potency calculations for different types of Regulated Marijuana Products, and reporting requirements. For Regulated Marijana Products Manufacturers, proposed rule revisions will clarify required testing of and labeling requirements for any Cannabinoid greater than 10% of the total Cannabinoids on Regulated Marijuana Product.

#### 6-430 –Retail Marijuana Testing Facilities: Analytical Processes

A.	Gas Chromatography (“GC”). A Retail Marijuana Testing Facility using GC must:

1.	Document the conditions of the gas chromatograph, including the detector response;

2.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

3.	Ensure that records are maintained and readily available to the staff operating the equipment;

4.	Document the performance of new columns before use;

5.	Use an internal standard for each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified;

6.	Establish criteria of acceptability for variances between different aliquots and different columns;

7.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency overtime of the analytical system.

8.	Evaluate the performance of the instrument after routine and preventive maintenance prior to analyzing Test Batches; and

9.	Monitor and document the performance of the instrument each day of testing.

B.	Gas Chromatography Mass Spectrometry (“GC/MS”). A Retail Marijuana Testing Facility using GC/MS must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Document the changes of septa as specified in the Standard Operating Procedure;

3.	Document liners being cleaned or replaced as specified in the Standard Operating Procedure;

4.	Ensure that records are maintained and readily available to the staff operating the equipment;

5.	Maintain records of mass spectrometer tuning;

6.	Establish written criteria for acceptable mass spectrometer tuning parameters;

7.	Document Corrective Actions if a mass spectrometer tune is unacceptable;

8.	Monitor analytic analyses to check for contamination and carry-over;

9.	Use selected ion monitoring within each run to assure that the laboratory compares ion ratios and retention times between calibrators, controls and Test Batches for identification of an analyte;

10.	Use an internal standard for qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

11.	Document the monitoring of the response (area or peak height) for the internal standard to ensure consistency overtime of the analytical system;

12.	Define the criteria for designating qualitative results as positive;

13.	When a library is used to qualitatively identify an analyte, the identity of the analyte must be confirmed before reporting results by comparing the relative retention time and mass spectrum to that of a known standard or control run on the same system;

14.	Evaluate the performance of the instrument after routine and preventive maintenance (e.g. clipping or replacing the column or cleaning the source) prior to analyzing Test Batches;

15.	Monitor gas phase standards frequently by comparison to the initial calibration curve. Fresh standards must be prepared if this check exceeds 20% drift. Gas standards must be replaced after one week or as recommended by the standard manufacturer. Alternatively, standards must be replaced after an established period of time for which the Regulated Marijuana Testing Facility has demonstrated the stability of the standard;

16.	Monitor non-gas standards frequently by comparison to the initial calibration. Fresh standards must be prepared if this check exceeds 20% drift. Non-gas standards must be replaced after one month for working standards and three months for opened stocks or as recommended by the standard manufacturer. Alternatively, standards must be replaced after an established period of time for which the Regulated Marijuana Testing Facility has demonstrated the stability of the standard; and

17.	 Monitor and document the performance of the instrument each day of testing.

C.	Immunoassays. A Retail Marijuana Testing Facility using Immunoassays must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Validate any changes or modifications to a manufacturer’s approved assays or testing methods when a Test Batch is not included within the sample types and/or matrices approved by the manufacturer; and

4.	Define acceptable separation or measurement units (absorbance intensity or counts per minute) for each assay, which must be consistent with manufacturer’s instructions.

D.	Repealed.

E.	High Performance Liquid Chromatography (“HPLC”). A Retail Marijuana Testing Facility using HPLC must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Monitor and document the performance of the HPLC instrument each day of testing;

4.	Evaluate the performance of new columns before use;

5.	Create written standards for acceptability when eluting solvents are recycled;

6.	Use an internal standard for each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified when available or appropriate for the assay;

7.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency overtime of the analytical system; and

8.	Evaluate the performance of the instrument after routine and preventive maintenance prior to analyzing Test Batches.

F.	Liquid Chromatography Mass Spectroscopy (“LC/MS”). A Retail Marijuana Testing Facility using LC/MS must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Maintain records of mass spectrometer tuning;

4.	Document Corrective Actions if a mass spectrometer tune is unacceptable;

5.	Use an internal standard with each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

6.	Document the monitoring of the response (area or peak height) of the internal standard to ensure consistency over time of the analytical system;

7.	Compare two transitions and retention times between calibrators, controls and Test Batches within each run;

8.	Document and maintain records when changes in source, source conditions, eluent, or column are made to the instrument;

9.	Evaluate the performance of the instrument when changes in: source, source conditions, eluent, or column are made prior to reporting test results; and

10.	Ensure ion ratios do not exceed plus or minus 30% relative to the average of calibration standards from the same sequence.

F.5.	Inductively Coupled Plasma Mass Spectrometry (ICP/MS). A Retail Marijuana Testing Facility using ICP must:

1.	Perform and document preventive maintenance as required by the manufacturer and SOPs;

2	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Establish written criteria for acceptable mass spectrometer tuning parameters;

4.	Maintain records of mass spectrometer tuning;

5.	Document Corrective Actions if mass spectrometer tune is unacceptable;

6.	Use an internal standard with each qualitative and quantitative analysis that has similar chemical and physical properties to that of the compound identified and is isotopically labeled when available or appropriate for the assay;

7.	Document the monitoring of the response (counts per second) of the internal standard to ensure consistency over time of the analytical system;

8.	Compare mass-to-charge ratios between calibrators, controls and Test Batches within each run;

9.	Monitor analyses to check for contamination and carry-over;

10.	Evaluate and document the performance of the instrument after routine and preventive maintenance and when changes in: source, conditions, or detector are made prior to reporting test results; and

11.	Monitor and document the performance of the instrument each day of testing.

G.	Microbial Assays. A Retail Marijuana Testing Facility using microbial assays must:

1.	Perform and document preventive maintenance as required by the manufacturer and Standard Operating Procedures;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Validate any changes or modifications to a manufacturer’s approved assays or testing methods when a Test Batch is not included within the sample types and/or matrices approved by the manufacturer;

4.	Verify the method at the regulatory limit for each analyte. Verification at the qualitative presence/absence limit shall include a fractional recovery study;

5.	Include controls for each analytical run of Test Batches. Quantitative microbial methods shall use controls of a specific known value or set of values that lies within the quantifiable range of the method;

6.	For molecular methods, the Retail Marijuana Testing Facility shall include controls for each individual analytical run. Quantitative molecular methods shall use controls of a specific known value or set of values that lies within the quantifiable range of the method;

7.	PCR-based and qPCR-based methods must include validated internal amplification controls;

8.	Microbial methods must include steps to confirm presumptive positive results; confirmation methods may be molecular or cultural or both. Confirmation methods must include quality controls that match the organism which is being confirmed; and

9.	Verify the stated Limit of Detection of qualitative assays through “dilution to extinction” studies in which the calculated extinction dilution is corroborated with cultural data.

H.	Water Activity. A Retail Marijuana Testing Facility analyzing water activity must:

1.	Perform and document preventive maintenance as required by the manufacturer and Standard Operating Procedures;

2.	Ensure that records are maintained and readily available to the staff operating the equipment;

3.	Specify all unique method parameters, such as temperature, sample surface area, volatile compound interferences, including but not limited to temperature;

4.	Evaluate the performance of the method after routine and preventive maintenance prior to analyzing the Test Batch; and

5.	Establish criteria for acceptable instrument performance.

I.	Analytical Method Validation. A Retail Marijuana Testing Facility must validate new methodology and revalidate any changes to approved methodology prior to analyzing Test Batches.

1.	The laboratory must implement a performance-based measurement system for the selected methodology and validate the method following good laboratory practices in accordance with AOAC, United States Pharmacopeia (USP), United States Food and Drug Administration (FDA) United States Department of Agriculture (USDA), or other reputable validation guidelines and methodology prior to reporting results. Validation, verification, or matrix extension of new methodology must include when applicable, but is not limited to:

a.	Verification of Accuracy;

b.	Verification of Precision;

c.	Verification of Analytical Sensitivity;

d.	Verification of Analytical Specificity;

e.	Verification of the LOD;

f.	Verification of the LOQ;

g.	Verification of the Reportable Range;

h.	Identification of Interfering Substances;

i.	Exclusivity, which means the specificity of the test method for validating microbial testing methods. It evaluates the ability of the method to distinguish the target organisms from similar but genetically distinct non-target organisms;

j.	Inclusivity, which means, related to microbiological method validation, the sensitivity of the test method. It evaluates the ability of the test method to detect a wide range of target organisms by a defined relatedness; and

k.	Verification of Recovery. The laboratory shall take action to remediate recovery issues where matrix effects affect recovery at >±20% of the theoretical value.

l.	Measurement Uncertainty. Subsequent to initial validation, measurement uncertainty must be re-evaluated at least annually or whenever method modifications are made. “Measurement uncertainty” is defined as a parameter, associated with the result of a measurement, that characterizes the dispersion of the values that could reasonably be attributed to the measurand.

2.	Validation of the other or new methodology must be documented.

3.	Prior to use, other or new methodology must have a Standard Operating Procedure approved and signed by the laboratory director.

4.	Testing analysts must have documentation of competency assessment prior to testing Test Batches.

5.	Any changes to the approved other or new methodology must be revalidated and documented prior to testing Test Batches.

6.	The demonstration of testing validity must ensure consistent, accurate and reproducible analytical performance in the matrices tested by the laboratory.

7.	Method performance specifications must ensure analytical tests are sufficiently sensitive for the purposes of the detectability requirements of Rule 5-440(B).

8.	To the extent practicable, laboratory test methods must meet AOAC International standard method performance requirements.

9.	For qualitative methods, a minimum of three spiking/naturally occurring levels of target analyte must be included assessing accuracy, precision and specificity per each matrix validated (microbiological methods shall be considered accurate/precise if fractional results are obtained when limits are <1 CFU preanalytical portion): one negative level in which no analyte is present, one low level at which analyte is present at the regulatory limit and one high level at which the analyte is present at 10x the regulatory limit.

10.	For quantitative methods, laboratories must include a minimum of four or more spiked levels, covering the analytical range that assesses accuracy, precision and specificity of each matrix validated. These must include one negative level in which no analyte is present, one low level at which analyte is present at the regulatory limit, one medium level for which the analyte is present at a concentration close to the middle calibrator and one high level at which the analyte is present at the upper level of the calibration.

11.	For qualitative methods, at least two levels must be included for the negative and high level spikes - at least ten replicates must be included at the fractional level, per analyte, per matrix.

12.	For quantitative methods, at least two replicates must be performed at each spiked level per each matrix validated.

13.	Software must be validated prior to testing Test Batches, including but not limited to: analytical software, application programming interface(s) (APIs), laboratory information management systems (LIMS), etcetera.

14.	Validation or verification of methodology must be documented in a validation report. The validation report shall include, but is not limited to, the following:

a.	Validation plan;

b.	Introduction and summary;

c.	Materials, to include identification of Certified Reference Materials, and preparation methods;

d.	Method parameters;

e.	Raw data, including instrument raw data such as chromatograms, for each test method and each instrument, if any;

f.	Instrument calibration data, if any;

g.	Data, calculations, and results;

h.	Method Acceptability Criteria performance data;

i.	Interlaboratory comparison;

j.	Verification of spreadsheets and/or laboratory information management system;

k.	Conclusion and discussion; and

l.	References.

15.	Laboratories must validate or verify instrumentation and methodology immediately and prior to use following a change in location.

J.	Testing Validation of Complex Matrices. A Retail Marijuana Testing Facility must include a variety of matrices as part of the validation/verification process. During method validation/verification, a Retail Marijuana Testing Facility must:

1.	Select matrices which best represent each category of products to be tested as listed in Rule 4-215. The laboratory shall independently determine the category of matrix a product falls within; properties to consider include fat content, Cannabinoid content, pH, salt content, sugar content, water activity, the presence of know chemical compounds, microbial flora and antimicrobial compounds.

2.	Perform a new matrix validation, prior to reporting results, on matrices which are either A) a new category of matrix or B) considerably different from the original matrix validated within the category.

a.	For example, the Retail Marijuana Testing Facility intends to receive the topical product “bath bombs” for testing, but previous validation studies for topical product included lotion and massage oil. A new validation should be performed for the product prior to testing since salt content and other properties differ vastly from the original matrices validated.

3.	Perform a matrix verification (a client matrix spike or similar consisting of the target analyte(s) at the time of analysis) on matrices submitted for testing which differ slightly from those initially validated but which fall within a category already validated.

a.	For example, the Retail Marijuana Testing Facility receives a new edible type matrix for testing (snickerdoodle cookies) but previous validation included gummies and hard candy. A spike of a portion of the submitted material must be analyzed prior to, or at the time of, sample analysis.

K.	All Test Batches and Hemp Product must be tested as received, must not be manipulated, and must be tested in a manner that ensures results are representative of the Test Batch as it is received.

L.	Repealed.

M.	General Quantitative Method Quality Parameters. A Retail Marijuana Testing Facility must meet the following Acceptability Criteria for quantitative method controls.

1.	Chemical quality controls must not exceed a variance of plus or minus 10.0% of the target value and/or when analytes are greater than or equal to 100 parts per million (ppm).

2.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to 10 ppm.

3.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to 1 ppm.

4.	Chemical quality controls must not exceed a variance of plus or minus 30.0% for residual solvent gas standards; or plus or minus 20.0% of the target value when analytes are greater than or equal to100 parts per billion (ppb) or greater.

5.	Chemical quality controls must not exceed a variance of plus or minus 40.0% of the target value when analytes are greater than or equal to 10 ppb.

6.	Chemical quality controls must not exceed a variance of plus or minus 60.0% of the target value when analytes are greater than or equal to 1.0 ppb.

7.	Microbiology quality controls must not exceed a variance of plus or minus 20.0% of the target value.

N.	General Laboratory Equipment. A Retail Marijuana Testing Facility must:

1.	Track, verify, and apply correction factors where applicable;

2.	Perform annual calibration, monthly spore ampule checks, and daily temperature checks of autoclaves;

3.	Verify pipette calibration on a monthly basis across the volume range the pipette is used;

4.	Perform annual calibration of balances and analytical weights. Balances must be verified across the appropriate mass range on each day of use;

5.	Perform verification of laboratory dispensers on each day of use;

6.	Perform annual gravimetric verification of volumetric glassware;

7.	Calibrate pH meters on each day of use with buffers across the analytical range (i.e. 4, 7, 10);

8.	Perform annual calibration of thermometers to a NIST traceable reference thermometer. Correction factors must be applied when such a factor could impact the final result; and

9.	Calibrate analytical timers annually.

### 6-600 Series – Retail Marijuana Business Operators

#### Basis and Purpose – 6-615

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(k), 44-10-203(2)(o), 44-10-313(12), 44-10-401(2)(b)(VI), and 44-10-401(2)(c) C.R.S. The purpose of this rule is to establish employee license requirements for the Retail Marijuana Business Operator’s Controlling Beneficial Owners, agents and employees, including those directly or indirectly engaged in the operation of other Retail Marijuana Business(es). This Rule 6-615 was previously Rule R 1703, 1 CCR 212-2.

#### 6-615 – Retail Marijuana Business Operators: Employee Licenses for Personnel

A.	Required Licenses.

2.	Employee Licenses. All other natural persons who handle or transport Retail Marijuana or Retail Marijuana Products and any natural person who has access to or enters data into the Inventory Tracking System must have an Employee License.

B.	Employee Licenses Not Required. Employee Licenses are not required for Passive Beneficial Owners of a Retail Marijuana Business Operator, or for natural persons who will not handle or transport Retail Marijuana or Retail Marijuana Products or will not have access to or enter data into the Inventory Tracking System.

C.	Designation of Management Personnel of a Retail Marijuana Business Operated by a Retail Marijuana Business Operator. If a Retail Marijuana Business Operator is contracted to manage the overall operations of a Retail Marijuana Business’s Licensed Premises, the Retail Marijuana Business shall designate a separate and distinct management personnel on the Licensed Premises who is an officer, agent or employee of the Retail Marijuana Business Operator, which shall be a natural person with a valid Owner License or Employee License, as set forth in paragraph (A) of this Rule.

## Part 8 – Enforcement and Discipline

### 8-100 Series - Enforcement

#### Basis and Purpose – 8-110

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(c), 44-10-203(1)(f), 44-10-202(1)(g), 44-10-203(2)(g), 44-10-203(2)(h), 44-10-207, 44-10-203(1)(k), and 44-10-902, C.R.S. This rule explains that Licensees must cooperate with Division employees when they are acting within the normal scope of their duties and that failure to do so may result in sanctions. It also explains the administrative hold process, the handling of inventory subject to administrative hold and under investigation and the process for voluntary surrender of Regulated Marijuana. This Rule 8-110 was previously Rules M and R 1202, 1 CCR 212-1 and 1 CCR 212-2.

#### 8-110 – Requirement for Inspections and Investigations, Searches, Administrative Holds, Embargos, Voluntary Surrenders

B.	Administrative Hold.

1.	Notice of Administrative Hold. To prevent destruction of evidence, diversion, or other threats to public safety, while permitting a Licensee to retain its inventory pending further investigation of an alleged violation of the Marijuana Code or Marijuana Rules, a Division investigator may order an administrative hold of Regulated Marijuana pursuant to the following procedure:

a.	If during an investigation or inspection of a Licensee, a Division investigator develops objective and reasonable grounds to believe certain Regulated Marijuana constitute evidence of acts in violation of the Marijuana Code or Marijuana Rules, or constitute a threat to the public safety, the Division investigator may issue a notice of administrative hold of any such Regulated Marijuana pending further investigation of an alleged violation of the Marijuana Code or Marijuana Rules. The notice of administrative hold shall provide a documented description of the Regulated Marijuana to be subject to the administrative hold. Following the issuance of a notice of administrative hold, the Division will identify the Regulated Marijuana subject to the administrative hold in the Inventory Tracking System. The Licensee shall continue to comply with all tracking requirements. See Rule 3-805 – Regulated Marijuana Businesses: Inventory Tracking System.

3.	Lift, Expiration, or Extension of Administrative Hold.

c.	An administrative hold expires after 180 days unless an administrative action has been initiated concerning the Regulated Marijuana subject to the administrative hold, or the State Licensing Authority extends the administrative hold.

### 8-200 Series – Discipline and Administrative Hearings

#### Basis and Purpose – 8-205

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-202(1)(d), 44-10-203(1)(k), 44-10-203(2)(a), 44-10-203(2)(l), 44-10-701, 44-10-901, and 24-4-105 C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(I). The purpose of this rule is to clarify how the disciplinary process for non-summary license suspensions and license revocations is initiated. This Rule 8-205 was previously Rules M and R 1301, 1 CCR 212-1 and 1 CCR 212-2.

#### 8-205 – Non-Summary Suspensions

A.	How a Disciplinary Action is Initiated.

1.	If the State Licensing Authority, on its own initiative or based on a complaint, has Reasonable Cause to believe that a Licensee has violated the Marijuana Code, any rule promulgated pursuant to it, or any of its orders, the State Licensing Authority shall issue and serve upon the Licensee an Order to Show Cause (administrative citation) as to why its license should not be suspended, revoked, restricted, fined, or subject to other disciplinary sanction.

#### Basis and Purpose – 8-235

The statutory authority for this rule includes but is not limited to sections 44-10-202(1)(c), 44-10-203(1)(k), 44-10-203(2)(l), 44-10-701, and 44-10-901(3)(b), C.R.S. Authority also exists in the Colorado Constitution at Article XVIII, Subsection 16(5)(a)(IX). The purpose of this rule is to establish guidelines for enforcement and penalties that will be imposed by the State Licensing Authority for non-compliance with Marijuana Code, section 18-18-406.3(7), or any other applicable rule. The State Licensing Authority may pursue a violation in any of the categories described in this Rule and is not required to prove harm from any of the alleged violation types. This Rule 8-235 was previously Rules M and R 1307, 1 CCR 212-1 and 1 CCR 212-2.

#### 8-235 – Penalties

A.	Penalty Schedule. The State Licensing Authority will make determinations regarding the type of penalty to impose based on the severity of the violation in the following categories:

4.	Level I Violation(s). This category of violation is the most severe and may include deliberate and willful violations or violations that harm or have the potential to harm the public health, safety, or welfare. The range of penalties for this category of violation may include license suspension, a fine per individual violation, a fine in lieu of suspension of up to $100,000, and/or license revocation depending on the mitigating and aggravating circumstances. Sanctions may also include restrictions on the license. Level I violations may include, but are not limited to:

p.	Violations related to the mandatory testing program;

q.	Failure to make any payment required in connection with biennial licensure; or

r.	Violations for unauthorized Transfers of Regulated Marijuana; or

s.	Violations for knowingly working with, engaging in, employing, or contracting with an unlicensed operator for any services for which a valid license is required.

B.	Other Factors.

1.	The State Licensing Authority may take into consideration any aggravating and mitigating factors surrounding the violation which could impact the type or severity of penalty imposed.