# DEPARTMENT OF PUBLIC SAFETY

# Division of Fire Prevention and Control

# 8 CCR 1507- 11

# FIRE SUPPRESSION PROGRAM

# STATEMENT OF BASIS, STATUTORY AUTHORITY, AND PURPOSE

# Pursuant to Section 24-33.5-1203.5, C.R.S., the Director of the Colorado Division of Fire Prevention and Control shall promulgate rules as necessary to carry out the duties of the Division of Fire Prevention and Control.  These rules are proposed pursuant to this authority and are intended to be consistent with the requirements of the State Administrative Procedure Act, Section 24-4-101, et seq., C.R.S.

# C.R.S. Title 24 Article 33.5 Part 12 directs that all fire suppression systems installed in the State of Colorado, with the exception of those systems installed in premanufactured buildings, are constructed and inspected according to the codes and standards adopted by the Director of the Division of Fire Prevention & Control.

# The purpose of this rule amendment is several-fold. First, the rule amendment addresses the Division’s need to raise fees related to inspections and plan reviews under Article 14 of these rules, which is necessary for the Division to defray the anticipated costs of the program.

# Second, this rule amendment removes the provisions related to and for separate contractor and inspector categories to accommodate fire suppression systems installed in premanufactured buildings. SB25-002 removed the Division’s authority to provide oversight for the design, construction, and installation of these critical life safety systems in premanufactured buildings.

# Third, this rule amendment removes the provision requiring an Affidavit of Legal Residency under section 3.4.5 of these rules, which is no longer allowable under the requirements set forth in Section 24-76.5-103, C.R.S. The language in section 5.2.9 of these rules has also been updated to align with the above-stated statute.

# Fourth, this rule amendment updates the requirements for contractors that have been registered by the Division or are seeking registration from the Division to install and work on underground fire suppression system supply lines in accordance with Article 6.3.6 of these rules.

# Sixth, this rule amendment allows for correction of grammatical and formatting errors, as well as updates definitions and Division contact information.

# ______________________________                                                     _______________

# Mike Morgan, Division Director                        	                             Date of Adoption

# Colorado Department of Public Safety

# Division of Fire Prevention and Control

# DEPARTMENT OF PUBLIC SAFETY

# Division of Fire Prevention and Control

# 8 CCR 1507-11

# FIRE SUPPRESSION PROGRAM

[Editor’s Notes follow the text of the rules at the end of this CCR Document.]

## ______________________________________________________________________________________

## SECTION 1	INTRODUCTION AND BACKGROUND INFORMATION

The Colorado Fire Suppression System Program began on January 1, 1991. It was created by Senate Bill 90 4, which was signed into law on May 18, 1990. The purpose of the Colorado Fire Suppression Program is to ensure that life safety systems, installed in commercial and residential occupancies, are installed and maintained properly, according to nationally recognized standards. Section 24-33.5-1204.5, C.R.S. establishes the authority to promulgate rules and regulations to administer the fire suppression program and to establish fees and charges necessary to defray the anticipated costs of the program.

## SECTION 2	DEFINITIONS

The definitions provided in Section 24-33.5-1202, C.R.S., apply to these rules and regulations. The following additional definitions also apply:

  - APPRENTICE: - means an individual who installs sprinkler systems under the guidance and instruction of a registered Sprinkler Fitter.

  - AUTHORITY HAVING JURISDICTION (AHJ): - means the Division, unless delegated to a Local Authority Having Jurisdiction having Fire Suppression Systems Inspectors certified to the appropriate level.

  - CERTIFICATE OF REGISTRATION (OR REGISTRATION): means the document issued to a contractor under these Rules authorizing a contractor to conduct business in this state.

  - COMPANY: means a corporation, partnership, firm or association, two (2) or more persons having a joint or common interest, or any other legal or commercial entity.

  - CEU: - means continuing education units. Each ten (10) hours of related professional development activities equals one CEU.

  - DEFICIENCY: - means, for the purposes of inspection, testing, and maintenance of Fire Suppression Systems, a condition that will or has the potential to adversely impact the performance of a system or portion thereof but does not rise to the level of an impairment.

  - DIRECTOR: - means the Director of the Division, or his their designee.

  - DIVISION: - means the Colorado Division of Fire Prevention and Control.

  - FIRE SUPPRESSION SYSTEM: - means an assembly of any or all of the following: piping valves, conduits, dispersal openings, sprinkler heads, orifices, and other similar devices that convey extinguishing agents for the purpose of controlling, confining, or extinguishing fire, with the exception of multipurpose residential fire sprinkler systems in one- and two-family dwellings and townhouses that are part of the potable water supply, pre-engineered range hoods, duct systems, and portable fire extinguishers.

  - FIRE SPRINKLER SYSTEM: - means a Fire Suppression System consisting of integrated piping, valves, sprinklers, and water supplies designed to be activated by the heat of a fire and discharge water over the fire area.

  - ICC: - means the International Code Council.

  - IMPAIRMENT: - means a condition where a Fire Suppression System or unit or portion thereof is out of order, and the condition can result in the Fire Suppression System or unit not functioning in a fire event.

  - INDIVIDUAL (OR PERSON): means a person, including an owner, manager, officer, employee, or individual.

  - INSPECTION, TESTING, AND MAINTENANCE SERVICE: means a service program provided by a qualified contractor or qualified property owner’s representative in which all components unique to the property’s systems are inspected and tested at the required times and necessary maintenance is provided.

  - INSTALLATION: means the initial placement of equipment or the extension, modification, or alteration of equipment after the initial placement.

  - LOCAL AUTHORITY HAVING JURISDICTION: means the fire chief, fire marshal or other designated official of a county, municipality, or special district that has fire code enforcement responsibilities.

  - MAINTENANCE: means to sustain in a condition of repair that will allow performance as originally designed or intended.

  - MAJOR ALTERATION: - A means a change in the occupancy, hazard, water supply, storage commodity, storage arrangement, building modification, or other condition that affects the installation criteria of a suppression system.

  - MULTIPURPOSE RESIDENTIAL FIRE SPRINKLER SYSTEM:- means a residential Fire

Suppression System intended to serve both domestic and fire protection needs, utilizing a common piping system supplying both domestic plumbing fixtures and fire sprinklers which does not contain a cross connection control device in the system piping. This does not include Passive Purge Systems as defined by NFPA 13D. A multipurpose system may also be referred to as a combination system or network system.

  - NICET: means the National Institute for Certification in Engineering Technologies.

  - NFPA: means the National Fire Protection Association.

  - 2.21	PERMIT: - means a construction permit for a fire protection system issued by the Division or a certified Fire Suppression System Inspector once construction plans or shop drawings have been approved or approved with corrections. A permit allows a registered fire suppression contractor to install or modify Fire Suppression Systems, appurtenances, and equipment as shown on the approved drawings.

  - 2.22 PROFESSIONAL ENGINEER: - means an individual licensed as an engineer and working within competence, training and/or education pertinent to the fire sprinkler industry.

  - 2.23 RESPONSIBLE MANAGING EMPLOYEE (RME): - means an individual or person engaged by a fire suppression contractor who is currently a professional engineer or certified by the National Institute for Certification in Engineering Technologies (NICET) at a level III or level IV in fire protection engineering technologies, automatic sprinkler layout, or another nationally recognized organization approved by the Division.

  - 2.24 RESIDENTIAL FIRE SUPPRESSION CONTRACTOR: - means a fire suppression contractor that, individually or through others, offers to undertake, represents itself as being able to undertake, or does undertake to sell, lay out, fabricate, install, modify, alter, repair, maintain, or perform maintenance inspections of a residential Fire Suppression System.

  - 2.25 RESIDENTIAL FIRE SUPPRESSION SYSTEM: - means a Fire Suppression System designed for or installed in a one- or two-family dwelling or townhouse that is not regulated by the Colorado board of plumbers.

  - 2.26 SERVICE (OR REPAIR): means to repair in order to return the system to proper operational condition.

  - 2.27 SMALL PROJECT: - means any modification to an existing suppression system which has no adverse effect on the integrity of the existing fire protection system, including the hydraulic design, and which involves the addition or relocation of no more than 20 sprinkler heads.

  - 2.28 SPRINKLER FITTER: - means a person other than an apprentice who is registered with the administrator and who installs fire sprinkler systems. “Sprinkler Fitter” does not include a person who performs maintenance and repair on Fire Suppression Systems as a part of being a direct employee or operator of the building. A Sprinkler Fitter does not include a person who performs work exclusively on cross-connection control devices or a person who performs work exclusively on an underground system. “Sprinkler Fitter” does not include a person performing work on his or her their own home.

  - 2.29 TOTAL PROJECT VALUATION: - means the construction cost of the project, including materials and labor, for which the permit is being issued. Such valuation of construction cost is equal to the cost of the project as demonstrated by detailed estimates provided by the Permit applicant.

  - 2.30 UNDERGROUND SUPPLY LINE: - means the piping and appurtenances downstream from the system installed and maintained by the municipal water supply which supplies water to the Fire Suppression System.

## SECTION 3	FIRE SUPPRESSION SYSTEM CONTRACTOR REGISTRATION

  - Registration Required

    - Any individual or company that employs individuals who physically work on, design, test, inspect, or install any part of a Fire Suppression System, including underground supply lines from public water lines to system risers and backflow preventers, must be registered.

Exemptions:

      - Public utilities installing underground supply lines for which they remain responsible for maintaining and repairing after initial installation.

      - Building owners conducting maintenance on their fire protection systems under the provisions of NFPA 25 and filing reports with the local fire department having certified Fire Suppression System Inspectors or the Division. This exception does not apply to work conducted on system components that would require licensing, registration, or certification under any state or federal laws or regulations.

      - An individual who installs a system in his or her their single family residence (owner occupied) that is designed by a registered contractor and installed in accordance with NFPA 13D standards, and meets all local requirements.

      - Individuals or companies installing pre-engineered range hoods and duct extinguishing systems.

      - Individuals or companies that install, maintain, repair, or test Multipurpose Residential Fire Sprinkler Systems or other systems that would be classified as plumbing under these Rules and the definitions specified by the Colorado State Board of Plumbers in C.R.S. Title 12, Article 58.

      - In accordance with Section 24-33.5-1204.5 (3), C.R.S., the rules do not apply to activity required to undertake or complete the construction or installation of a factory-built structure, as defined in Section 24-32-3302 (11), C.R.S.

  - Specific Registrations

    - Individuals or companies performing work in accordance with Section 3.1 on Fire Suppression Systems in commercial, civil, or residential occupancies must be registered as “FIRE SUPPRESSION SYSTEM CONTRACTOR.”

    - Individuals or companies performing work in accordance with Section 3.1 on Fire Suppression Systems only in residential occupancies must be registered as “RESIDENTIAL FIRE SUPPRESSION SYSTEM CONTRACTOR.”

    - Individuals or companies installing Underground Supply Lines from public water lines to system risers must be registered as “FIRE SUPPRESSION SYSTEM CONTRACTOR – UNDERGROUND.”

    - Individuals or companies conducting installation, maintenance, service or testing of backflow prevention devices installed on fire sprinkler systems must be registered as “FIRE SUPPRESSION SYSTEM CONTRACTOR – BACKFLOW.”

  - Registration Application Requirements

In order to register, each contractor operating in Colorado must understand, agree, and attest to the following:

    - That the applicant must carry general liability insurance in the amount of at least $1 million that includes products and completed operations coverage related to the installation of Fire Suppression Systems.

Exemption: Government entities serving as contractors on their own wholly owned properties.

    - That the applicant is a principal of the company as defined in Colorado Revised Statutes Section 24 33.5 1202(8.4), C.R.S., which has been recorded with the Colorado Secretary of State's Office.

Exemption: Government entities serving as contractors on their own wholly owned properties.

    - That all information included on the application is complete and correct.

    - That the applicant will notify the Division within thirty (30) days of any changes that occur in the information provided, including but not limited to: a change in responsible managing employee or principal agent of the contractor; a change in address, telephone number, or e-mail address; or a change in insurance coverage.

    - That the applicant has read, understands, and will comply with Colorado Revised Statutes governing Fire Suppression Systems; all applicable rules, codes, and standards adopted by the Division; and all codes, ordinances and resolutions adopted by municipalities, counties and fire protection districts in which they work.

    - That the applicant must not perform any installation or maintenance work on a Fire Suppression System in Colorado until such time as their registration has been formally issued by the Division.

  - Registration Application and Renewal Procedures

    - An applicant must apply for registration in a format provided by the Division. Application instructions are available on the Division’s website (www.colorado.gov/dfpc); from the Division’s offices at 1697 Cole Blvd, Suite 200, Lakewood, CO 80401; or by telephone at 303-239-4100.

    - An applicant must submit the completed application along with the registration fees and all required supporting documentation prior to action by the Division. No cash payments will be accepted.

    - An applicant must submit documentation of general liability insurance in the amount of at least $1 million that includes products and completed operations coverage related to the installation of Fire Suppression Systems. The documentation submitted must identify inclusion and exclusions of the coverage including any restrictions on the types of systems to be insured.

    - An applicant must submit proof of existence and good standing of the applicant with the Secretary of State.

  - Duration of Registration

    - The registration period for new and renewal registrations will expire on December 31st each year regardless of when the registration was issued, unless earlier suspended or revoked. There will be no pro-rating of registration fees.

    - Applications for renewal shall be submitted no more than thirty (30) days prior to expiration, A grace period for renewal may be extended for up to thirty (30) days after expiration, after which a late application fee will be assessed.

    - All applications for registration shall have no longer than thirty (30) days from the original submittal to correct deficiencies in their application including missing materials or fees. Applications older than thirty (30) days with outstanding deficiencies will be considered vacated applications and the fees surrendered.

    - Applicants submitting more than sixty (60) days after expiration shall submit all documentation required of a new applicant in addition to any required documentation for their renewal application.

  - Specific Requirements for Fire Suppression System Contractors

    - A Fire Suppression Contractor must engage a Responsible Managing Employee.,

    - Contractors without a RME on staff shall employ on staff an individual qualified in the layout, fabrication, installation, alteration, servicing, repair, and inspection of fire suppression systems. A registered sprinkler fitter may be utilized to meet this requirement.

    - Fire Suppression System Contractors regulated by these Rules must not allow a person to work on a fire sprinkler system who is not registered with the Division as a Sprinkler Fitter.

Exemption: Persons who are enrolled in a sprinkler fitter apprenticeship program and are under the direct supervision and immediate presence of a registered Sprinkler Fitter may perform work on a Fire Suppression System.

  - Specific Requirements for Residential Fire Suppression System Contractors

    - A Residential Fire Suppression System Contractor must engage a RME.

    - Contractors without a RME on staff shall employ on staff an individual with demonstrated knowledge of suppression systems to serve as primary technical point of contact for the contractor.

    - Knowledge may be demonstrated by successful completion of residential sprinkler system training, completion of NFPA 13D related coursework, or other residential suppression system training as approved by the Division. A registered sprinkler fitter may be utilized to meet this requirement.

Codes and Standards Assessment (CSA) Sprinkler Residential On-Site Competent Person Exam (ASR2) or Sprinkler Commercial/Residential On-Site Competent Person (ASCR2) satisfies this experience requirement.

    - For contractors installing CPVC or PEX piping systems, the applicant must provide a certificate of successful completion of the applicable training course issued by the manufacturer or their representative to the contractor’s employed fitter(s) intending to work on and install these systems.

    - Before installing a pre-engineered residential Fire Suppression System, applicants must demonstrate that they are authorized and certified by the system manufacturer to install that specific residential Fire Suppression System.

  - Specific Requirements for Fire Suppression System Contractors-Backflow

    - A Fire Suppression System Contractor-Backflow must employ cross-connection control technicians holding valid certification from the American Society of Sanitary Engineering (ASSE), the American Backflow Prevention Association (ABPA), or the Association of Boards of Certification (ABC), in conformance with requirements set forth by the Colorado Primary Drinking Water Regulations.

  - Specific Requirements for Fire Suppression System Contractors-Underground

    - Upon initial application or renewal, Fire Suppression System Contractors-Underground will attest that all personnel performing work on fire suppression systems have received training on and retain copies available for use of NFPA 13, NFPA 22, and NFPA 24, as adopted by the Division in 8 CCR 1507-101, and a copy of these Fire Suppression Program Rules.

    - All Fire Suppression System Contractors-Underground personnel shall at all times have access on the worksite to copies of NFPA 13, NFPA 22, and NFPA 24, as adopted by the Division in 8 CCR 1507-101, and a copy of these Fire Suppression Program rules.

    - Upon initial application or renewal, Fire Suppression Contractors-Underground will attest that until they release responsibility for the underground fire main installation to the owner, they will not allow any fire suppression system to be connected to the underground fire main by any person not registered with the Division as a Fire Suppression System Contractor, unless said person is exempt from registration by Section 3.1.1 of these rules.

  - Denial of Application

    - The Division may deny any application for registration for the following reasons:

      - False statements on the application form or in any of the attachments required for registration;

      - Failure to meet or complete all requirements specified within the application;

      - The applicant is currently barred from registration, certification, or licensure from another State agency, governing body, or local jurisdiction;

      - The applicant has been convicted of a crime which reflects upon the integrity of the applicant in operating within the capacity for which they are seeking registration;

      - The applicant has been terminated from employment from a registered fire suppression contractor, fire authority, or other governing body for engaging in negligent or unsafe work or construction practices.

    - If the Division finds that grounds exist for the denial of any application for registration, action shall be taken according to the provisions of the Colorado Administrative Procedure Act, Section 24-4-101, et seq., C.R.S.

  - Registration Renewal

    - Applications for renewal shall be submitted prior to expiration, subject to a sixty (60)-day grace period. Applicants submitting more than sixty (60) days after expiration shall submit all documentation required of a new applicant in addition to documentation of continuing education in accordance with Section 5.4.2 of these rules and may be required to pay a late application fee as well as the renewal fee.

    - RMEs must demonstrate that they have maintained their appropriate certifications or licensure. Individuals qualified under Sections 3.6.2 or 3.7.2 of these rules must demonstrate CEU’s in accordance with Section 5.4.2 of these rules.

## SECTION 4	FIRE SUPPRESSION SYSTEM INSPECTOR CERTIFICATION

  - Certification Required

    - Any installation, modification, alteration, or repair of a Fire Suppression System must be approved by a certified Fire Inspector II, in accordance with the provisions of 8 CCR 1507-101 § 4.2.3B. Each county, municipality, or special district that has Fire Suppression Systems enforcement responsibilities must, as needed, provide certified Fire Inspectors certified to the appropriate level.

Exemption:

      - Inspectors of multipurpose residential sprinkler systems must meet the requirements of the State Board of Plumbing and are not regulated by the Division.

    - Individuals performing plan reviews on Fire Suppression Systems must be certified as Fire Inspector III-Plans Examiner, in accordance with 8 CCR 1507-101 § 4.2.3C.

    - Individuals performing inspections on Fire Suppression Systems must be certified as Fire

-Inspector II, in accordance with the provisions of 8 CCR 1507-101 § 4.2.3B or Fire Inspector III-Plans Examiner, in accordance with 8 CCR 1507-101 § 4.2.3C.

  - Certification Requirements

    - Inspectors performing work under this rule shall be governed by the provisions of 8 CCR 1507-101 (BUILDING AND FIRE CODE ADOPTION AND CERTIFICATION OF INSPECTORS FOR FIRE & LIFE SAFETY PROGRAMS ADMINISTERED BY THE STATE OF COLORADO).

## SECTION 5	SPRINKLER FITTER REGISTRATION

  - Registration Required

    - No person may act, assume to act, or advertise as a Sprinkler Fitter who is not currently registered with the Division.

    - A Sprinkler Fitter may work on Fire Suppression Systems only under the employ of a registered Fire Suppression System contractor. A Sprinkler Fitter may be self-employed provided that he or she is they are also registered as a Fire Suppression System contractor.

  - Registration Application Requirements

    - In order to become registered, an applicant must submit the completed application along with the registration fee and all required supporting documentation prior to action by the Division. No cash payments will be accepted.

    - The applicant must provide proof of at least one of the following:

Successful completion of an accredited sprinkler fitter apprenticeship program recognized by the United States Department of Labor or state apprenticeship agency, in accordance with the requirements of 29 C.F.R. 29.1 et seq., or other similar apprenticeship program approved by the administrator;

--or--

Current authorization to practice as a Sprinkler Fitter in another state or jurisdiction that has substantially similar or greater requirements than the requirements established in this rule;

--or--

Documentary evidence demonstrating the performance of at least eight thousand (8,000) hours of practical work experience on Fire Suppression Systems within the past five (5) years; or

--or--

Demonstration of similar competency as a Sprinkler Fitter as determined by the Division.

    - The applicant must attest that all information included on the application is correct.

    - The applicant must notify the Division within thirty (30) days of any changes that occur to the information provided including, but not limited to, a change in principal agent of the contractor, a change in physical address, telephone number, or e- mail address.

    - The applicant must attest they have read, understand, and will comply with Colorado Revised Statutes governing Fire Suppression Systems; all applicable rules, codes, and standards adopted by the Division; and with all codes, ordinances and resolutions adopted by municipalities, counties and fire protection districts in which they work.

    - The applicant may not perform any installation or maintenance work on a Fire Suppression System in Colorado until such time as their registration has been formally issued by the Division.

    - Upon the initial registration with the Division and upon the first registration after the Division adopts a new code set, the applicant must pass a Division approved examination pertinent to the Division’s currently adopted codes and standards. In addition to tests offered by the Division, the following examinations are approved for compliance with the examination requirement:

      - STAR Fire Sprinkler fitting Mastery Exam

      - CSA Sprinkler Commercial On-site Competent Person Exam (ASCR2 or ASCR4)

      - City of Denver’s Fire Sprinkler Systems Installer Examination Examinations specified in these rules taken to comply with another jurisdiction’s registration requirements may be accepted by the Division if the exam was taken within one

        - year of the application date.

    - Applicants installing CPVC or PEX piping systems must provide a certificate of successful completion of the applicable training course, issued by the manufacturer or their representative.

    - The applicant must submit a copy of their current driver’s license or other acceptable form of Government-issued Identification.

    - The applicant must pay all fees associated with the registration.

  - Duration of Registration

    - The registration period for new and renewal registrations will expire on June 30th each year regardless of when the registration was issued, unless earlier suspended or revoked. There will be no pro-rating of registration fees.

    - Applications for renewal shall be submitted no more than thirty (30) days prior to expiration, A grace period for renewal may be extended for up to thirty (30) days after expiration, after which a late application fee will be assessed.

    - All applications for registration shall have no longer than thirty (30) days from the original submittal to correct deficiencies in their application including missing materials or fees. Applications older than thirty (30) days with deficiencies will be considered vacated applications and the fees surrendered.

    - Applicants submitting more than sixty (60) days after expiration shall submit all documentation required of a new applicant in addition to documentation of continuing education in accordance with Section 5.4.2 of these rules.

  - Registration Renewal

    - Renewal of certification is the responsibility of the certified individual. Registrants requesting a renewal of their sprinkler fitter registration must complete an application, provide documented continuing education, and pay a renewal fee.

    - Registrants must document at least 2.4 CEU’s earned subsequent to July 1 of the previous year relevant to the field of fire suppression as follows: indicated in Table 5.4.2.

## Table 5.4.2

## Participation as a student in a seminar related to Fire Suppression Systems conducted by a qualified organization. (See 8 CCR 1507-101 § 4.2.2.4) = 0.1 per clock hour of attendance

## Fire code or building code overview classes = 0.4 maximum per course

## Attendance at NFPA and/or ICC code development hearings related to Fire Suppression Systems = 1.0 max

## Active service on a committee or board with a fire sprinkler association or organization = 0.5 per committee or board

## Completion of a college level course related to Fire Suppression Systems offered through a regionally accredited post-secondary institution = 1.0 per credit hour earned/ 3.0 max

## Work experience as a registered Sprinkler Fitter during the registration period (must be documented through formal letter from employer, contractor, project owner, steward, project manager, or business manager for whom the project was performed) = 0.1 CEU per 100 hours worked/1.6 max

| 1) Participation as a student in a seminar related to Fire Suppression Systems conducted by a qualified organization. (See Section 4.2.2.4 of 8 CCR 1507-101) | 0.1 per clock hour of attendance |
| --- | --- |
| 2) Fire code or building code overview classes. | 0.4 maximum Per course |
| 3) Attendance at NFPA and/or ICC code development hearings related to Fire Suppression Systems. | 1.0 max |
| 4) Active service on a committee or board with a fire sprinkler association or organization. | 0.5 per committee or board |
| 5) Completion of a college level course related to Fire Suppression Systems offered through a regionally accredited post-secondary institution. | 1.0 per credit hour earned. 3.0 max |
| 6) Work experience as a registered Sprinkler Fitter during the registration period (must be documented through formal letter from employer, contractor, project owner, steward, project manager, or business manager for whom the project was performed). | 0.1 CEU per 100 hours worked. 1.6 max. |

    - In years that the Division adopts a new edition of the fire code or standards, a Sprinkler Fitter will be required to provide proof of passing one of the examinations specified in Section 5.2.7 of these rules. A fee will be assessed for those taking an exam offered by the Division.

  - Denial of Application

    - The denial of an application shall be conducted in accordance with the provisions of the Colorado Administrative Procedure Act, Section 24-4-101, et seq., C.R.S. The Division may deny an application for registration for the following reasons:

      - False statements on the application form or in any of the attachments required for registration;

      - Failure to meet or complete all requirements specified within the application;

      - The applicant is currently barred from registration, certification, or licensure by another State agency, governing body, or local jurisdiction.

      - The applicant has engaged in any of the conduct described in sSection 24-33.5-1206.6(2), C.R.S.

      - The applicant has been terminated from employment from a registered fire suppression contractor, fire authority, or other governing body for engaging in negligent or unsafe work or construction practices.

    - Notices of denial will be issued as Letters of Admonition in accordance with Section 10.4. of these rules and in accordance with the Colorado Administrative Procedure Act.

## SECTION 6	FIRE SUPPRESSION CONTRACTOR RESPONSIBILITIES

  - Credentials

    - Registered contractors must provide their registration number on all plan review applications and correspondence.

    - To ensure that only qualified persons are conducting plan reviews or inspections, the contractor must request the certification number of any local inspector reviewing or inspecting their job.

      - If in doubt, a contractor may verify a local person’s credentials on the Division’s website or by mail or phone (See Section 123 of these rules).

  - Requirements for Plan Submittal

    - Fire Suppression Systems must not be installed or modified unless plans have been approved by a certified Fire Inspector III-Plans Examiner in accordance with this section.

Exemptions:

      - Pre-engineered range hoods and duct extinguishing systems.

      - Any work defined as “plumbing” by the Colorado Board of Plumbing or C.R.S. Section 12-58-102, C.R.S.

    - Plans, product data sheets, and hydraulic calculations must be submitted to the AHJ prior to the installation, fabrication, modification, or alteration of any Fire Suppression System in the State of Colorado.

Exemptions:

      - Hydraulic calculations are not required for small projects unless, in the opinion of the AHJ, the hydraulic design of the existing system may be affected by the scope of work.

      - Hydraulic calculations are not required for residential, prescriptive pipe-schedule systems if designed in accordance with adopted standards.

    - If a local AHJ employs a Fire Inspector III-Plans Examiner, required documents must be submitted in accordance with local rules.

    - If a local AHJ does NOT employee a Fire Inspector III-Plans Examiner, the required documents must be submitted to the Division for review.

      - Submittal requirements are posted on the Division’s website. It is the contractor’s responsibility to ensure that all necessary documents are provided before a review can commence.

      - Once the plans are reviewed and acted upon by the Division, the contractor must send one set of approved plans to the local AHJ.

    - Plans and hydraulic calculations must bear the signature of a P.E. or NICET level III or above. This signature attests that the plans have been reviewed and meet the intent of the standard.

Exemptions:

      - No signature is required for small projects unless, in the opinion of the AHJ, the hydraulic design or integrity of the existing fire protection system may be affected by the scope of work.

      - Residential prescriptive pipe-schedule design does not require a signature if in accordance with adopted standards.

    - Hydraulic Calculations.

      - Flow tests on water supply systems must be less than one (1)-year-old, unless approved by the Fire Inspector III-Plans Examiner.

      - When calculating water supply requirements for new installations, deduct ten percent (10%) to a maximum of ten (10) psi from the static and residual pressure. Show the actual flow and reduction on hydraulic calculation sheets.

Exemption:

        - 13D Systems (One- and two-family dwellings) unless required by the local AHJ.

    - Special rRules for sSmall pProject sSubmittals.

      - In lieu of full-sized drawings, an AHJ may allow the submittal of a scale drawing of the proposed project on 8½ x 11-inch paper, including product data sheets, calculations, and all information required by the applicable NFPA standard. The certified Fire Inspector has the right to require additional information as may be necessary to fully evaluate the project.

      - A signed letter on the registered contractor's letterhead must be submitted explaining the scope of work and a statement that tenant finish, remodel, or additions do not affect the hydraulic demand design or integrity of the existing fire protection system.

  - General Requirements for Installation of Fire Suppression Systems

    - One set of plans and product data sheets, approved by the Fire Inspector III-Plans Examiner, must remain on the job site for use by the inspector. No deviations from the approved plans are allowed unless approved by the Fire Inspector III-Plans Examiner.

Exemption:

      - Minor modifications that are required to adapt to unexpected on-site conditions which do not affect a system’s integrity or hydraulic design.

    - All components, including aboveground and underground piping must be accessible for inspection by a certified Fire Inspector. Whenever any installation subject to inspection is covered or concealed prior to being inspected, the inspector shall have the authority to require that such work be exposed for inspection.

    - A “Contractor's Material and Test Certificate for Aboveground Piping” or “Contractor's Material and Test Certificate for Underground Piping”, as appropriate, must be completed with all test results documented and copies provided by the contractor to the owner and certified Fire Inspector.

    - Required hydrostatic, operational, and flush testing must be witnessed and signed by a certified Fire Inspector. At the discretion of the inspector, all or part of the test may be witnessed by the general contractor or another responsible, independent party.

    - Contractors may not allow persons to work on Fire Suppression Systems who are not registered with the Division as Sprinkler Fitters.

Exemptions:

      - Persons who are enrolled in a Sprinkler Fitter apprenticeship program and are under the direct supervision and immediate presence of a registered Sprinkler Fitter.

      - Persons working under the auspices of Fire Suppression Contractors-Underground, Fire Suppression System Contractors-Backflow, or Fire Suppression Systems Contractors- Residential.

      - Persons performing only maintenance and repair on Fire Suppression Systems.

      - Persons working on residential plumbing appliances, fixtures, appurtenances, or multipurpose residential fire sprinkler systems in one- or two-family dwellings or townhomes.

    - Installation of uUnderground fFire pProtection sSystem sSupply lLines.

      - Underground supply lines installed between the public water main or a private water source and the Fire Suppression System riser must be installed in accordance with NFPA 24 or NFPA 13, chapter 10, Underground Piping.

      - Underground supply lines must be installed by registered Fire Suppression Contractors-Underground.

      - The certified Fire Inspector may require flushing of the aboveground sprinkler piping if required tests for the underground piping cannot be documented.

      - Contractors may not allow persons to work on underground fire suppression supply lines who are not registered with the Division as Fire Suppression Systems Contractor - Underground.

Exemption: Persons working under the direct supervision and immediate presence of:

- A registered Fire Suppression Systems Contractor – Underground

- A registered Sprinkler Fitter

- Other Qualified people approved by the Division

      - Underground contractors will be responsible for the work of any employees or sub-contractors under their authority. Qualified supervisors may oversee no more than six (6) workers at any one time. Qualified supervisors must not leave workers unsupervised and must be immediately available on site.

    - Installation of bBackflow pPreventers.

      - Backflow preventers must be installed by registered Fire Suppression Contractors-Backflow.

      - For new installations, the backflow preventer may not be installed until Contractor's Material and Test Certificate for Underground Piping has been completed.

  - Requirements for Contractors Performing Inspection, Testing, and Maintenance

    - Businesses conducting inspections on Suppression Systems shall be Registered Fire Suppression System Contractors.

    - Registered Fire Suppression System Contractors must complete and maintain inspection reports, in accordance with the applicable NFPA standard, for each inspection, test, or maintenance performed on any Fire Suppression System in the State of Colorado.

    - Registered Fire Suppression System Contractors shall ensure that only qualified individuals perform inspections.

    - Inspection reports must be maintained for a period of no less than five (5) years or as required by a local AHJ, whichever is greater.

    - Copies of inspection reports must be submitted to the AHJ unless the contractor is notified in writing that they do not wish to receive such reports. Impairment reports in accordance with 6.4.9 must be submitted regardless of whether the AHJ has notified the contractor that they do not wish to receive inspection reports. If possible, reports should be sent to the AHJ through telephonic or other electronic means, such as facsimile or e-mail. If the AHJ does not have electronic communication capabilities, a report shall be deemed delivered when mailed through the US Postal Service to the AHJ.

    - Tagging of Fire Suppression Systems.

      - Systems installed, altered, or inspected after January 1st, 2016 must have a color coded tag or collar physically placed on the Fire Suppression System which identifies the responsible contractor by name, registration number, and contact information (phone number and address). Tags must not be removed unless replaced by a registered Fire Suppression System Contractor who has done a subsequent inspection. Such tag must be placed and remain in the main or primary system control or riser room and must comply with the following parameters:

- New Installations and Major Alterations – Must be marked with a White Tag of heavy cardboard or water resistant (plasticized) paper with the word “INSTALL” printed in all caps and in a font no smaller than 24 points on it. Such tag must be marked to show the date of the final acceptance of the System or alteration and if a Sprinkler Fitter conducted the final acceptance test, his registration number. These tags must remain attached to the System for the life of the System.

- Upon completion of all annual inspection, testing, and maintenance requirements in accordance with NFPA 25, systems with No Deficiencies or Impairments - Mmust be marked with a Green Tag of heavy cardboard or water resistant (plasticized) paper with the word “OPERATIONAL” printed in all caps and in a font no smaller than 24 points on it. Such tag must be marked to show the date of the inspection of the System and the registration or certification number of the Sprinkler Fitter or the name of the person conducting the inspection test. These tags must remain attached to the System until replaced after the next annual inspection is conducted.

- Systems inspected in accordance with NFPA 25 with Deficiency(ies) - Mmust be marked with a Yellow Tag of heavy cardboard or water resistant (plasticized) paper with the word “DEFICIENCY” printed in all caps and in a font no smaller than 24 points on it. Such tag must be marked to show the date of the inspection of the System and the registration or certification number of the Sprinkler Fitter or the name of the person conducting the inspection test. These tags must remain attached to the System until the deficiency is repaired or shall be removed in accordance with (F).

- Systems inspected in accordance with NFPA 25 with Impairment(s) - Mmust be marked with a RED Tag of heavy cardboard or water resistant (plasticized) paper with the word “IMPAIRMENT” printed in all caps and in a font no smaller than 24 points on it. Such tag must be marked to show the date of the inspection of the System and the registration or certification number of the Sprinkler Fitter or the name of the person conducting the inspection test. These tags must remain attached to the System until all impairments have been corrected or shall be removed in accordance with (F).

- Systems with deficiencies or impairments that have been corrected – Mmust be marked with a BLUE Tag of heavy cardboard or water resistant (plasticized) paper with the word “REPAIR” printed in all caps and in a font no smaller than 24 points on it. Such tag must be marked to show the date of the repair of the System and the registration or certification number of the Sprinkler Fitter or the name of the person correcting the deficiency or impairment. These tags must be attached to the YELLOW or RED tag and shall identify the deficiency or impairment corrected. REPAIR tags may be attached to DEFICIENCY tags after any deficiency has been repaired. REPAIR tags may only be attached to IMPAIRMENT tags once all impairments have been corrected or shall be removed in accordance with (F).

- All INSPECTION, DEFICIENCY, IMPAIRMENT, and REPAIR tags must

be removed by the person performing a subsequent annual inspection in accordance with NFPA 25. INSTALL tags must not be removed.

    - Records and reports of inspections, testing and maintenance must be maintained by the system owner, on the premises of the System, for a period of no less than five (5) years. Such records must be made available for review at the request of the Division or the local AHJ.

    - Records of inspections, testing, or maintenance conducted outside of a full Inspection, Testing, and Maintenance Service must contain a notice to the System owner or responsible party advising of the limitations of the work conducted in relation to the overall responsibilities of the System owner.

    - Any contractor, Sprinkler Fitter, or inspector who finds a Fire Suppression System with impairments must provide a copy of the reports or records associated with that finding to the local responding fire department and the appropriate AHJ for the Fire Suppression System within twenty-four (24) hours. Impairment reports must be provided regardless of whether the AHJ has notified a contractor that they do not wish to receive inspection reports in accordance with 6.4.5.

  - Complaint Reporting

    - Registered contractors and their employees who identify significant or repeated design or installation deficiencies or other violations of these rules by coworkers, other contractors, or certified Fire Inspectors or Plans Examiners must report them to the Division in accordance with the complaint procedures identified in Section 10 of these rules.

    - Contractors reporting such complaints must provide to the Division copies of submittal documents, inspection reports, photographs, or other evidence supporting the complaint.

    - Failure to report identified significant or repeated design or installation deficiencies or other violations of these rules may lead to disciplinary action against contractors and/or their employees.

## SECTION 7	FIRE SUPPRESSION SYSTEM INSPECTOR RESPONSIBILITIES

  - Credentials

    - Certified Fire Inspectors and Plans Examiners must provide their certification number on all Fire Suppression System plan reviews, permits, and inspection reports.

    - To ensure that only qualified contractors are performing work on sprinkler systems, Plans Examiners must require the registration number of any contractor submitting plans for review.

    - To ensure that only qualified Sprinkler Fitters are installing or modifying sprinkler systems, Fire Inspectors must require the registration number of the journeyman overseeing a project, prior to beginning an inspection.

    - Credentials may be verified on the Division’s website or by mail or phone. (See Section 123 of these rules).

  - Requirements for Plan Review

    - Plans Examiners must verify that submitted documents include all information necessary to ensure that plans are designed in accordance with the appropriate standards.

    - Plans Examiners may ask for any additional information beyond that required by adopted standards when necessary to verify the effectiveness and appropriateness of a proposed sprinkler design.

  - Requirements for Performing Inspections

    - Fire Inspectors must verify that work is performed in a workmanlike manner and in accordance with the approved plans.

  - Record Keeping

    - Municipalities, counties, fire protection districts, and other state or local authorities employing certified Fire Inspectors must maintain records of all plan reviews and inspections conducted by each inspector and plan reviewer during their three-year certification periods and for at least three (3) years after a project is completed, or in accordance with other applicable regulations or statutes, whichever is longer. Said records must be made available for review by the Division, upon request.

  - Complaint Reporting

    - Certified Fire Inspectors or Plans Examiners who identify significant or repeated design or installation deficiencies or other violations of these Rules by contractors, Sprinkler Fitters, coworkers, or other certified Fire Inspectors or Plans Examiners must report them to the Division in accordance with the complaint procedures identified in Section 10 of these rules.

    - Certified Fire Inspectors or Plans Examiners reporting such complaints must provide to the Division copies of submittal documents, inspection reports, photographs, or other evidence supporting the complaint.

    - Failure to report significant or repeated design or installation deficiencies or other violations of these Rules may lead to disciplinary action against the certified Fire Suppression Systems Inspectors or Plan Reviewer.

    - Fire Inspectors or Plans Examiners who are subject to complaints must not retaliate in any way against a complainant. A finding of retaliation may lead to loss of certification.

## SECTION 8	SPRINKLER FITTER RESPONSIBILITIES

  - Credentials

    - Registered Sprinkler Fitters must keep a copy of their State issued registration with them when performing work on a Fire Suppression System and must present it to a certified Fire Inspector or AHJ at their request.

    - To ensure that only qualified Fire Inspectors are performing plan reviews or inspections of Fire Suppression Systems, Sprinkler Fitters may ask for their certification number.

    - Credentials may be verified on the Division’s website or by mail or phone. (See Section 123 of these rules).

  - Requirements for Installation, Modification, and Repair

    - A registered Sprinkler Fitter will be responsible to perform his or her their duties in a workmanlike manner.

    - A registered Sprinkler Fitter must not leave a Fire Suppression System out of service in an occupied building without consulting with and meeting the fire watch requirements of the AHJ.

    - Sprinkler Fitters will be responsible for the work of any apprentices under their authority. A Sprinkler Fitter may supervise no more than three (3) apprentices at any one time. A Sprinkler Fitter must not leave apprentices unsupervised and must be immediately available on site.

  - Complaint Reporting

    - Registered Sprinkler Fitters who identify significant or repeated design or installation deficiencies or other violations of these rules by contractors, other Sprinkler Fitters, coworkers, or certified Fire Inspectors or Plans Examiners must report them to the Division in accordance with the complaint procedures identified in Section 10 of these rules.

    - Registered Sprinkler Fitters reporting such complaints must provide to the Division copies of submittal documents, inspection reports, photographs, or other evidence supporting the complaint.

    - Failure to report significant or repeated design or installation deficiencies or other violations of these rules may lead to disciplinary action against the registered Sprinkler Fitter.

    - Registered Sprinkler Fitters who are subject to complaints must not retaliate in any way against a complainant. A finding of retaliation may lead to loss of registration.

## SECTION 9	CODES AND STANDARDS ADOPTED

  - The following codes and standards are adopted by the Division for the design, installation, and maintenance of Fire Suppression Systems within the State of Colorado:

    - Adopted codes and standards pertinent to this rule shall be as prescribed in 8 CCR 1507-101 (BUILDING AND FIRE CODE ADOPTION AND CERTIFICATION OF INSPECTORS FOR FIRE & LIFE SAFETY PROGRAMS ADMINISTERED BY THE STATE OF COLORADO).

      - For the purposes of this rule, the Division shall enforce the Building Codes as defined in 8 CCR 1507-101 § 3.2.1.

      - For the purposes of this rule, the Division shall enforce the Fire Codes as defined in 8 CCR 1507-101 § 3.2.2.

      - For the purposes of this rule, the Division shall enforce the Life Safety Codes as defined in 8 CCR 1507-101 § 3.2.3.

      - For the purposes of this rule, the Division shall enforce the Fire Suppression System standards as defined in 8 CCR 1507-101 § 3.2.4.

  - Municipalities, counties, fire protection districts and other units of local government having the authority to do so, may adopt codes, standards, ordinances and/or resolutions governing the design and installation of Fire Suppression Systems that may be different than those adopted by the Division.

    - Municipalities, counties, fire protection districts and other local authorities employing certified Fire Inspectors and Plans Examiners may also enforce locally adopted codes, standards ordinances and/or resolutions governing the design and installation of Fire Suppression Systems, to the extent permitted by the adopting ordinance or resolution.

    - Conflicts between the codes and standards adopted by the Administrator and those adopted by a local government will be resolved in the following manner:

      - In cases where the local AHJ employs certified Fire Inspectors and Plans Examiners, the local government requirements will apply.

      - In cases where the local AHJ employs certified Fire Inspectors but the Division conducts plan reviews, the Division’s adopted codes and standards will apply.

      - In cases where the local AHJ does not employ certified Fire Inspectors or Plans Examiners, the Division’s adopted codes and standards will apply.

## SECTION 10	COMPLAINTS

This Section concerns the reporting, investigation, and resolution of complaints alleging violation of any provision of Sections 24-33.5-1206 through 1206.7, C.R.S., or these Rules.

  - Complaints alleging violation of any provision of C.R.S. Sections 24 33.5 1206.1 through 1206.7, C.R.S., or any Rule adopted by the Division must be filed with the Division’s Fire & Life Safety Section Chief.

    - The Division may act on anonymous complaints or those made by complainants who desire to remain anonymous. However, individuals submitting complaints should be aware that such complaints are public records and may be available to the public for inspection in accordance with the Colorado Public Open Records Act (CORA) Section 24-72-201, C.R.S. et seq., C.R.S.

    - Individuals or companies certified or registered through the Division in accordance with Sections 3, 4, and 5 of these rules are required to report significant or repeated design or installation deficiencies, other violations of any provision of Sections 24-33.5-1206.1 through 1206.7, C.R.S., or these Rules.

    - The Fire & Life Safety Section (F&LSS) Chief will investigate or cause to be investigated the information contained in the complaint. If evidence can be found to substantiate that a violation has occurred, the F&LSS Chief will proceed pursuant to Sections 10.2 through 10.7 of these rules.

    - If the investigation identifies evidence of fraud or other criminal activity, a case will be referred to the law enforcement agency(ies) having jurisdiction. Referral does not prevent the Division from pursuing action under these Rules.

    - Should the Director determine that it is necessary to conduct a hearing, the Division will utilize the services of the Colorado Division of Administrative Hearings to conduct a hearing in accordance with the Colorado Administrative Procedure Act, Section 24-1-101, et seq., C.R.S.

  - Penalties

    - The F&LSS Chief may assess a penalty and/or fine for any conduct of an individual and/or company that is determined, after investigation, to constitute a violation of these Rules.

    - Any assessed penalty and/or and fine will be in addition to any other civil or criminal penalties that may be prescribed by a court of competent jurisdiction.

    - Nothing in these Rules should be construed to understand that penalties must follow progressive discipline.

  - Warnings

    - A Warning may be issued to individuals and/or companies for a single, substantiated, violation of these rules which, in the opinion of the F&LSS Chief, does not rise to the level of a significant violation.

    - Examples of violations which may lead to a warning (list is not exclusive):

      - Failure to provide registration or certification number on documents as required in Sections 6 through 8 of these rules;

      - Failure of a Sprinkler Fitter to maintain a copy of his or her their registration on the job site;

      - Operating with an expired certification or registration (within the grace period).

    - Warnings will be delivered by e-mail to the address provided on the certification or registration application.

    - Warnings issued to Sprinkler Fitters or Fire Suppression Systems Inspectors will be copied to the registered contractor or local AHJ for which they work.

    - E-mailed warnings will be sent with a delivery receipt requested.

  - Letters of Admonition

    - A Letter of Admonition will be issued for a single, substantiated violation which, in the opinion of the F&LSS Chief, constitutes a significant violation but which does not constitute a threat to public health, safety, or welfare. Letters of Admonition may also be issued to individuals and/or companies receiving multiple warnings during any twelve-month period.

    - Examples of violations which may lead to a letter of admonishment (list is not exclusive):

      - Receiving more than one (1) warning during any twelve-month period;

      - Failure to report significant or repeated design or installation deficiencies as required by Sections 6.5, 7.5, or 8.3 of these rules;

      - Operating with an expired certification or registration (outside of the grace period).

    - Nothing will be construed to require that subsequent violations be related to the nature of the previous violation.

    - Letters of Admonition will be delivered by certified mail to the address provided on the certification or registration application.

    - Letters of Admonition issued to Sprinkler Fitters or certified Fire Suppression System Inspectors will be copied to the registered contractor or local AHJ for which they work.

  - Suspensions

    - The suspension of a registration or certification shall be conducted in accordance with the provisions of the Colorado Administrative Procedure Act, Section 24-4-101, et seq.,

C.R.S. A registration or certification may be suspended for a single, substantiated violation of these rules which, in the opinion of the F&LSS Chief, constitutes a serious violation but which does not constitute a serious threat to public health, safety, and welfare. Suspensions will also be issued to individuals and/or companies for repeated violations as indicated in Sections 10.3 and 10.4.

      - Individuals or companies not currently certified or registered through the Division in accordance with Sections, 3, 4, and 5 of these rules but operating in violation of these rules may be subject to denial of their application for certification or registration.

    - Examples of violations which might lead to suspension or denial (list is not exclusive):

      - Receiving a warning subsequent to the receipt receiving of a Letter of Admonition during the prior twelve-month period;

      - Failure or refusal to stop work or leave a job site upon request of the certified inspector;

      - Failure to notify the Division of any changes that may affect the person’s current registration or certification status;

      - Employment of non-registered Sprinkler Fitters by a registered contractor;

      - Expiration of a required, qualifying document or examination during the registration or certification period.

    - Nothing will be construed to require subsequent violations to be related to the nature of previous violations.

    - Notices of suspension will be issued as Letters of Admonition in accordance with Section

10.4. and in accordance with the Colorado Administrative Procedure Act.

    - Suspensions or denials will be for a reasonable period established by the Director of the Division of Fire Prevention & Control.

    - Any violation which, in the opinion of the F&LSS Chief, constitutes a serious threat to public health, safety, or welfare will result in immediate suspension or denial of a registration or certification pending a revocation hearing pursuant to Sections 10.6.

  - Revocations

    - The revocation of a registration or certification shall be conducted in accordance with the provisions of the Colorado Administrative Procedure Act, Section 24-4-101, et seq.,

C.R.S. A registration or certification may be revoked for a single, substantiated violation of these rules which, in the opinion of the Director, constitutes a serious threat to public health, safety, and welfare. Registrations or certifications may also be revoked for repeated violations of Sections 10.3 through 10.5 of these rules.

      - Individuals or companies not currently certified or registered through the Division in accordance with Sections, 3, 4, and 5 of these rules but operating in violation of these rules may be subject to denial of their application for certification or registration.

    - Examples of violations which might lead to revocation or denial (list is not exclusive):

      - Receiving a Letter of Admonition subsequent to a suspension within the prior twelve-month period;

      - Fraud or material deception in obtaining or renewing a registration or certification;

      - Professional incompetence as manifested by poor, faulty, or dangerous workmanship;

      - Engaging in conduct that is likely to deceive, defraud, or harm the public in the course of professional services or activities;

      - Negligently performing any services regulated by the Division;

      - Retaliation by a certified inspector against a complainant;

      - Using another individual’s or company’s credentials to obtain or perform work regulated by these rules.

    - Nothing will be construed to require subsequent violations to be related to the nature of previous violations.

    - Notices of revocation or denial will be issued as Letters of Admonition in accordance with Section 10.4.

    - Revocations or denials will be for a period as determined by the administrator up to and including a permanent revocation.

    - All revocations or denials will result in immediate suspension of a registration or certification pending a revocation or denial hearing pursuant to the Colorado Administrative Procedure Act.

  - Fines

    - In addition to the penalties identified in Sections 10.4 through 10.6, the F&LSS Chief may assess a fine for any conduct of an individual and/or company that is determined to constitute a violation of these Rules. The fines will be as follows:

      - A letter of admonition or suspension may be subject to a fine of not less than

$100 and not more than $1,000.

      - A revocation will be subject to a fine of not less than $1,000 and not more than

$10,000.

      - Any subsequent violation of similar magnitude will be assessed a fine of not less than $1,000 and not more than $10,000 and will be subject to immediate suspension pursuant to a revocation hearing.

## SECTION 11	FEES AND CHARGES ESTABLISHED

  - Services oOther than Fire Suppression System pPlan rReview and iInspection fFees:

    - Annual Registration of Fire Suppression System Contractors 		  $100

    - Sprinkler Fitter – new application							$75

    - Sprinkler Fitter – renewal application						$50

    - Replacement of lost or damaged registration or certification			$20

    - Technical assistance to other agencies including travel to and from job site		$100/hr

    - Late renewal fee								$25

    - Examination (or review of reciprocal exam)					$30

    - FEMA hotel or motel compliance inspection fee per building alarm and Fire Suppression System (to be applied in addition to the fees outlines in Section 11.1.5 for time spent traveling to, conducting, and returning from the inspection, as this work is considered to be a technical assistance activity)								$100

| 11.1.1 | Annual Registration of Fire Suppression System Contractors | $100 |
| --- | --- | --- |
| 11.1.2 | Sprinkler Fitter – new application | $75 |
| 11.1.3 | Sprinkler Fitter – renewal application | $50 |
| 11.1.4 | Replacement of lost or damaged registration or certification | $20 |
| 11.1.5 | Technical assistance to other agencies including travel to and from job site | $100/hr |
| 11.1.6 | Late renewal fee | $25 |
| 11.1.7 | Examination (or review of reciprocal exam) | $30 |
| 11.1.8 | FEMA hotel or motel compliance inspection fee per building fire alarm and Fire Suppression System (To be applied in addition to the fees outlined in section 11.1.5 for time spent traveling to; conducting; and returning from the inspection, as this work is considered to be a technical assistance activity.) | $100 |

  - Fire Suppression System pPlan rReview and iInspection fFees:

    - Plan review, construction permit, and inspection fees are calculated based on the total project valuation:

      - Fees for projects with a total project valuation of $5,000.00 or less will be subject to a flat fee of $815.00.

      - Fees for projects with a total project valuation of greater than $5,000.00 will be subject to a base fee of $815.00 plus a fee equal to .0026 times the total project valuation.

The inspection component of the fee in Section 11.2.1 includes an allocation of site visits to complete the necessary inspections in accordance with the table below. In the event that additional inspections by the Division are necessary or requested, additional fees may be assessed as outlined in 11.2.5.

Under 50,000 sq. ft. = 5 site visits

50,001 – 100,000 sq. ft. = 10 site visits

100,001 – 200,000 sq. ft. = 5 site visits/each additional 100,000 sq. ft.

| Under 50,000 sq.ft. | 5 site visits |
| --- | --- |
| 50,001-100,000 sq.ft | 10 site visits |
| 100,001-200,000 sq. ft. | 5 site visits/each additional 100,000 sq. ft. |

      - Division inspection fees do not include costs associated with inspections conducted by the by local AHJ or third-party inspectors.

      - If the submitted total project valuation appears to be below market value for the project, the Division reserves the right to request documentation from the permitee to verify the total project valuation. The permitee has the right to mark documents submitted to verify the total project valuation as proprietary information.

    - The Division will review the fire suppression cash fund balance periodically and may reduce or increase the amount of the fees charged, if necessary, pursuant to sSection 24-75-402 (3) and 24-75-402 (4), C.R.S.

    - A fee calculator posted on the Division website enables determination of total fees (plan review and permit fees) prior to submittal of a project.

    - A minimum of half of the fees must be submitted prior to commencement of plan review and the remaining fees must be submitted prior to permit issuance. Inspections will not be performed until the full balance of required fees has been paid. Additional inspection fees must be submitted prior to issuance of any associated Certificate of Compliance or completion of the permit.

    - The Division may assess a $400 inspection fee for each additional inspection in excess of the number allocated by the table in 11.2.1 of these rules. Additional inspections exceeding four (4) hours in length, including travel time, will be charged $100 for each additional hour or portion thereof.

    - The Division may assess an additional off-hours inspection fee of $400 for inspections requested outside of normal business hours.

      - Normal inspection hours are Monday through Friday between 8:00 am and 5:00 pm.

      - Off-hours inspections are scheduled on an “as-available” basis. The Division is not obligated to provide inspections outside of normal operating hours if an inspector is not available.

  - The above fees and charges apply only for Division services. Local jurisdictions having certified Fire Inspectors may establish their own permit, plan review and inspection fees, and other charges.

  - Fees may be waived or modified when appropriate at the discretion of the Director or his their designee. Request for waiver or modification shall be in writing.

## SECTION 12 INQUIRIES

12.1 	Questions, clarification, or interpretation of these Rules should be addressed in writing to: Fire & Life Safety Section Chief, Colorado Division of Fire Prevention and Control, 1697 Cole Blvd, Suite 200, Lakewood, CO 80401. Telephone number: (303) 239-4100.